ERCOT ROS System Protection Working Group (SPWG)

Procedures

1. Scope

The System Protection Working Group (SPWG) is responsible to review and coordinate protective relay scheme design/performance standards and practices which may bear on the reliability of the ERCOT interconnection in compliance with applicable ERCOT and NERC Operating Guides and other appropriate engineering criteria.  The SPWG is responsible to support the investigation, analysis, evaluation, and documentation of ERCOT system disturbance events in close cooperation with the other working groups as well as ERCOT.  The SPWG is responsible to consider reliability as its prime objective with consideration given to economics or other factors as appropriate.  ERCOT is responsible for collecting data updates and maintaining the ERCOT short circuit databases.

2. Administrative Procedures

Membership consists of representatives appointed by the Reliability and Operations Subcommittee (ROS).  Special projects may necessitate the SPWG Chair to obtain ROS approval for additional representation on an ad hoc basis.

The ROS Chair, with ROS approval, appoints the SPWG Chair and Vice-Chair.

When consensus cannot be achieved on an issue, it is presented to the ROS for disposition.

Meetings of the SPWG are scheduled by the chair as necessary to discharge its responsibilities.  Meetings are typically held in February, July, and November.

To facilitate keeping the ROS informed with regard to activities of the SPWG, a copy of all official correspondence (from Chair and his designates) shall be sent to the ROS Chair in the same manner as other ERCOT working group work.  Each SPWG Member shall keep his ROS member informed of his activities.

The responsibilities of the SPWG Chair include:

  - Attend ROS meetings representing SPWG. (Present information in written form)

  - Preside at SPWG meetings.

  - Make arrangements with sponsoring utility for SPWG meeting.

  - Notify members of upcoming SPWG meeting date, information needed, and matters to be discussed.

  - Develop agenda for SPWG meeting. (Action items from ROS)

  - Take minutes at SPWG meetings (includes mailing draft and final copy to members).

  - Contact ERCOT regarding dates for short circuit data submittal.

  - Coordinate short circuit database between SPWG members and ERCOT.

  - Coordinate with the Steady State Working Group Chair to insure consistency between the short circuit and load flow cases.

  - Notify members of dates short circuit data is due.

  - Maintain SPWG Mailing and Phone List.

Responsibilities f - k above may be delegated to the SPWG Vice-Chair.

3. Sharing System Protection Information

The membership should share system protection information, including but not limited to protection philosophies, design practices, and operating experience.  This sharing of information may address:

  - One-line diagrams / relay functional diagrams

  - Control and relay schematic diagrams

  - Relay installation and checkout procedures

  - Relay maintenance

  - Relay test facilities / equipment information

  - Relay settings

  - Changes in system protection schemes

  - Tie line protection coordination

  - Fault recorders and applications

  - Relay communications

  - Under frequency tripping

  - Co-generation – utility interface

  - Functional testing

  - System disturbance

4. Procedure for the Short Circuit Database

This data shall be maintained by ERCOT Transmission Services.  The transmission and generation systems of each equipment owner in ERCOT shall be represented completely for the subject year.  Transmission providers shall model generation data to be provided by the generator owner. if they are the designated representatives for power generating companies.  To the extent practicable, bus numbers and names shall match the names and bus numbers of corresponding buses in the load flow cases.  Additional bus numbers used in the short circuit case shall not conflict with bus numbers used in the load flow case.  In case that it becomes necessary to limit the number of buses or lines of any area, the allotment of maximum number of elements shall be agreed to by the working group as a group.  Positive sequence impedance of circuit elements shall be the same in both the load flow and short circuit databases.

Minimum short circuit data applying to the near future, and therefore being principally useful for the purposes of protective relaying, shall consist of positive and zero sequence systems at predicted conditions for the summer peak (June 30th) of the current year and the following four years.  All generator units that can be reasonably expected operational shall be included and on-line.  Zero sequence data shall include mutual impedance of multi-circuit lines and of adjacent circuits on the same right-of-way, unless the representative of the area who is in charge of preparation of the data considers such impedance to be insignificant in studies made from this data.

Updating of the new data may either proceed on the basis of revision of existing data or by preparing complete new data sets, at the option of the individual area representatives.  The previous year’s data may be re-used if there are no changes.

5. Procedure for the Special Protection Systems Database

A database of the Special Protection Systems (SPS) installed in ERCOT shall be maintained in accordance with ERCOT and NERC requirements.  The database shall consist of a file for each SPS.  The documentation contained in each of these files shall include details of the design, operation, functional testing, and coordination of the SPS with other protection and control systems.  The file shall also contain the results and dates of reviews.  The file shall also contain documentation and analysis of SPS operations, mis-operations, and failures.

ERCOT shall conduct a review of any proposed or modified SPS prior to the SPS being placed in service.  The SPWG shall support ERCOT by providing the technical assistance required for these reviews.

The SPWG shall support ERCOT as required by providing the technical assistance required for any periodic reviews.

# ERCOT Disturbance Report

The SPWG shall review any ERCOT disturbances mandated by the ROS.  Additionally, each SPWG member should discuss any significant our unusual events at regularly SPWG meetings.

345 kV System Disturbance Database

A list of all 345 kV faults between October 1 of the previous year through September 30 of the current year for which fault recordings are available shall be shall be submitted to ERCOT no later than October 31 of each year.

Each 345 kV transmission facility owner shall evaluate the accuracy of the SPWG maintained current year short circuit case.  This short circuit case evaluation shall be performed annually.  This evaluation shall be completed by the November meeting of the SPWG.  Once a cause of any discrepancies or deficiencies in the short circuit case are  identified, corrections shall be made before the next year short circuit case update.

7. Procedures for the Review of Relay Mis-operation Reports

The Relay Mis-operation shall be submitted to ERCOT not later than June 1 each year.  .  Relay misoperations shall be reported in an electronic data format of either Microsoft Excel© or comma delimited text for import into a Microsoft Access© database for compilation.  A file submitted in a Microsoft Excel format shall have a “xls” file extension.  A file submitted in a text format shall have either a “txt” extension or a “csv” extension.  The submitted file shall include headers for each field.  The field headers and data format shall match that described in the table in section 6.1.2 Relay Misoperation Report of the ERCOT Operating Guide.  The submitted data shall include all mis-operations occurring at 100 kV and above.

8. Procedures for the Review and Maintenance of Operating Guide Requirements on Disturbance Monitoring and System Protection

The SPWG shall be responsible for the review and maintenance of ERCOT Operating Guide requirements on disturbance monitoring and system protection.  Revisions to the Operating Guides shall be presented to the ROS for approval in accordance with ERCOT “Process for Operating Guide Revision”.  As a minimum, the review of this guide shall be done on an annual basis during the November SPWG meeting.