# February 17 Quick Start Task Force Meeting

| Short Term Proposal | Long Term Proposal |
| --- | --- |
| Forecast 15-minute price based on current ramp rate and load level Runs every 15 minutes | Full SCED Look-Ahead Runs every 15 minutes |
| Short, low cost implementation | Model based on RTC and RTD in NYISO |
| Non-binding price signal | Binding UC in :15/:30, determined solely by ISO No Energy price forecast (in NYISO) Advisory A/S into future |
| Provides information about inflection point in AEO Curve |  |
|  | A/S and Energy Co-optimization Make-Whole for RTC unit commitments May require new product for load (commitment deviation charge) |
| 3.2.5(1)(a) Aggregate Energy Offer available 2 days after Operating Day (starting March 2011) |  |

Homework

- RT Co-optimization background

  - 2006 Task Force Whitepaper, PUCT Final Order, Patton Testimony, etc

- Augmentation

  - 2 BP Manuals (COP, RT Operations) – do these reflect augmentation?

  - How does the dynamic ramp rate NPRR address duct burners?