| NPRR Number | 219 | NPRR Title | Resolution of Alignment Items A33, A92, A106, and A150 - TSPs Must Submit Outages for Resource Owned Equipment and Clarification of Changes in Status of Transmission Element Postings |  |
| --- | --- | --- | --- | --- |
| Timeline | N/A | Action |  | Recommended Approval of Impact Assessment |
| Date of Decision |  | February 17, 2011 |  |  |
| Effective Date |  | Upon System Implementation |  |  |
| Priority and Rank Assigned |  | Priority Medium |  |  |
| Nodal Protocol Sections Requiring Revision |  | 2.1, Definitions 3.1.2, Planned Outage or Maintenance Outage Data Reporting 3.1.3.1, Transmission Facilities 3.1.3.2, Resources 3.1.4.3, Reporting for Planned Outages and Maintenance Outages of Resource and Transmission Facilities 3.1.5.1, ERCOT Evaluation of Planned Outage and Maintenance Outage of Transmission Facilities 3.3.2.1, Information to Be Provided to ERCOT 6.3.2, Activities for Real-Time Operations 8.3, TSP Performance Monitoring and Compliance |  |  |
| Revision Description |  | This Nodal Protocol Revision Request (NPRR) establishes ERCOT as the responsible Entity that will manage Outage Scheduler entries for the Generation Resource for Transmission Elements owned by the Resource other than the Outage of the Generation or Load Resource itself. ERCOT’s obligations in this regard shall terminate upon the implementation of system changes that enable Resource Entity to enter Outages for their Transmission Facilities in the Outage Scheduler. This NPRR will also require all changes or expected changes in the status of Transmission Facilities to be in the Outage Scheduler to ensure that all Outages in the Outage Scheduler are provided to the Market Information System (MIS). |  |  |
| Reason for Revision |  | This change conforms the Nodal Protocols to the as-built Nodal system. |  |  |
| Procedural History |  | - On 10/19/10, the ERCOT Board considered NPRR219. - On 1/13/11, a revised Impact Analysis and Cost Benefit Analysis were posted. - On 2/17/11, PRS considered the impact assessment for NPRR219. |  |  |
| PRS Decision |  | On 2/17/11, PRS unanimously voted to endorse and forward the impact assessment for NPRR219 to TAC and to revise the Priority to Medium. All Market Segments were present for the vote. |  |  |
| Summary of PRS Discussion |  | On 2/17/11, ERCOT Staff sought PRS endorsement of impact assessments for “Phase 1” parking deck NPRRs. ERCOT Staff suggested that NPRR219’s priority should be downgraded since the Cost Benefit Analysis does not support the business case for automation at this time. It was stated that NPRR219 should be slated for a future year’s consideration when it may make more sense to be combined with another project to gain cost efficiencies. |  |  |
| Board Decision |  | On 10/19/10, the ERCOT Board approved NPRR219 as recommended by TAC in the 10/7/10 TAC Report and as amended by the 10/14/10 ERCOT comments. |  |  |

| Sponsor |  |
| --- | --- |
| Name | Bill Blevins |
| E-mail Address | bblevins@ercot.com |
| Company | ERCOT |
| Phone Number | 512-248-6691 |
| Cell Number |  |
| Market Segment | N/A |

| Market Rules Staff Contact |  |
| --- | --- |
| Name | Ann Boren |
| E-Mail Address | aboren@ercot.com |
| Phone Number | 512-275-7411 |