| I. Revision Request Details |  |
| --- | --- |
| Date | November 23, 2010 |
| Revision Request Number | PGRR002 |
| Revision Request Name | New Planning Guide Section 2, Definitions and Acronyms, and Section 8, Planning Reserve Margin |
| ERCOT Position – Provided by CEO Needed for Go-Live Not Needed for Go-Live No opinion on the need for Go-Live |  |
| Planning Guide Revision Request (PGRR) 002, New Planning Guide Section 2, Definitions and Acronyms, and Section 8, Planning Reserve Margin, incorporates the following into the Planning Guide: (1) Planning Reserve Margin (PRM) and the minimum PRM requirement. (2) The methodology to be used by ERCOT to calculate its Seasonal (i.e., Summer and Winter) PRM. This methodology is based on the ERCOT reserve margin calculation methodology developed by the Generation Adequacy Task Force (GATF) and approved by the ERCOT Board in May 2005. (3) Changes in the PRM calculation methodology developed by the GATF and approved by TAC in February 2010. (4) Current ERCOT reserve margin planning criterion of 12.5%. However, that value may be subject to change based on ERCOT’s recent Loss-of-Load Expectation (LOLE) study. The ERCOT Board will be reviewing that study and may approve a change in the PRM in the near future. (5) New Section 2 to the Planning Guides which adds relevant terms and definitions used in the Planning Guide not defined in the Protocols. ERCOT has performed an initial assessment of PGRR002 and determined that, as currently written, it will not impact Nodal systems. Because there are no Nodal impacts, the ERCOT CEO has no opinion on whether or not PGRR002 is necessary prior to the Texas Nodal Market Implementation Date. The ERCOT CEO has the right to reevaluate the PGRR if there are any changes during the stakeholder process. |  |

II. ERCOT Position – Additional Details

Decision Criteria - Needed for Go-Live for: - Nodal system to work properly - Functionality - Quality (system performance, security, usability, efficiency, data accuracy, etc.) - Reliability (grid performance, system stability, etc.) - Compliance (Protocols, PUCT rules, NERC, etc.) - Fair Market Practices - Synchronization - Zonal to Nodal - Updating Nodal protocols to reflect changes to Zonal protocols so we aren’t reverting back to prior rules when Nodal goes live (Example: NPRR149) - Updating Nodal protocols to account for essential Zonal functionality that is missing from Nodal (Example: NPRR156) - Nodal to Nodal - Updating Nodal protocols to reflect logic that exists in the Nodal systems as currently planned or developed - Cost-Benefit indicates beneficial to implement prior to Go-Live

No opinion on the need for Nodal Go-Live; Perform complete impact analysis prior to recommending ERCOT position High level (1-4) Full Impact Analysis. “Needed for Nodal Go-Live” Indicate criteria not met unless implemented Nodal system to work properly Reliability Compliance Fair Market Practices Synchronization Cost-Benefit Other Explain: __________________________; “Not Needed for Nodal Go-Live” Explain: __________________________. Indicate potential impact Impact (System, Business process/procedure, Schedule, Budget, Staffing, Other). No impact to ERCOT Explain: ________________________________________________________________________.