January 18:	Last NDSWG meeting.

The following is a summary of the main topics of discussion by NDSWG and other ongoing activities.

Several items in the ME whitepaper were discussed and the paper was updated to include latest clarifications. Among them are:

- It was clarified that ICCP NOMCR’s can include not only ICCP name changes, but also the ability to add and delete ICCP names. Changes to ICCP names must be completed by the 15th of the month prior to energization and must be submitted in a separate NOMCR to be not be classified as an Interim Update.

- A new section was added to define the Downstream Process changes (DPC) for items that need to be changed sooner than the next database load in the production systems. These include changes for Static and Dynamic line rating changes, breaker/switch status, contingency definitions, RAP and SPS additions, and Net Dependable and reactive capability values.

- An update in the A2E process for relocating equipment.

ERCOT provided a tutorial on special modeling of transformers and Phase shifting transformers with NMMS.

ERCOT is asking for an updated contact list for A2E notifications. ERCOT will send a request that MP’s provide that information.

The latest modeling guides revisions were reviewed.

2011 NDSWG leadership changes for ROS consideration.

Trieu Vo – Chairman

Doug Evans – Vice Chairman