DWG met on January 21, 2011, by phone conference.

The 2013 flat-start was accepted by DWG and will be posted to the ERCOT web site.

TSPs requested PYTHON script source code from ERCOT.  ERCOT asked for the request to be made in writing.

Charles DeWitt of LCRA was nominated to be the new DWG Chair and David Mercado of Centerpoint Energy was nominated as Vice-Chair.

DWG discussed the load modeling submitted as part of the ALDR and Charles DeWitt drafted a consensus statement for consideration in conjunction with this year’s ALDR compilation.

Each company was asked to update its LISTSERV information.

There was an update on Transition to v. 32 of PSSE. Dynamics models for all generators except 3 wind generator models have been received by ERCOT. No status from SSWG on migration of SSWG to version 32. DWG will not transition to version 32 until the SSWG cases are in version 32 and all dynamics models needed for the flat start have been received.

The following 2012 activities were considered:

  - Flat Start Case Schedule – ERCOT will develop the 2012 Flat Start cases for DWG review and will circulate a schedule so that DWG member will know when to provide relevant updates.

  - DWG will also be conducting a 2011 Under Frequency Load Shedding Study to be completed by December 2011.

John Moore

STEC

Outgoing DWG Chair