## Slide 1: Nodal Planning Go-Live: Option 2
AEP Comments to TAC
February 3, 2011

## Slide 2: AEP Supports Option 2
Forcing planning cases out of the Topology Processor (TP) will result in decades of planning data being lost.
Using the SSWG case as the seed for building planning cases in the Model on Demand (MOD) will give TSPs time to perform proper comparison and resolve differences.

## Slide 3: Option 2
Uses an already created SSWG case as the seed case for MOD to create 2012 Data Set A.
Includes an ongoing commitment by TSPs and ERCOT to compare the TP case with an SSWG case and resolve or document differences in order to achieve consistency between planning and operations cases.
Under this option, Planning Go-live is defined as the use of MOD and the SSWG case as the planning seed and is expected to be achieved by August 1, 2011 with the posting of the 12 DSA cases.
  This result will enable CRR cases to be produced, which are electrically consistent with a TP case

## Slide 4: ERCOT & ROS Concerns With Option 2
How do we resolve or document differences in order to achieve consistency between planning and operations cases?
What assurance do we have that there will be a transition to Option 1?

## Slide 5: Resolve or Document
  The process of resolving or documenting the differences will be as follows:
    In cases where the Network Model Management System (NMMS) database structure supports the necessary change and there is not a valid reason for having a difference between the operations and planning models, a Network Operations Model Change Request (NOMCR) will be submitted by the TSP to correct the difference.

## Slide 6: Resolve or Document
    In cases where the NMMS database structure does not support the change necessary to resolve the difference in preparation for the eventual migration to Option 1, the following will occur:
      ERCOT and the TDSP will determine the software change (SCR) necessary to change the NMMS database to support the submission of a NOMCR to correct the difference. An interim Standard PMCR will be submitted where there is a power flow impact.
      ERCOT and/or the TSPs will develop Standard PMCRs to include enhanced models needed to support the ongoing planning needs. At the TSPs’ request, ERCOT will provide the ongoing support and maintenance of the necessary Standard PMCRs.

## Slide 7: Option 2
TSP
Profiles
Topology from Existing Planning Case
TSP Review
Case complete?
Case Posted
Yes
No
TSPs submit
Change via MOD
NMMS db
ERCOT Topology Processor
(TP)
ERCOT/TSP Network Model update via NOMCR
CRR Top Output
Planning Case Output
ERCOT
Model on Demand
(MOD)
TSP Future PMCR
ERCOT Dispatch
Profile
Spreadsheet Comparison

## Slide 8: Transition to Option 1
  By the time that the April 2012 DSA cases are built -
    All requirements in SCR760 will be fully vetted and either implemented or scheduled for a specific, future release.
    SSWG will complete review of TP case in order to seed 2012 DSA
  This will constitute a transition to Option 1.