## Slide 1
Nodal Planning Go Live Austin, TX February 18, 2011
ROS Meeting
Kenneth A. Donohoo, P.E.
ROS Chairperson
Oncor Electric Delivery Company LLC
Notes: <number>

## Slide 2: Nodal Planning Go Live
ERCOT ROS Meeting - Nodal Planning Go Live
02/18/2011 Ken Donohoo
<number>
Complete coordination of operating and planning databases is the goal
  Must meet the full needs of both environments
  Recognize importance of existing planning knowledge and long term experience
  One Stop Shop providing power system data
  Continuous significant ongoing effort
  Coordination with operations essential
  Not create new manual workarounds
  Increasing efficiency
  Supports short and long term reliability
  Planning cannot be delayed
Recognize NERC standards requirements for “Planning Authority” (PA) and “Transmission Planner” (TP)
  Compliance cannot be delayed or stopped

## Slide 3: Nodal Planning
ERCOT ROS Meeting - Nodal Planning Go Live
02/18/2011 Ken Donohoo
<number>
Many TSPs already have large existing planning databases of previously-vetted data
Concern expressed over rushing process resulting in loosing large amounts of existing planning data
Nodal Planning is an entirely new method to build future planning cases from operations database
Operations database missing many needed planning elements and data
Very complex environments
Minimal testing and documentation provided
Proposed single process 4 to 8 times previous effort
Option 2 Process support by ROS at January Meeting
  AEP requested modification
Dual process proposed by ERCOT

## Slide 4: SCR 760 Status
ERCOT ROS Meeting - Nodal Planning Go Live
02/18/2011 Ken Donohoo
<number>
Awaiting TAC decision (March 3 Meeting)
  Updated CBA from ERCOT
March 22 BOD Meeting
SCR 760 Summary
  Fully supports current protocol requirements
  Update TP/IMM to output latest PSSE version
  Distribution substation capacitor banks
  Include zero impedance line ratings
  Associate loads and cap banks to correct CNG
  Additional autotransformer parameters
  Improve FACTS device models
  Assign valid PSSE IDs
  Include 30 degree phase shift for autotransformers
  Multi-Section Lines (reliability load throwover scheme)

## Slide 5: NMMS/NOM to Cases
ERCOT ROS Meeting - Nodal Planning Go Live
02/18/2011 Ken Donohoo
<number>
Network
Operations
Model
(NMMS)
CRR
Model
Topology
Processor
(Software)
Long Term
Planning
Models
(MOD)
IMM
(Software)

## Slide 6: Nodal Planning Progress
ERCOT ROS Meeting - Nodal Planning Go Live
02/18/2011 Ken Donohoo
<number>
TAC tasked ROS to develop solution
Annual Planning Model Protocol Discussion
Consistency
Current approved SSWG procedures in-place
  PLWG document on hold
NOM/NMMS to IMM to TP Mapping document
  Stakeholder review and acceptance
Procedures for Option 2
  Interim to ROS in March
  PLWG review
Planning Modeling Expectations White Paper
  Draft to ROS in March
  Modifications expected as initial process go forward