| PGRR Number | 006 | PGRR Title | New Planning Guide Section 6.5, Annual Load Data Request |
| --- | --- | --- | --- |

| Date | February 25, 2011 |
| --- | --- |

| Submitter’s Information |  |
| --- | --- |
| Name | Wayne Kemper |
| E-mail Address | wayne.kemper@centerpointenergy.com |
| Company | CenterPoint Energy |
| Phone Number | (713) 207-2192 |
| Cell Number |  |
| Market Segment | Investor Owned Utility (IOU) |

Comments

CenterPoint Energy proposes the following changes to PGRR006 to better align the PGRR with current requirements and practices.

Revised Proposed Guide Language

6.5	Annual Load Data Request

- (1)	The Transmission and/or Distribution Service Provider (TDSP) or its Designated Agent must provide Load data each year as outlined in the Annual Load Data Request (ALDR) Procedures to allow necessary ERCOT System reliability analysis and planning.  Each TDSP or its Designated Agent is responsible for providing historical and forecasted Load data to ERCOT for all Loads connected to its system.  Data supplied in the ALDR is considered Protected Information.

(2)	 The following factors should be considered when developing Load forecast data:

(a)	Economic;

(b)	Demographic;

(c)	Customer trends;

(d)	Conservation;

(e)	Improvements in the efficiency of electrical energy uses;

(f)	Other changes in the end uses of electricity; and

(g)	Weather effects.

(3)	The owner of a Private Use Network  or substation not owned by the TDSP shall provide a substation Load forecast to its  TDSP with sufficient time to allow the TDSP to adequately include that substation in its ALDR response.

(4)	The TDSP or its Designated Agent shall coordinate with the appropriate working group as described in the ALDR Procedures for issues with data submissions.

(5)  	Load data that is incomplete, not timely submitted on the schedule, or not in the format defined in the ALDR Procedures will be considered missing data.  For these missing Load data, ERCOT shall calculate Loads based on historical data and insert these Loads into the Load flow cases during DataSet A and DataSet B annual updates.