Date: 	February 24, 2011

To:	TAC Representatives

From:	Sandy Morris, Protocol Revision Subcommittee (PRS) Chair

Re:	Consideration of Nodal Protocol Revision Requests (NPRRs) and Parking Deck Impact Assessments

The PRS met and discussed several revision requests and presents the following NPRRs to the Technical Advisory Committee (TAC) for consideration this month.

Unless indicated otherwise, all Market Segments were present for the vote.  In addition, unless stated otherwise, the ERCOT Credit Staff and the Credit Work Group (Credit WG) have reviewed the revision requests and do not believe they require changes to credit monitoring activity or the calculation of liability.

NPRRs Recommended for Approval

  - NPRR290, ERCOT Publication of DAM PSS/E Files [Luminant].

Proposed Effective Date:  Upon System Implementation.

ERCOT Impact Analysis:  $20k – $25k; no impact to ERCOT staffing; impacts to Market Management System (MMS) and Market Information System (MIS); impact to business functions to enhance the MMS system to support the creation of a Power System Simulator for Engineering (PSS/E) model and supporting files for posting prior to the Day-Ahead Market (DAM); no impact to grid operations or practices.

Revision Description:  This NPRR enhances transparency of the transmission topology (including all scheduled Outages) used in the DAM by requiring ERCOT to publish certain data files (in Power System Simulator for Engineering format) for easy review by all Market Participants with standard power flow tools such as PTI PSS/E, Power World Simulator, etc.

Procedural History:  NPRR290 was posted on 10/28/10.  On 11/18/10, PRS unanimously voted to table NPRR290 for one month; to request that ERCOT implement the manual workaround based on the model load schedule as done in market trials and as resources allow; and to bring back estimated costs for the various options of implementation.  On 12/16/10, PRS unanimously voted to table NPRR290 for one month.  On 1/20/11, PRS voted to recommend approval of NPRR290 as amended by the 1/19/11 Luminant comments and as revised by PRS.  There was one opposing vote from the Municipal Market Segment.  On 2/17/11, PRS unanimously voted to endorse and forward the 1/20/11 PRS Report as amended by the 2/16/11 EROT comments, Impact Analysis, and Cost Benefit Analysis for NPRR290 to TAC with a recommended priority of High and rank of 13.

  - NPRR294, Texas SET 4.0 Including: Acquisition and Transfer of Customers From One REP to Another; Meter Tampering Transactional Solution [Texas SET Working Group].

Proposed Effective Date:  Upon System Implementation.

ERCOT Impact Analysis:  $1.5M - $1.6M; no impact to ERCOT staffing anticipated; impacts to Siebel, Paperfree, Enterprise Information Services (EIS), MIS, Data Track Reporting (DTR), Retail API (PiApp); new internal processes to be developed to comply with business requirements; no impact to grid operations or practices.

Revision Description:  This NPRR defines the process for Mass Transition of Electric Service Identifiers (ESI IDs) from one Competitive Retailer (CR) to another CR when transitioning due to an acquisition, the process for switch hold indicator addition and removal, and other various changes deemed to be implemented with Texas Standard Electronic Transaction (TX SET) version 4.0.  Changes to accommodate priority move-outs (including addition of the priority code and one hour processing of priority move-outs by ERCOT) and same day switches (changing the First Available Switch Date (FASD) to zero) are pending a Public Utility Commission of Texas (PUCT) rulemaking and are subject to revision.

Procedural History:  NPRR294 was posted on 11/5/10.  On 11/18/10, PRS unanimously voted to table NPRR294.  On 1/20/11, PRS unanimously voted to recommend approval of NPRR294 as amended by the 1/14/11 Texas SET Working Group comments.  On 2/17/11, PRS unanimously voted to endorse and forward the 1/20/11 PRS Report, Impact Analysis, and Cost Benefit Analysis for NPRR294 to TAC with a recommended priority of Critical and rank of 3.

  - NPRR298, New Definitions Related to Black Start and Clarification to the Hourly Standby Fee Payments for Black Start Resources (formerly “New Definitions Related to Black Start”) [Operations Working Group (OWG)].

Proposed Effective Date:  May 1, 2011

ERCOT Impact Analysis:  No budgetary impact; no impacts to ERCOT staffing; no impact to ERCOT computer systems; no impacts to ERCOT business functions; no impacts to ERCOT grid operations and practices.

Revision Description:  This NPRR proposes new definitions for Section 2.1, Definitions, and clarifies the use of Black Start terminology in other sections of the Nodal Protocols.  This NPRR also identifies uses of the proposed terms(s) and makes language changes if applicable and aligns the terminology and acronym related to the Hourly Standby Fee Payment with Section 6.6.8.1, Black Start Capacity Payment.

Procedural History:  NPRR298 was posted on 11/29/10.  On 12/16/10, PRS unanimously voted to table NPRR298.  On 1/20/11, PRS unanimously voted to recommend approval of NPRR298 as amended by the 1/20/11 OWG comments.  On 2/17/11, PRS unanimously voted to endorse and forward the 1/20/11 PRS Report and Impact Analysis for NPRR298 to TAC.  Credit review is pending.

  - NPRR301, Correct Energy Trade Language for Adjustment Period [Morgan Stanley].

Proposed Effective Date:  May 1, 2011

ERCOT Impact Analysis:  No budgetary impact; no impacts to ERCOT staffing; no impact to ERCOT computer systems; no impacts to ERCOT business functions; no impacts to ERCOT grid operations and practices.

Revision Description:  This NPRR revises the language in Section 4.4.2, Energy Trades, for entering Energy Trades in the Adjustment Period to match that of the latest Edison Electric Institute (EEI) Amendment.

Procedural History:  NPRR301 was posted on 12/3/10.  On 1/20/11, PRS unanimously voted to recommend approval of NPRR301 as revised by PRS.  On 2/17/11, PRS unanimously voted to endorse and forward the 1/20/11 PRS Report and Impact Analysis for NPRR301 to TAC.

  - NPRR303, Requirement to Post PTP Options Cleared in DAM or Taken to Real-Time [Luminant Energy] – Urgent.

Proposed Effective Date:  Upon System Implementation (will be implemented with NPRR293, Requirement to Post PTP Obligation Quantities Awarded in DAM (formerly “Requirement to Post CRR Option and Obligation Quantities Cleared in DAM or Taken to Real Time”)

ERCOT Impact Analysis:  Less than $5k; no impacts to ERCOT staffing; impacts to MMS, Current Day Reports (CDR), and MIS;  implement automated process to generate and post quantities of Point-to-Point (PTP) Options cleared in the DAM or taken in Real-Time; no impacts to ERCOT grid operations and practices.

Revision Description:  This NPRR adds language to specify the need for ERCOT to post quantities of Point-to-Point (PTP) Options and PTP Options with Refund that were not cleared in the DAM and taken to Real-Time for Settlement.

Procedural History:  NPRR303 was posted on 12/5/10.  On 1/20/11, PRS voted to recommend approval of NPRR303 as submitted.  There were two opposing votes from the Municipal Market Segment and one abstention from the Independent Power Marketer (IPM) Market Segment.  On 2/17/11, PRS unanimously voted to grant NPRR303 Urgent status, to endorse and forward the 1/20/11 PRS Report, Impact Analysis and Cost Benefit Analysis for NPRR303 to TAC, and to recommend a priority of High and a rank of 14.

  - NPRR304, Removal of Frequency Bias Methodology Approval Requirement [ERCOT].

Proposed Effective Date:  May 1, 2011

ERCOT Impact Analysis:  No budgetary impact; no impacts to ERCOT staffing; no impact to ERCOT computer systems; no impacts to ERCOT business functions; no impacts to ERCOT grid operations and practices.

Revision Description:  This NPRR removes the requirement for ERCOT to develop a methodology, subject to TAC approval, to determine the optimal frequency bias for given system conditions.

Procedural History:  NPRR304 was posted on 12/17/10.  On 1/20/11, PRS unanimously voted to recommend approval of NPRR304 as submitted.  On 2/17/11, PRS unanimously voted to endorse and forward the 1/20/11 PRS Report and Impact Analysis for NPRR304 to TAC.

  - NPRR307, Change SASM Offer Procedures [Morgan Stanley] – Urgent.

Proposed Effective Date:  Upon System Implementation.

ERCOT Impact Analysis:  $15k - $20k; no impacts to ERCOT staffing; impacts to MMS; no impacts to ERCOT business functions; no impacts to ERCOT grid operations and practices.

Revision Description:  This NPRR deletes the requirement of valid Supplemental Ancillary Services Market (SASM) offers to be at or below the value of the offers in the DAM.

Procedural History:  NPRR307 was posted on 1/11/11.  On 1/13/11, PRS granted NPRR307 Urgent status via PRS email vote.  On 1/20/11, PRS voted via roll call vote to refer NPRR307 to WMS.  On 2/17/11, PRS voted to recommend approval of NPRR307 as amended by the 2/14/11 Occidental Chemical Corporation comments and as revised by PRS and to forward NPRR307 to TAC.  There was one abstention from the Independent Retail Electric Provider (IREP) Market Segment.  Credit review is pending.

  - NPRR320, Minimum PTP Option Bids and CRR Auction Fees [Residential Consumer] – Urgent.

Proposed Effective Date:  Pending.

ERCOT Impact Analysis:  Pending.

Revision Description:  This NPRR will charge a fee to make a bid or offer and sets a minimum price on PTP Options.  The Congestion Revenue Right (CRR) Bid/Offer Fee, Minimum PTP Option Bid Amount and minimum clearing prices will be recommended by the TAC and approved by the ERCOT Board.  The revenue from the fees will be distributed on a monthly Load Ratio Share (LRS) basis in the same way other auction revenue is distributed.

Procedural History:  NPRR320 was posted on 2/8/11.  On 2/10/11, NPRR320 was granted Urgent status via PRS email vote.  On 2/17/11, PRS voted to recommend approval of NPRR320 as amended by the 2/15/11 Luminant comments and as revised by PRS; to recommend that the bid fee be set at zero; and to forward NPRR320 to TAC via roll call vote.  Credit review is pending.

  - NPRR323, Correct DAM Credit Exposure Language and Enable Qualified Expiring CRRs to Offset PTP Bid Exposure [Tenaska] – Urgent.

Proposed Effective Date:  Pending.

ERCOT Impact Analysis:  Pending.

Revision Description:  This NPRR revises the language in Section 4.4.10, Credit Requirement for DAM Bids and Offers, to match the implemented DAM credit exposure calculations for Three-Part Supply Offers as they relate to combined cycle and to PTP bid calculations currently identified in paragraph (6)(d) of Section 4.4.10; right size the credit exposure calculation for DAM transactions submitted via the use of an energy-only bid curve to equate to the maximum exposure; and right size the credit exposure calculation for DAM PTP bids where a qualified expiring CRR offsets cleared DAM exposure.

Procedural History:  NPRR323 was posted on 2/10/11.  On 2/16/11, the motion to grant NPRR323 Urgent status failed via PRS email vote.  On 2/17/11, PRS unanimously voted to grant NPRR323 Urgent status.  PRS then unanimously voted to recommend approval of NPRR323 as amended by the 2/17/11 ERCOT comments and to forward NPRR323 to TAC.  Credit review is pending.

  - NPRR325, Price Correction During SCED Process Failure [ERCOT] – Urgent.

Proposed Effective Date:  April 1, 2011

ERCOT Impact Analysis:  No budgetary impact; no impacts to ERCOT staffing; no impact to ERCOT computer systems; no impacts to ERCOT business functions; no impacts to ERCOT grid operations and practices.

Revision Description:  This NPRR clarifies the Settlement method that will be used if ERCOT identifies that Real-Time Settlement Point Prices are erroneous and correcting the error will affect Real-Time Dispatch.

Procedural History:  NPRR325 was posted on 2/10/11.  On 2/16/11, the motion to grant NPRR325 Urgent status failed via PRS email vote.  On 2/17/11, PRS unanimously voted to grant NPRR325 Urgent status.  PRS then unanimously voted to recommend approval of NPRR325 as revised by PRS and to forward NPRR325 to TAC.  Credit review is pending.

Parking Deck Impact Assessments Recommended for Approval

  - NPRR208, Registration and Settlement of Distributed Generation (DG) Less Than One MW [Non-Opt-In Entity (NOIE) Distributed Renewable Generation (DRG) Settlements Task Force]

Effective Date:  Upon System Implementation (next achievable release window is September 2011 assuming March Board approval); Parking deck priority - Critical

ERCOT Impact Analysis:  $5k - $10k; no ERCOT staffing impacts; system changes to Settlements & Billing (S&B) required; no impacts to ERCOT grid operations and practices; no impact to grid operations and practices.

Revision Description:  The NPRR includes proposed language changes by the Non-Opt-In Entity (NOIE) Distributed Renewable Generation (DRG) Settlements Task Force in regards to the registration requirements for Distributed Generation (DG) greater than 50 kW and less than or equal to one MW.  In addition this NPRR synchronizes language approved through PRR756, Distributed Renewable Generation Modifications, with some recommended revisions consistent with the NOIE DRG Settlements Task Force discussions.  PRR756 was approved by ERCOT Board on 5/20/08 and was implemented on 11/21/09.

Procedural History:  On 7/20/10, the ERCOT Board approved NPRR208 as recommended by TAC in the 7/1/10 TAC Report and to assign a priority of Critical to the grey-boxed language.  On 2/17/11, PRS unanimously voted to endorse and forward the impact assessment for NPRR208 to TAC.

  - NPRR219, Resolution of Alignment Items A33, A92, A106, and A150 - TSPs Must Submit Outages for Resource Owned Equipment and Clarification of Changes in Status of Transmission Element Postings [ERCOT].

Effective Date: Upon System Implementation (ERCOT has not determined a target release date); Parking deck priority – Medium.

ERCOT Impact Analysis:  $565k - $750k; labor savings totaling 1.25 FTE per year; impacts to Network Model Management System (NMMS), Resource Asset Registration Form (RARF), Siebel, Outage Scheduler Core and User Interface (UI), NMMS to Outage Scheduler Integration, Enterprise Integration, EIS, and External Web Services (EWS); implementation of system changes that enable Resource Entity to enter Outages for their Transmission Facilities in the Outage Scheduler; remove ERCOT as the responsible Entity that will manage Outage Scheduler entries for the Generation Resource for Transmission Elements owned by the Resource other than the Outage of the Generation or Load Resource itself.

Revision Description:  This NPRR requires the Generation Resource to designate a Transmission Service Provider (TSP) as the responsible Entity that will manage Outage Scheduler entries for the Generation Resource for Transmission Elements owned by the Resource other than the Outage of the Generation or Load Resource itself.  This NPRR also requires all changes or expected changes in the status of Transmission Facilities to be in the Outage Scheduler to ensure that all Outages in the Outage Scheduler are provided to the MIS.

Procedural History:  On 10/19/10, the ERCOT Board approved NPRR219 as recommended by TAC in the 10/7/10 TAC Report and as amended by the 10/14/10 ERCOT comments.  On 2/17/11, PRS unanimously voted to endorse and forward the impact assessment for NPRR219 to TAC and to revise the Priority to Medium.

  - NOGRR050, Resolution of Reporting Issues Related to NPRR219 [CenterPoint Energy].

Effective Date:  Upon System Implementation (ERCOT has not determined a target release date); Parking deck priority – Medium.

ERCOT Impact Analysis:  Cost/budget impacts for implementation have been included in the revised ERCOT Impact Analysis Report for NPRR219.

Revision Description:  This NOGRR removes the requirement for ERCOT to produce several reports related to Outage Scheduling from the current Nodal Operating Guide and grey-boxing the requirements until such time ERCOT systems can be modified to include only the TSP’s Outages in the reports.

Procedural History:  On 10/19/10, the ERCOT Board approved NOGRR050 as recommended by TAC in the 10/7/10 TAC Report.  On 2/17/11, PRS unanimously voted to endorse and forward the impact assessment for NOGRR050 to TAC and to revise the Priority to Medium.

  - NPRR251, Synchronization of PRR845, Definition for IDR Meters and Optional Removal of IDR Meters at a Premise Where an Advanced Meter Can be Provisioned [Retail Metering Working Group (RMWG)].

Effective Date:  Upon System Implementation (next achievable release window is June 2011 assuming March Board approval); Parking deck priority – High.

ERCOT Impact Analysis:  $35k - $45k; no ERCOT staffing impacts; impacts to COMS and EIS; change reporting for Advanced Meters under certain conditions where an Advanced Meter has been provisioned by the Transmission and/or Distribution Service Provider (TDSP); no impacts to ERCOT grid operations and practices.

Revision Description:  This NPRR synchronizes the Nodal Protocols with PRR845, Definition for IDR Meters and Optional Removal of IDR Meters at a Premise Where an Advanced Meter Can be Provisioned, which clarifies the meaning of an Interval Data Recorder (IDR) Meter and provides for optional removal of IDR Meters under certain conditions for Premises where an Advanced Meter can be provisioned by the TDSP.  This NPRR also inserts grey boxed language for reporting requirements in Sections 18.6.1 and 18.6.2, to be implemented post Texas Nodal Market Implementation Date.

Procedural History:  On 9/21/10, the ERCOT Board approved NPRR251 as recommended by TAC in the 9/2/10 TAC Report.  On 2/17/11, PRS unanimously voted to endorse and forward the impact assessment for NPRR251 to TAC.

  - NPRR282, Dynamic Ramp Rates Use in SCED [Calpine].

Effective Date:  Upon System Implementation (next achievable release window is June 2011 assuming March Board approval); Parking deck priority – Critical.

ERCOT Impact Analysis:  $30k - $35k; no impacts to ERCOT staffing; impact to EMS; ERCOT Nodal ICCP Handbook will need to be updated; no impacts to ERCOT grid operations and practices.

Revision Description:  This NPRR revises Protocol language to result in more reasonable Dispatch of Generation Resources when a telemetered Base Point requires the Resource to employ technologies that in turn change the Resource’s ramp rate.

Procedural History:  On 1/18/11, the ERCOT Board approved NPRR282 as recommended by TAC in the 12/6/10 TAC Report.  On 2/17/11, PRS unanimously voted to endorse and forward the impact assessment for NPRR282 to TAC.

  - NPRR293, Requirement to Post PTP Obligation Quantities Awarded in DAM (formerly “Requirement to Post CRR Option and Obligation Quantities Cleared in DAM or Taken to Real Time”) [Luminant].

Effective Date:  Upon System Implementation (next achievable release window is May 2011 assuming March Board approval); Parking deck priority – High.

ERCOT Impact Analysis:  $10k - $15k; no impacts to ERCOT staffing; impact to implement the MMS view and CDR automated Comma-Separated Value (CSV) & Extensible Markup Language (XML) report generation and MIS posting; implement an automated process to post the quantities of PTP Obligations awarded in the DAM; no impacts to ERCOT grid operations and practices.

Revision Description:  This NPRR specifies the need for ERCOT to post quantities of PTP Obligations that were awarded in the DAM.

Procedural History:  On 12/14/10, the ERCOT Board approved NPRR293 as amended by the 12/10/10 ERCOT comments.  On 2/17/11, PRS unanimously voted to endorse and forward the impact assessment for NPRR293 to TAC.

Revision Requests Rejected and Failed Motions

None.

Revision Requests Withdrawn (no TAC action required)

None.

Status of Pending Revision Requests (For Information Purposes Only):

Revision Requests Scheduled for Impact Analysis Review and Priority Assignment (if applicable) at the March 24, 2011 PRS Meeting

  - NPRR299, Remove Requirement for ERCOT Board Approval of PUCT, IMM, and FERC Required Reports [ERCOT].

Proposed Effective Date:  Pending.

ERCOT Impact Analysis:  Initial project implementation - $30k - $35k;  Ongoing yearly cost $125k - $135k; additional one full time equivalent (FTE); impact MIS and internal ERCOT Application Programming Interface (API); implement business process changes to support posting requirements; no impacts to grid operations and practices.

Revision Description:  This NPRR modifies the Nodal Protocols to require ERCOT to post all public materials that are submitted to standards bodies and governing agencies on the ERCOT website.   This NPRR also removes the need for the ERCOT Board, PUCT Staff and Independent Market Monitor (IMM) to approve a schedule and format for reports.

Procedural History:  NPRR299 was posted on 11/30/10.  On 12/16/10, PRS unanimously voted to table NPRR299.  On 1/20/11, PRS voted to recommend approval of NPRR299 as amended by the 1/7/11 PSEG TX comments and as revised by PRS.  There was one opposing vote from the Investor Owned Utility (IOU) Market Segment and two abstentions from the IOU and Municipal Market Segments.  On 2/17/11, PRS unanimously voted to table NPRR299 for one month.

  - NPRR306, Revisions to Protected Information to Include Black Start Documents Considered CEII [Operations Working Group (OWG)].

Proposed Effective Date:  Pending.

ERCOT Impact Analysis:  Pending.

Revision Description:  This NPRR revises Section 1.3.6 to include Black Start documents that meet the definition of Critical Energy Infrastructure Information (CEII).

Procedural History:  NPRR306 was posted on 1/11/11.  On 2/17/11, PRS unanimously voted to recommend approval of NPRR306 as submitted.  Credit review is pending.

  - NPRR310, Expand Output Schedule Acceptable Range to Include HSL and LSL [Tenaska].

Proposed Effective Date:  Pending.

ERCOT Impact Analysis:  Pending.

Revision Description:  This NPRR updates the criteria by which Output Schedules are deemed valid to include Output Schedules that are equal in value to the Resource High Sustained Limit (HSL) and Low Sustained Limit (LSL).

Procedural History:  NPRR310 was posted on 1/14/11.  On 2/17/11, PRS unanimously voted to recommend approval of NPRR310 as submitted.  Credit review is pending.

Revision Requests Deferred or Tabled

- NPRR190, Clarification of Resource Definitions and Resource Registration of Self-Serve Generators for Reliability Purposes [ERCOT].

Proposed Effective Date:  Pending.

ERCOT Impact Analysis:  Pending.

Revision Description: This NPRR adds language to acknowledge the existence of Generation Resources that have no or minimal injection onto the ERCOT System that qualify either as distributed generation or are registered with the PUCT according to P.U.C. Subst. R. 25.109, Registration of Power Generation Companies and Self-Generators, as a self-generator but yet are required to participate with ERCOT for reliability purposes.

Procedural History:  NPRR190 was posted on 7/24/09.  On 8/25/09, PRS unanimously voted to table NPRR190 for one month.  On 9/17/09, PRS unanimously voted to table NPRR190 for one month.  On 10/22/09, PRS unanimously voted to table NPRR190 for one month.  On 11/19/09, PRS unanimously voted to table NPRR190.  On 12/17/09, PRS unanimously voted to table NPRR190 indefinitely.  On 9/23/10, PRS unanimously voted to table NPRR190 for one month.  On 10/21/10, PRS unanimously voted to table NPRR190 for one month.  On 11/18/10, PRS unanimously voted to table NPRR190.  Credit review is pending.

  - NPRR264, Clarification of Nodal Protocol Requirements for Generators With Multiple Points of Interconnection [WMS].

Proposed Effective Date:  Pending.

ERCOT Impact Analysis:  Pending.

Revision Description:  This NPRR adds language to specify that Nodal Protocol requirements applicable to Generation Resources which are based upon the date of an executed Standard Generation Interconnection Agreement (SGIA) are applied to the date of the original SGIA for Resources with more than one point of interconnection.

Procedural History:  NPRR264 was posted on 8/12/10.  On 8/19/10, PRS unanimously voted to table NPRR264 for one month.  The IPM Market Segment was not present for the vote.  On 9/23/10, PRS voted to table NPRR264 and to request that the ERCOT CEO reevaluate whether NPRR264 is needed prior to the Texas Nodal Market Implementation Date.  There was one abstention from the Independent Generator Market Segment.  On 10/21/10, PRS unanimously voted to table NPRR264 for one month.  On 11/18/10, PRS unanimously voted to table NPRR264 for one month.  On 12/16/10, PRS unanimously voted to table NPRR264 for one month.  On 1/20/11, PRS unanimously voted to table NPRR264 for one month.  On 2/17/11, PRS unanimously voted to table NPRR264 for one month.  Credit review is pending.

  - NPRR300, Municipal Owned Utility Addition to Determination of Total Potential Exposure for a Counter-Party [City of Garland].

Proposed Effective Date:  Pending.

ERCOT Impact Analysis:  Pending.

Revision Description:  This NPRR adds Municipally Owned Utilities (MOUs) to the list of Entities exempt from the requirement to grant ERCOT a first priority security interest in order for Total Potential Exposure (TPE) of a Counter-Party to be based on the algebraic sum of the Counter-Party’s current and future credit exposures.

Procedural History:  NPRR300 was posted on 12/3/10.  On 1/20/11, PRS unanimously voted to table NPRR300.  Credit review is pending.

  - NPRR308, Deployment Procedures for Non-Spin Resources [City of Garland].

Proposed Effective Date:  Pending.

ERCOT Impact Analysis:  Pending.

Revision Description:  This NPRR will require Non-Spinning Reserve (Non-Spin) Service deployments to respect Resource Parameters as registered with ERCOT.

Procedural History:  NPRR308 was posted on 1/13/11.  On 2/17/11, PRS unanimously voted to table NPRR308.  Credit review is pending.

  - NPRR312, Clarification of QSE Requirements for Split Generation Resources [ERCOT] – Urgent.

Proposed Effective Date:  Pending.

ERCOT Impact Analysis:  No budgetary impact; no impacts to ERCOT staffing; no impact to ERCOT computer systems; no impacts to ERCOT business functions; no impacts to ERCOT grid operations and practices.

Revision Description:  This NPRR defines Master Qualified Scheduling Entity (QSE), clarifies the designation and responsibilities of the Master QSE for a Generation Resource that has been split to function as two or more Split Generation Resources, and clarifies the responsibilities of the QSEs for such Split Generation Resources.  This NPRR also addresses Settlement and billing disputes related to the application of integrated Real-Time telemetry from a Generation Resource that has been split to function as two or more Split Generation Resources.

Procedural History:  NPRR312 was posted on 2/1/11.  On 2/3/11, the motion to grant NPRR312 Urgent status failed via PRS email vote.  On 2/17/11, PRS voted to grant NPRR312 Urgent status.  There was one abstention from the IPM Market Segment.  PRS then unanimously voted to table NPRR312 for one month.  Credit review is pending.

  - NPRR315, Revision of Responsive Reserve Measure to Net Dependable Capability [Morgan Stanley] – Urgent.

Proposed Effective Date:  Pending.

ERCOT Impact Analysis:  Pending.

Revision Description:  This NPRR changes Responsive Reserve (RRS) Service 20% limit to check against Net Dependable Capability instead of HSL.

Procedural History:  NPRR315 was posted on 2/2/11.  On 2/4/11, the motion to grant NPRR315 Urgent status failed via PRS email vote.  On 2/17/11, PRS unanimously voted to grant NPRR315 Urgent status.  PRS then unanimously voted to table NPRR315.  Credit review is pending.

  - NPRR316, Negative Self-Arranged Ancillary Services [Morgan Stanley] – Urgent.

Proposed Effective Date:  Pending.

ERCOT Impact Analysis:  Pending.

Revision Description:  This NPRR allows QSEs to enter a negative value for Ancillary Service self-arrangement.

Procedural History:  NPRR316 was posted on 2/2/11.  On 2/4/11, the motion to grant NPRR316 Urgent status failed via PRS email vote.  On 2/17/11, PRS voted to grant NPRR316 Urgent status.  There was one opposing vote from the Consumer Market Segment.  PRS then unanimously voted to table NPRR316 for one month.  Credit review is pending.

Revision Requests Pending Input from Another Subcommittee/Task Force

  - NPRR309, Providing STWPF to QSEs Contractually Affiliated with WGR [LCRA].

Proposed Effective Date:  Pending.

ERCOT Impact Analysis:  Pending.

Revision Description:  This NPRR would require ERCOT to provide the Wind-powered Generation Resource (WGR) forecast to any QSE contractually affiliated with that WGR.

Procedural History:  NPRR309 was posted on 1/14/11.  On 2/17/11, PRS voted to refer NPRR309 to WMS.  There was one opposing vote from the IOU Market Segment.  Credit review is pending.

New Revision Requests Scheduled for Consideration at the March 24, 2011 PRS Meeting

  - NPRR311, Correction of Wind Adjust Formula to Account for Daylight Savings Time [ERCOT].

Proposed Effective Date:  Pending.

ERCOT Impact Analysis:  No additional impacts to implement NPRR311 beyond what was captured in the Impact Analysis for NPRR208, Registration and Settlement of Distributed Generation (DG) Less Than One MW.

Revision Description:  This NPRR updates the criteria by which Output Schedules are deemed valid to include Output Schedules that are equal in value to the Resource HSL and Low Sustained Limit LSL.

Procedural History:  NPRR311 was posted on 2/1/11.  Credit review is pending.

  - NPRR313, Updating the Term Resource Plan to Current Operating Plan [Luminant].

Proposed Effective Date:  Pending.

ERCOT Impact Analysis:  Pending.

Revision Description:  This NPRR replaces the term “Resource Plan” with the term “Current Operating Plan” in those instances where the change in terminology was not previously made.

Procedural History:  NPRR313 was posted on 2/1/11.  Credit review is pending.

  - NPRR314, Requirement to Post Generation Resources Temporal Constraints [Luminant].

Proposed Effective Date:  Pending.

ERCOT Impact Analysis:  Pending.

Revision Description:  This NPRR adds language to specify the need for ERCOT to post to the MIS Certified Area the current time since a Generation Resource last went Off-Line (in hours) and the corresponding startup time ERCOT is using for of all Off-Line Generation Resources which may be considered in any Reliability Unit Commitment (RUC) process.  This NPRR also adds the requirement for ERCOT to develop a process that will allow the QSE or Resource Entity to correct or adjust the ERCOT time since a Generation Resource last ran to bring the ERCOT systems back in sync with the current condition of the Generation Resource.

Procedural History:  NPRR314 was posted on 2/1/11.  Credit review is pending.

  - NPRR317, Clarification of Entity Responsible for Hydro Responsive Testing [ERCOT].

Proposed Effective Date:  Pending.

ERCOT Impact Analysis:  No budgetary impact; no impacts to ERCOT staffing; no impact to ERCOT computer systems; no impacts to ERCOT business functions; no impacts to ERCOT grid operations and practices.

Revision Description:  This NPRR clarifies the Entity responsible for hydro responsive testing.

Procedural History:  NPRR317 was posted on 2/4/11.  Credit review is pending.

  - NPRR318, Alignment of Nodal Registration Requirements with Current Registration Process [ERCOT].

Proposed Effective Date:  Pending.

ERCOT Impact Analysis:  No budgetary impact; no impacts to ERCOT staffing; no impact to ERCOT computer systems; no impacts to ERCOT business functions; no impacts to ERCOT grid operations and practices.

Revision Description:  This NPRR aligns the registration requirements in Section 16.1, Qualification, Registration, and Execution of Agreements, with the current registration process.

Procedural History:  NPRR318 was posted on 2/4/11.  Credit review is pending.

  - NPRR319, Required Documentation to Recover Fuel Costs for RUC Deployments [ERCOT].

Proposed Effective Date:  Pending.

ERCOT Impact Analysis:  No budgetary impact; no impacts to ERCOT staffing; no impact to ERCOT computer systems; no impacts to ERCOT business functions; no impacts to ERCOT grid operations and practices.

Revision Description:  This NPRR clarifies what type of documentation QSEs must submit to ERCOT as proof of natural gas purchases when requesting additional compensation for fuel costs incurred when providing RUC services.  The NPRR further clarifies which documents are deemed acceptable as proof of fuel purchases and directs QSEs to request ERCOT Board approval for documentation not covered by the Nodal Protocols.

Procedural History:  NPRR319 was posted on 2/7/11.  Credit review is pending.

  - NPRR321, Allow Change to Energy Offer Curve MW Amounts in the Adjustment Period for Qualifying Facilities [Calpine].

Proposed Effective Date:  Pending.

ERCOT Impact Analysis:  Pending.

Revision Description:  This NPRR would provide the ability for Qualifying Facilities (QFs) to change the amounts of power in their Energy Offer Curves in the Adjustment Period.

Procedural History:  NPRR321 was posted on 2/10/11.  Credit review is pending.

  - NPRR322, Real-Time PTP Option Modeling  [Luminant].

Proposed Effective Date:  Pending.

ERCOT Impact Analysis:  Pending.

Revision Description:  This NPRR modifies PTP Options in the DAM that have been declared by a NOIE before the DAM execution to be settled in Real-Time and are still held by that NOIE in Real-Time such that they are considered as PTP Obligations for purposes of the DAM model.  Settlement of Real-Time PTP Options remains unchanged.

Procedural History:  NPRR322 was posted on 2/10/11.  Credit review is pending.

  - NPRR324, Conductor/Transformer Transmission Facility Rating [ERCOT].

Proposed Effective Date:  Pending.

ERCOT Impact Analysis:  No budgetary impact; no impacts to ERCOT staffing; no impact to ERCOT computer systems; no impacts to ERCOT business functions; no impacts to ERCOT grid operations and practices.

Revision Description:  This NPRR adds the Conductor/Transformer Rating, normally used for Rate C in the Annual Planning Model, as a fourth Transmission Facility Rating and adds the description from the Operating Guides to the Rating terms definitions in the Nodal Protocols.

Procedural History:  NPRR324 was posted on 2/10/11.  Credit review is pending.

  - NPRR326, Adjust the Calculation of the Real-Time Settlement Point Price for a Resource Node [ERCOT].

Proposed Effective Date:  Pending.

ERCOT Impact Analysis:  $15k - $20k; no impacts to ERCOT staffing; impacts to MMS; no impacts to ERCOT business functions; no impacts to ERCOT grid operations and practices.

Revision Description:  This NPRR adjusts the calculation of the Real-Time Settlement Point Price for a Resource Node.  The adjustment is to remove the Base Point weighting of the Real-Time Locational Marginal Prices (LMPs).

Procedural History:  NPRR326 was posted on 2/10/11.  On 2/16/11, the motion to grant Urgent status for NPRR326 failed via email vote.  Credit review is pending.

  - NPRR327, State Estimator Data Redaction Methodology [ERCOT].

Proposed Effective Date:  Pending.

ERCOT Impact Analysis:  $120k - $130k; no impacts to ERCOT staffing; impacts to MIS and EIS; no impacts to ERCOT business functions; no impacts to ERCOT grid operations and practices.

Revision Description:  This NPRR inserts language to define a redaction methodology for the posting of State Estimator data.

Procedural History:  NPRR327 was posted on 2/22/11.  Credit review is pending.

  - NPRR328, Removes ERCOT Requirement For Reactive Resource Planning and the Associated Compliance Process [ERCOT].

Proposed Effective Date:  Pending.

ERCOT Impact Analysis:  No budgetary impact; no impacts to ERCOT staffing; no impact to ERCOT computer systems; no impacts to ERCOT business functions; no impacts to ERCOT grid operations and practices.

Revision Description:  This NPRR removes a duplicate requirement for ERCOT to plan reactive Resources and also removes an unassigned and vague requirement for a compliance process.

Procedural History:  NPRR328 was posted on 2/23/11.  Credit review is pending.

  - NPRR329, Security Classification Changes for Extracts/Reports [MIS User Group].

Proposed Effective Date:  Pending.

ERCOT Impact Analysis:  Pending.

Revision Description:  This NPRR changes the security classification to public for extracts/reports that are currently classified in the Nodal Protocols as secure.

Procedural History:  NPRR329 was posted on 2/23/11.  Credit review is pending.

  - NPRR330, Change in Frequency of Five Protocol Required Audits from Annual to Periodic [ERCOT].

Proposed Effective Date:  Pending.

ERCOT Impact Analysis:  No budgetary impact; no impacts to ERCOT staffing; no impact to ERCOT computer systems; no impacts to ERCOT business functions; no impacts to ERCOT grid operations and practices.

Revision Description:  This Nodal Protocol Revision Request (NPRR) revises the frequency for the ERCOT Internal Audit Department to perform audits from an annual basis to a periodic basis.

Procedural History:  NPRR330 was posted on 2/24/11.  Credit review is pending.