## Slide 1: Protocol Revision Subcommittee
Sandy Morris
March 3, 2011

## Slide 2
Summary of Revision Requests
10 NPRRs Recommended for Approval
6 NPRRs/NOGRRs Recommended for Impact Assessment Approval
0 Rejections or Withdrawals
Notes: <number>

## Slide 3: Items for a Vote
Unanimous Recommendations with No Impacts
  NPRR298, New Definitions Related to Black Start and Clarification to the Hourly Standby Fee Payments for Black Start Resources (formerly “New Definitions Related to Black Start”)
  NPRR301, Correct Energy Trade Language for Adjustment Period
  NPRR304, Removal of Frequency Bias Methodology Approval Requirement
  NPRR325, Price Correction During SCED Process Failure - URGENT
Unanimous Recommendations with Impacts
  NPRR294, Texas SET 4.0 Including: Acquisition and Transfer of Customers From One REP to Another; Meter Tampering Transactional Solution
  NPRR323, Correct DAM Credit Exposure Language and Enable Qualified Expiring CRRs to Offset PTP Bid Exposure - URGENT
Notes: <number>

## Slide 4: Items for a Vote
Non-unanimous Recommendations
  NPRR290, ERCOT Publication of DAM PSS/E Files
NPRR303, Requirement to Post PTP Options Cleared in DAM or Taken to Real-Time - URGENT
NPRR307, Change SASM Offer Procedures - URGENT
NPRR320, Minimum PTP Option Bids and CRR Auction Fees - URGENT
Notes: <number>

## Slide 5: Items for a Vote
Impact Assessment Recommendations
  NPRR208, Registration and Settlement of Distributed Generation (DG) Less Than One MW
  NPRR251, Synchronization of PRR845, Definition for IDR Meters and Optional Removal of IDR Meters at a Premise Where an Advanced Meter Can be Provisioned [Retail Metering Working Group
  NPRR282, Dynamic Ramp Rates Use in SCED
  NPRR293, Requirement to Post PTP Obligation Quantities Awarded in DAM (formerly “Requirement to Post CRR Option and Obligation Quantities Cleared in DAM or Taken to Real Time”)
  NPRR219, Resolution of Alignment Items A33, A92, A106, and A150 - TSPs Must Submit Outages for Resource Owned Equipment and Clarification of Changes in Status of Transmission Element Postings
  NOGRR050, Resolution of Reporting Issues Related to NPRR219

## Slide 6
NPRRs Recommended for Approval

## Slide 7: NPRR290, ERCOT Publication of DAM PSS/E Files
Purpose (Luminant) | This NPRR enhances transparency of the transmission topology (including all scheduled Outages) used in the DAM by requiring ERCOT to publish certain data files (in Power System Simulator for Engineering format) for easy review by all Market Participants with standard power flow tools such as PTI PSS/E, Power World Simulator, etc | 
System Change | Yes | MMS and MIS
PRS Vote | On 1/20/11, PRS voted to recommend approval of NPRR290 as amended by the 1/19/11 Luminant comments and as revised by PRS. There was one opposing vote from the Municipal Market Segment. On 2/17/11, PRS unanimously voted to endorse and forward the 1/20/11 PRS Report as amended by the 2/16/11 EROT comments, Impact Analysis, and Cost Benefit Analysis for NPRR290 to TAC with a recommended priority of High and rank of 13. | 
Effective Date/Priority | Upon System Implementation – Priority High/Rank 13 | 
Notes: <number>

## Slide 8
Item Reviewed
Description
No
Impact
Credit Monitoring/
Liability
Budget
Staffing
Computer Systems
Business Functions
Grid Operations
Impact
NPRR290, ERCOT Publication of DAM PSS/E Files
$20k - $25k
MMS and MIS
Impacts to support PSS/E model
Notes: <number>

## Slide 9: NPRR294, Texas SET 4.0 Including: Acquisition and Transfer of Customers From One REP to Another; Meter Tampering Transactional Solution
Purpose (Texas SET WG) | This NPRR defines the process for Mass Transition of ESI IDs from one CR to another CR when transitioning due to an acquisition, the process for switch hold indicator addition and removal, and other various changes deemed to be implemented with Texas Standard Electronic Transaction (TX SET) version 4.0. Changes to accommodate priority move-outs and same day switches are pending a PUCT rulemaking and are subject to revision | 
System Change | Yes | Siebel, Paperfree, EIS, MIS , DTR, Retail API
PRS Vote | On 1/20/11, PRS unanimously voted to recommend approval of NPRR294 as amended by the 1/14/11 Texas SET Working Group comments. On 2/17/11, PRS unanimously voted to endorse and forward the 1/20/11 PRS Report, Impact Analysis, and Cost Benefit Analysis for NPRR294 to TAC with a recommended priority of Critical and rank of 3. | 
Effective Date/Priority | Upon System Implementation – Priority Critical/Rank 3 | 
Notes: <number>

## Slide 10
Item Reviewed
Description
No
Impact
Credit Monitoring/
Liability
Budget
Staffing
Computer Systems
Business Functions
Grid Operations
Impact
NPRR294, Texas SET 4.0 Including: Acquisition and Transfer of Customers From One REP to Another; Meter Tampering Transactional Solution
$1.5M - $1.6M
Siebel, Paperfree, Enterprise Information Services (EIS), MIS, Data Track Reporting (DTR), Retail API (PiApp);
Impact to comply with new business requirements
Notes: <number>

## Slide 11: NPRR298, New Definitions Related to Black Start and Clarification to the Hourly Standby Fee Payments for Black Start Resources (formerly “New Definitions Related to Black Start”)
Purpose (OWG) | This NPRR proposes new definitions for Section 2.1, Definitions, and clarifies the use of Black Start terminology in other sections of the Nodal Protocols. This NPRR also identifies uses of the proposed terms(s) and makes language changes if applicable and aligns the terminology and acronym related to the Hourly Standby Fee Payment with Section 6.6.8.1, Black Start Capacity Payment. | 
System Change | No | N/A
PRS Vote | On 1/20/11, PRS unanimously voted to recommend approval of NPRR298 as amended by the 1/20/11 OWG comments. On 2/17/11, PRS unanimously voted to endorse and forward the 1/20/11 PRS Report and Impact Analysis for NPRR298 to TAC. | 
Effective Date/Priority | May 1, 2011 | 
Notes: <number>

## Slide 12
Item Reviewed
Description
No
Impact
Credit Monitoring/
Liability
Budget
Staffing
Computer Systems
Business Functions
Grid Operations
Impact
NPRR298, New Definitions Related to Black Start and Clarification to the Hourly Standby Fee Payments for Black Start Resources (formerly “New Definitions Related to Black Start”)
Notes: <number>

## Slide 13: NPRR301, Correct Energy Trade Language for Adjustment Period
Purpose (Morgan Stanley) | This NPRR revises the language in Section 4.4.2, Energy Trades, for entering Energy Trades in the Adjustment Period to match that of the latest Edison Electric Institute (EEI) Amendment. | 
System Change | No | N/A
PRS Vote | On 1/20/11, PRS unanimously voted to recommend approval of NPRR301 as revised by PRS. On 2/17/11, PRS unanimously voted to endorse and forward the 1/20/11 PRS Report and Impact Analysis for NPRR301 to TAC. | 
Effective Date/Priority | May 1, 2011 | 
Notes: <number>

## Slide 14
Item Reviewed
Description
No
Impact
Credit Monitoring/
Liability
Budget
Staffing
Computer Systems
Business Functions
Grid Operations
Impact
NPRR301, Correct Energy Trade Language for Adjustment Period
Notes: <number>

## Slide 15: NPRR303, Requirement to Post PTP Options Cleared in DAM or Taken to Real-Time - URGENT
Purpose (Luminant) | This NPRR adds language to specify the need for ERCOT to post quantities of Point-to-Point (PTP) Options and PTP Options with Refund that were not cleared in the DAM and taken to Real-Time for Settlement. | 
System Change | Yes | MMS, CDR, MIS
PRS Vote | On 1/20/11, PRS voted to recommend approval of NPRR303 as submitted. There were two opposing votes from the Municipal Market Segment and one abstention from the Independent Power Marketer (IPM) Market Segment. On 2/17/11, PRS unanimously voted to grant NPRR303 Urgent status. PRS then unanimously voted to endorse and forward the 1/20/11 PRS Report, Impact Analysis, and Cost Benefit Analysis for NPRR303 to TAC with a recommended priority of High and rank of 14. | 
Effective Date/Priority | Upon System Implementation – Priority High/Rank 14 | 
Notes: <number>

## Slide 16
Item Reviewed
Description
No
Impact
Credit Monitoring/
Liability
Budget
Staffing
Computer Systems
Business Functions
Grid Operations
Impact
NPRR303, Requirement to Post PTP Options Cleared in DAM or Taken to Real-Time - URGENT
MMS, CDR, MIS
< $5k*
* If implemented along with NPRR293, Requirement to Post PTP Obligation Quantities Awarded in DAM (formerly “Requirement to Post CRR Option and Obligation Quantities Cleared in DAM or Taken to Real Time”)
Implementation of automated process
Notes: <number>

## Slide 17: NPRR304, Removal of Frequency Bias Methodology Approval Requirement
Purpose (ERCOT) | This NPRR removes the requirement for ERCOT to develop a methodology, subject to TAC approval, to determine the optimal frequency bias for given system conditions. | 
System Change | No | N/A
PRS Vote | On 1/20/11, PRS unanimously voted to recommend approval of NPRR304 as submitted. On 2/17/11, PRS unanimously voted to endorse and forward the 1/20/11 PRS Report and Impact Analysis for NPRR304 to TAC. | 
Effective Date/Priority | May 1, 2011 | 
Notes: <number>

## Slide 18
Item Reviewed
Description
No
Impact
Credit Monitoring/
Liability
Budget
Staffing
Computer Systems
Business Functions
Grid Operations
Impact
NPRR304, Removal of Frequency Bias Methodology Approval Requirement
Notes: <number>

## Slide 19: NPRR307, Change SASM Offer Procedures - URGENT
Purpose (Morgan Stanley) | This NPRR deletes the requirement of valid Supplemental Ancillary Services Market (SASM) offers to be at or below the value of the offers in the DAM. | 
System Change | Yes | MMS
PRS Vote | On 2/17/11, PRS voted to recommend approval of NPRR307 as amended by the 2/14/11 Occidental Chemical Corporation comments and as revised by PRS and to forward NPRR307 to TAC. There was one abstention from the Independent Retail Electric Provider (IREP) Market Segment | 
Effective Date/Priority | Upon System Implementation; Priority/Rank Pending | 
Notes: <number>

## Slide 20
Item Reviewed
Description
No
Impact
Credit Monitoring/
Liability
Budget
Staffing
Computer Systems
Business Functions
Grid Operations
Impact
NPRR307, Change SASM Offer Procedures - URGENT
$15k - $20k
MMS
Notes: <number>

## Slide 21: NPRR320, Minimum PTP Option Bids and CRR Auction Fees - URGENT
Purpose (Residential Consumer Representative) | This NPRR will charge a fee to make a bid or offer and sets a minimum price on PTP Options. The Congestion Revenue Right (CRR) Bid/Offer Fee, Minimum PTP Option Bid Amount and minimum clearing prices will be recommended by the TAC and approved by the ERCOT Board. The revenue from the fees will be distributed on a monthly Load Ratio Share (LRS) basis in the same way other auction revenue is distributed | 
System Change | Yes. | CRR, CSI, S&B, EIS
PRS Vote | On 2/17/11, PRS voted to recommend approval of NPRR320 as amended by the 2/15/11 Luminant comments and as revised by PRS; to recommend that the bid fee be set at zero; and to forward NPRR320 to TAC via roll call vote. | 
Effective Date/Priority | Upon System Implementation; Priority/Rank Pending | 
Notes: <number>

## Slide 22
Item Reviewed
Description
No
Impact
Credit Monitoring/
Liability
Budget
Staffing
Computer Systems
Business Functions
Grid Operations
Impact
NPRR320, Minimum PTP Option Bids and CRR Auction Fees - URGENT
$105k - $120k
CRR, CSI, S&B, EIS
Will charge a fee to make a bid and set min. price on PTP Option bids.
**Optional Interim simplified solution $10k - $11k (6 months)
Notes: <number>

## Slide 23: NPRR323, Correct DAM Credit Exposure Language and Enable Qualified Expiring CRRs to Offset PTP Bid Exposure - URGENT
Purpose (Tenaska) | This NPRR revises the language in Section 4.4.10, Credit Requirement for DAM Bids and Offers, to match the implemented DAM credit exposure calculations for Three-Part Supply Offers as they relate to combined cycle and to PTP bid calculations currently identified in paragraph (6)(d) of Section 4.4.10; right size the credit exposure calculation for DAM transactions submitted via the use of an energy-only bid curve to equate to the maximum exposure; and right size the credit exposure calculation for DAM PTP bids where a qualified expiring CRR offsets cleared DAM exposure. | 
System Change | Pending | Pending
PRS Vote | On 2/17/11, PRS unanimously voted to grant NPRR323 Urgent status. PRS then unanimously voted to recommend approval of NPRR323 as amended by the 2/17/11 ERCOT comments and to forward NPRR323 to TAC. | 
Effective Date/Priority | Pending | 
Notes: <number>

## Slide 24
Item Reviewed
Description
No
Impact
Credit Monitoring/
Liability
Budget
Staffing
Computer Systems
Business Functions
Grid Operations
Impact
NPRR323, Correct DAM Credit Exposure Language and Enable Qualified Expiring CRRs to Offset PTP Bid Exposure - URGENT
Notes: <number>

## Slide 25: NPRR325, Price Correction During SCED Process Failure - URGENT
Purpose (ERCOT) | This NPRR clarifies the Settlement method that will be used if ERCOT identifies that Real-Time Settlement Point Prices are erroneous and correcting the error will affect Real-Time Dispatch. | 
System Change | No | N/A
PRS Vote | On 2/17/11, PRS unanimously voted to grant NPRR325 Urgent status. PRS then unanimously voted to recommend approval of NPRR325 as revised by PRS and to forward NPRR325 to TAC. | 
Effective Date/Priority | April 1, 2011 | 
Notes: <number>

## Slide 26
Item Reviewed
Description
No
Impact
Credit Monitoring/
Liability
Budget
Staffing
Computer Systems
Business Functions
Grid Operations
Impact
NPRR325, Price Correction During SCED Process Failure - URGENT
Notes: <number>

## Slide 27
Parking Deck Impact Assessments Recommended for Approval

## Slide 28: NPRR208, Registration and Settlement of Distributed Generation (DG) Less Than One MW
Purpose (NOIE DRG TF) | The NPRR includes proposed language changes by the NOIE DRG Task Force in regards to the registration requirements for Distributed Generation (DG) greater than 50 kW and less than or equal to one MW. The NPRR synchronizes language approved through PRR756, Distributed Renewable Generation Modifications, with some recommended revisions consistent with the NOIE DRG TF discussions. PRR756 was approved by ERCOT Board on 5/20/08 and was implemented on 11/21/09. | 
System Change | Yes | Settlements and Billing
PRS Vote | On 7/20/10, the ERCOT Board approved NPRR208 as recommended by TAC in the 7/1/10 TAC Report and to assign a priority of Critical to the grey-boxed language. On 2/17/11, PRS unanimously voted to endorse and forward the impact assessment for NPRR208 to TAC. | 
Effective Date/Priority | Upon System Implementation; Next achievable release window is September 2011; Parking Deck Priority Critical | 
Notes: <number>

## Slide 29
Item Reviewed
Description
No
Impact
Credit Monitoring/
Liability
Budget
Staffing
Computer Systems
Business Functions
Grid Operations
Impact
$5k - $10k
Settlements and Billing
NPRR208, Registration and Settlement of Distributed Generation (DG) Less Than One MW
Notes: <number>

## Slide 30: NPRR219, Resolution of Alignment Items A33, A92, A106, and A150 - TSPs Must Submit Outages for Resource Owned Equipment and Clarification of Changes in Status of Transmission Element Postings
Purpose (ERCOT) | This NPRR requires the Generation Resource to designate a TSP as the responsible Entity that will manage Outage Scheduler entries for the Resource for Transmission Elements owned by the Resource other than the Outage of the Generation or Load Resource itself. This NPRR also requires all changes or expected changes in the status of Transmission Facilities to be in the Outage Scheduler to ensure that all Outages in the Outage Scheduler are provided to the MIS. | 
System Change | Yes | Multiple
PRS Vote | On 10/19/10, the ERCOT Board approved NPRR219 as recommended by TAC in the 10/7/10 TAC Report and as amended by the 10/14/10 ERCOT comments. On 2/17/11, PRS unanimously voted to endorse and forward the impact assessment for NPRR219 to TAC and to revise the Priority to Medium. | 
Effective Date/Priority | Upon System Implementation; target release date has not been determined; Parking Deck Priority – Medium. | 
Notes: <number>

## Slide 31
Item Reviewed
Description
No
Impact
Credit Monitoring/
Liability
Budget
Staffing
Computer Systems
Business Functions
Grid Operations
Impact
NPRR219, Resolution of Alignment Items A33, A92, A106, and A150 - TSPs Must Submit Outages for Resource Owned Equipment and Clarification of Changes in Status of Transmission Element Postings
$565k - $750k
Labor Savings – 1.5 FTE/yr
NMMS, RARF, Siebel, Outage Scheduler Core and User Interface (UI), NMMS to Outage Scheduler Integration, Enterprise Integration, EIS, and External Web Services (EWS);
Notes: <number>

## Slide 32: NOGRR050, Resolution of Reporting Issues Related to NPRR219
Purpose (ERCOT) | This NOGRR removes the requirement for ERCOT to produce several reports related to Outage Scheduling from the current Nodal Operating Guide and grey-boxing the requirements until such time ERCOT systems can be modified to include only the TSP’s Outages in the reports. | 
System Change | See NPRR219 | See NPRR219
PRS Vote | On 10/19/10, the ERCOT Board approved NOGRR050 as recommended by TAC in the 10/7/10 TAC Report. On 2/17/11, PRS unanimously voted to endorse and forward the impact assessment for NOGRR050 to TAC and to revise the Priority to Medium. | 
Effective Date/Priority | Upon System Implementation; target release date has not been determined; Parking Deck Priority – Medium. | 
Notes: <number>

## Slide 33
Item Reviewed
Description
No
Impact
Credit Monitoring/
Liability
Budget
Staffing
Computer Systems
Business Functions
Grid Operations
Impact
See NPRR219
See NPRR219
NOGRR050, Resolution of Reporting Issues Related to NPRR219
See NPRR219
Notes: <number>

## Slide 34: NPRR251, Synchronization of PRR845, Definition for IDR Meters and Optional Removal of IDR Meters at a Premise Where an Advanced Meter Can be Provisioned
Purpose (RMWG) | This NPRR synchronizes the Nodal Protocols with PRR845, Definition for IDR Meters and Optional Removal of IDR Meters at a Premise Where an Advanced Meter Can be Provisioned, which clarifies the meaning of an Interval Data Recorder (IDR) Meter and provides for optional removal of IDR Meters under certain conditions for Premises where an Advanced Meter can be provisioned by the TDSP. This NPRR also inserts grey boxed language for reporting requirements in Sections 18.6.1 and 18.6.2, to be implemented post Texas Nodal Market Implementation Date | 
System Change | Yes | COMS and EIS
PRS Vote | On 9/21/10, the ERCOT Board approved NPRR251 as recommended by TAC in the 9/2/10 TAC Report. On 2/17/11, PRS unanimously voted to endorse and forward the impact assessment for NPRR251 to TAC with Priority of High | 
Effective Date/Priority | Upon System Implementation; Next achievable release window is June 2011; Parking Deck Priority - High | 
Notes: <number>

## Slide 35
Item Reviewed
Description
No
Impact
Credit Monitoring/
Liability
Budget
Staffing
Computer Systems
Business Functions
Grid Operations
Impact
NPRR251, Synchronization of PRR845, Definition for IDR Meters and Optional Removal of IDR Meters at a Premise Where an Advanced Meter Can be Provisioned
$35k - $45k
COMS and EIS
Change reporting for Advanced Meters
Notes: <number>

## Slide 36: NPRR282, Dynamic Ramp Rates Use in SCED
Purpose (Calpine) | This NPRR revises Protocol language to result in more reasonable Dispatch of Generation Resources when a telemetered Base Point requires the Resource to employ technologies that in turn change the Resource’s ramp rate. | 
System Change | Yes | EMS
PRS Vote | On 1/18/11, the ERCOT Board approved NPRR282 as recommended by TAC in the 12/6/10 TAC Report. On 2/17/11, PRS unanimously voted to endorse and forward the impact assessment for NPRR282 to TAC with priority of High. | 
Effective Date/Priority | Upon System Implementation; Next achievable release window is June 2011; Parking Deck Priority - High | 
Notes: <number>

## Slide 37
Item Reviewed
Description
No
Impact
Credit Monitoring/
Liability
Budget
Staffing
Computer Systems
Business Functions
Grid Operations
Impact
$30k - $35k
EMS
ICCP Handbook
NPRR282, Dynamic Ramp Rates Use in SCED
Notes: <number>

## Slide 38: NPRR293, Requirement to Post PTP Obligation Quantities Awarded in DAM (formerly “Requirement to Post CRR Option and Obligation Quantities Cleared in DAM or Taken to Real Time”)
Purpose (Luminant) | This NPRR specifies the need for ERCOT to post quantities of PTP Obligations that were awarded in the DAM. | 
System Change | No | N/A
PRS Vote | On 12/14/10, the ERCOT Board approved NPRR293 as amended by the 12/10/10 ERCOT comments. On 2/17/11, PRS unanimously voted to endorse and forward the impact assessment for NPRR293 to TAC with a priority of High. | 
Effective Date/Priority | Upon System Implementation; Next achievable release window is May 2011; Parking Deck Priority - High | 
Notes: <number>