OWG Meeting Notes 02/16/11

Attendance:

Tip Tipton		BEPC (TO)

Larry Parr		CPS Energy (TO)

Brad Calhoun		CNP (TO)

Ross Owen		Oncor (TO)

Robert Avila		BPUB (TO)

Jeff Sims		CPS Energy (TO)

Stan Morris		TNMP (TO)

Frank Owens   	TMPA	(TO)

Jack Thormahlen	LCRA (QSE)

Jerry Willms		LCRA (TO)

Leo Villanueva	ERCOT

John Moore		BTU (TO)

Rick Gillean		Texas RE

Kevin Brown		AEN (TO)

Steve Zaragoza	GP&L (TO)

Naga Kota		ERCOT

Brenda Hampton	Luminant (QSE)

JC Culberson (Phone)	ERCOT

Wayne Bolton (Phone)	BEPC (QSE)

Mark Henry 		Texas RE

Linda Rodriquez (Phone) AEP (TO)

Yvette Landin		ERCOT

Henry Woods (Phone)	STEC (TO)

Colleen Frosch	ERCOT

Curtis Crews		Texas RE

9:55 Meeting opened with Antitrust Admonition by Frank Owens.

ROS meeting Report –ROS meeting was delayed until 2/18 due to the weather.

Frank read letter received from Bryan Lloyd with PUCT directing IMM and Texas RE to investigate all preparation steps and EEA 3 event which occurred on 2/2/11.  Focus will be on ERCOT and Market Participants, all should cooperate.

The January meeting notes were reviewed.  Robert Avila stated he was not at the January meeting but attendance list shows him attending.

All action items are highlighted in green

NOGRR 043 Synchronization with OGRR208, Voltage Ride-Through (VRT) Requirement –

ERCOT Planning and Wind Coalition to resolve, carryover to next month.

NOGRR 054 Change Facilitator for the Annual Operations Seminar – Reviewed IA and CBA.

Much discussion surrounding CBA, the CBA seemed to be misleading. ERCOT agreed to revise the IA and CBA to clarify the IA and CBA, real additional cost of 4 year span and make a distinction that it requires 1 FTE.  Group recommended moving to ROS for approval but probably a good idea to put a couple of slides together to better explain the CBA.

NOGRR 055 Deletion of an Invalid Reference to a Non-Existent NERC Term –

Reviewed no impact IA, no discussion. Group recommended moving to ROS for approval.

NOGRR 056 Synchronization with NPRR291, Reduce the Comment Period for NPRRs and SCRs – Language reviewed, participant described the benefits and noted that comments should be submitted timely to allow time for consideration.  Recommended approval will come back with IA next month.

NOGRR 058 Deletion of Section 5, Planning – Language reviewed, ERCOT staff noted that section 5 will be left blank.  Recommended approval, will come back with IA next month.

NOGRR 059 Administrative Changes for March 1, 2011 Nodal Operating Guides – ERCOT staff reviewed and noted that it will be effective March 1st as long as no comments are received.

Operations Report – ERCOT reviewed the January Operations Report. Brenda (Luminant) asked if frequency response/control has improved since Nodal implement.  ERCOT staff stated it has improved with SCED, sometimes had to take manual action to control frequency with the 15 minute balancing market.  Jack (LCRA) mentioned the frequency dips are deeper with the change in hydro response.

Nodal Operating Guides Review and Revision Task Force – First meeting was held 2/15/11. Frank (TMPA) is serving as Chair and JC Culberson (ERCOT) as Vice Chair.  Charter was reviewed, sending to ROS for approval. Reviewed conflict between Operating Guides and NERC Standards, developed work plan and made assignments. Asked for each member to discuss with their compliance group to determine if there has been a gap analysis and notify Frank Owens if there are any issues.

Operations Task Force Report – Update on Voltage Profile issues with +/- 2 % or +/- 5 % of nominal. Action Item for OTF to complete assignment with voltage profile NPRR and NOGRR, this is still being resolved.  Original assignment came from ROS to review the SOL methodology with Centerpoint’s concerns which had to do with voltage specifically on the high end of 1.05 of voltage in the Houston area.  Houston runs higher due to what is published in the NERC criteria.  ERCOT has commented that adjusting the language to allow for flexibility in smaller areas is not an issue, but cannot apply to ERCOT as a whole.

Black Start Task Force Report – Steve Zaragoza (GPL) is new Char.  Frank has a request about when the last severe weather drill took place.  Kelly Blackmer can send evidence that a Participant attended if they send an e-mail request.  NPRR306 goes to PRS on 2/17, this is to change the Back Start meetings to closed sessions.

Compliance Report – Curtis Crews reported TADS information should be entered by 3/1.  Change in Misoperations reporting, quarterly reports are now required by Texas RE.  ALR (adequate levels of reliability) 5 or 6 around misoperations. ROW alert, two or three that didn’t make by 1/18, Texas RE is reviewing the plans and working with NERC to determine what needs to be done, some will be rejected.  Working with NERC on what passes and what doesn’t. ROW plans letter was sent in November dealing with FAC-08.  Request what others are doing to meet MOD 010-0 and 012-0.

System Operations Report – Reviewed and discussed Feb 2nd cold weather event.

ERCOT staff reviewed the EEA 3 and Valley load shed event. Mark Henry noted that they are collecting information and reports from 72 registered companies.  Not looking for compliance violations at this point, wanting to generate lessons learned. Winter weatherization is at the top of the list.  This might be a larger ROS reviewable event – wanting to do things that are proactive prior to the event…what, why, lessons learned. At the end of the process, will be requesting that companies perform self audit and report potential violations.

Brenda asked if the ultimate plan was to get one composite event report.  Mark stated Texas RE will compile issues and elaborate sequence of events.

Other Items:

Discussion of Adverse Weather Operations during Feb 2nd cold weather event -

Ross (Oncor) is there something that ERCOT needs in the Operating Guides or Protocols to help the Operators in preparing for events like this, such as doubling responsive reserves.  In extreme conditions is it necessary to take extreme measures, ERCOT needs more flexibility.  Henry (STEC) not more flexibility that ERCOT needs, its more command and control. Need to carry the voice of the operators through the stakeholder process.  As a group, carefully analyze impact to Market Participants.  Can give ERCOT more tools, but will take research and coordination between ERCOT and this group on what is needed and how it can work in the market. Frosch (ERCOT) what about when we post advisories for weather having actions TOs and QSEs need to do?  Brad (Centerpoint) suggested looking at past events and see if there are common patterns, generation maintenance patterns. By definition an OCN doesn’t specify what needs to happen. Market screaming that they need price volatility.  OTF will take this issue up and try and schedule meeting for next week.  First order of business is to identify the tools and find gaps then review protocols to identify the language addition/changes.  Consider incentives for keeping Generations on, will need someone from ERCOT operations to work with group.  Jerry (LCRA) suggested something be put in the Operating Guides defining what “critical loads” are.  Black start critical loads don’t match the EEA critical loads.

Some questions for OWG group to consider as we implement PER-005.  Be prepared to discuss these questions at the next OWG meeting:

- Do all System Operators operating in ERCOT (the TRE Region) have authority or control over Facilities with or affecting IROLs?

- What is the subset of System Operators in ERCOT that this requirement applies to?

- What applications or forms of “technology that replicates the operational behavior of the BES during normal and emergency conditions” would be considered acceptable simulation technology by TRE and NERC?

Next meeting – March 7th, 2011 at the Embassy Suites Hotel in San Marcos.