| NPRR Number | 251 | NPRR Title | Synchronization of PRR845, Definition for IDR Meters and Optional Removal of IDR Meters at a Premise Where an Advanced Meter Can be Provisioned |  |
| --- | --- | --- | --- | --- |
| Timeline | N/A | Action |  | Recommended Approval of Impact Assessment |
| Date of Decision |  | March 3, 2011 |  |  |
| Effective Date |  | Upon System Implementation |  |  |
| Priority and Rank Assigned |  | Priority High |  |  |
| Nodal Protocol Sections Grey-Boxed |  | 18.6.1, Interval Data Recorder Installation and Use in Settlement 18.6.2, Interval Data Recorder Administration Issues |  |  |
| Revision Description |  | This Nodal Protocol Revision Request (NPRR) synchronizes the Nodal Protocols with Protocol Revision Request (PRR) 845, Definition for IDR Meters and Optional Removal of IDR Meters at a Premise Where an Advanced Meter Can be Provisioned, which clarifies the meaning of an Interval Data Recorder (IDR) Meter and provides for optional removal of IDR Meters under certain conditions for Premises where an Advanced Meter can be provisioned by the Transmission and/or Distribution Service Provider (TDSP). This NPRR also inserts grey boxed language for reporting requirements in Sections 18.6.1 and 18.6.2, to be implemented post Texas Nodal Market Implementation Date, that were removed from PRR845 due to the impact on Nodal systems and therefore deemed “Not Needed for Go-Live” by the CEO Revision Request Review process. Non-substantive administrative changes, such as correcting acronym and defined term usage and section references are also included. |  |  |
| Reason for Revision |  | To synchronize the Nodal Protocols with PRR845. This NPRR provides guidelines for the mandatory installation and removal of an IDR Meter as it relates to the use of provisioned Advanced Meters. |  |  |
| Procedural History |  | - On 9/21/10, the ERCOT Board considered NPRR251. - On 1/31/11, a revised Impact Analysis and Cost Benefit Analysis were posted. - On 2/17/11, PRS considered the impact assessment for NPRR251. - On 3/3/11, TAC considered the impact assessment for NPRR251. |  |  |
| PRS Decision |  | On 2/17/11, PRS unanimously voted to endorse and forward the impact assessment for NPRR251 to TAC. All Market Segments were present for the vote. |  |  |
| Summary of PRS Discussion |  | On 2/17/11, ERCOT Staff sought PRS endorsement of impact assessments for “Phase 1” parking deck NPRRs. It was emphasized that language had already been approved by the ERCOT Board for NPRR251. |  |  |
| TAC Decision |  | On 3/3/11, TAC unanimously voted to recommend approval of the impact assessment for NPRR251 as recommended by PRS in the 2/17/11 PRS Report – Impact Assessment. All Market Segments were present for the vote. |  |  |
| Summary of TAC Discussion |  | On 3/3/11, ERCOT Staff sought endorsement of impact assessments for “Phase 1” parking deck NPRRs and noted their respective projected implementation dates. |  |  |
| Board Decision |  | On 9/21/10, the ERCOT Board approved NPRR251 as recommended by TAC in the 9/2/10 TAC Report. |  |  |

| Sponsor |  |
| --- | --- |
| Name | Terry Bates on behalf of the Retail Metering Working Group (RMWG) |
| E-mail Address | terry.bates@oncor.com |
| Company | Oncor |
| Phone Number | 214.486.5972 |
| Cell Number |  |
| Market Segment | Investor Owned Utility (IOU) |

| Market Rules Staff Contact |  |
| --- | --- |
| Name | Ann Boren |
| E-Mail Address | aboren@ercot.com |
| Phone Number | 512-275-7411 |