- MINUTES OF THE ERCOT

Nodal advisory task force (NATF) MEETING

ERCOT Taylor Office

- 800 Airport Drive / Taylo3r, TX 76574

- November 15, 2010

- Meeting Attendance:

Segment Representatives in Attendance:

| Name | affiliation | Market Segment |
| --- | --- | --- |
| Bivens, Danny | OPUC | Consumer – Residential (Via Teleconference) |
| Blackburn, Don | Luminant | Investor Owned Utility (IOU) |
| Fox, Kip | AEP Service Corporation | IOU |
| Kroskey, Tony | Brazos | Cooperative (Alt.) (Via Teleconference) |
| Lovelace, Russell | Shell Energy | Independent Power Marketer, (IMP) (Via Teleconference) |
| McEvoy, Kevin | Exelon Generation | IPM |
| McMurray, Mark | Direct Energy | Independent Retail Electric Provider (IREP) (Alt.) (Via Teleconference) |
| Ögelman, Kenan | CPS Energy | Municipal |
| Reynolds, Jim | StarTex Power | IREP (Via Teleconference) |
| Richard, Naomi | LCRA | Cooperative |
| Torrent, Gary | OPUC | Consumer – Residential (alt.) |
| Wardle, Scott | Occidental Chemical | Consumer – Industrial |

Non-voting Attendees:

| Name | Affiliation |  |
| --- | --- | --- |
| Aguirre, T | CPS Energy | Via Teleconference |
| Anklam, Rob | Cargill | Via Teleconference |
| Bailey, Dan | Garland Power and Light | Via Teleconference |
| Bailey, Robert | NRG Texas | Via Teleconference |
| Belk, Brad | LCRA | Via Teleconference |
| Black, Julie | PUCT | Via Teleconference |
| Bruns, Scott | Direct Energy | Via Teleconference |
| Carter, Kevin | Duke Energy | Via Teleconference |
| Cochran, Seth | Sempra | Via Teleconference |
| English, Rock | Luminant | Via Teleconference |
| Fahey, Matt | IPR | Via Teleconference |
| Fu, Weihui | CPS Energy | Via Teleconference |
| Galliguez, Percy | Brazos Electric | Via Teleconference |
| Garza, Beth | Potomac Economics | Via Teleconference |
| Goff, Eric | Reliant |  |
| Hampton, Brenda | Luminant |  |
| Hansen, Eric | Ventyx | Via Teleconference |
| Hellinghausen, Bill | EDF Trading | Via Teleconference |
| Hess, Stephen | Edison Mission | Via Teleconference |
| Huynh, Thuy | Potomac Economics | Via Teleconference |
| Jackson, Tom | Austin Energy | Via Teleconference |
| Jones, Dan | Potomac Economics | Via Teleconference |
| Jones, Randy | Calpine | Via Teleconference |
| Lange, Clif | STEC | Via Teleconference |
| Lewis, William | Cirro Energy | Via Teleconference |
| Li, Young | Potomac Economics | Via Teleconference |
| Looney, Sherry | Luminant |  |
| McLamb, Darryl | Constellation | Via Teleconference |
| Moast, Pat | Texas Reliability Entity | Via Teleconference |
| Neimeyer, Sydney | NRG Texas | Via Teleconference |
| Nguyen, Winnie | Sungard | Via Teleconference |
| Priestley, Vanus | AES New Energy | Via Teleconference |
| Reid, Walter | Wind Coalition | Via Teleconference |
| Roach, Temujin | PUCT | Via Teleconference |
| Rodriquez, Robert | The Structure Group | Via Teleconference |
| Sandidge, Clint | Noble Solutions | Via Teleconference |
| Siddiqi, Shams | Crescent Power | Via Teleconference |
| Simpson, Lori | Constellation | Via Teleconference |
| Stansfield, Hugo | CPS Energy | Via Teleconference |
| Starr, Lee | Bryan Texas Utilities | Via Teleconference |
| Stephenson, Randa | Luminant | Via Teleconference |
| Stewart, Wendy | EDF Trading | Via Teleconference |
| Swann, Mark | KEP | Via Teleconference |
| Swendsen, B |  | Via Teleconference |
| Trayers, Barry | Citi Group | Via Teleconference |
| Trout, Seth | Customized Energy Solutions | Via Teleconference |
| Wagner, Marguerite | PSEG Texas |  |
| Watson, Mark | Platts | Via Teleconference |
| Westar, John | Austin Energy | Via Teleconference |
| Wheeler, Ron | Optim Energy |  |

ERCOT Staff:

| Name |  |  |  |  |
| --- | --- | --- | --- | --- |
|  | Adams, John |  |  |  |
|  | Dumas, John |  |  |  |
|  | Geer, Ed |  | Via Teleconference |  |
|  | Landry, Kelly |  |  |  |
|  | Maggio, Dave |  | Via Teleconference |  |
|  | Middleton, Scott |  |  |  |
|  | Prasanna, Ashwin |  | Via Teleconference |  |
|  | Ragsdale, Ken |  |  |  |
|  | Surendran, Resmi |  |  |  |
|  | Wise, Joan |  | Via Teleconference |  |

Unless otherwise indicated, all Market Segments were present for a vote.

Don Blackburn called the meeting to order at 11:05 a.m.

Antitrust Admonition

Mr. Blackburn read the Antitrust Admonition, which was displayed.  He asked those who had not yet reviewed the Antitrust Guidelines to do so.  Copies of the Antitrust Guidelines were available.

Ancillary Services Capacity and Ramp Rate Reserve

Mr. Blackburn reviewed Luminant’s recommendation regarding ramp rate constraints on the maximum amount of Ancillary Services that may be offered or carried by a Generation Resource.  Market Participants discussed Regulation Up Service (Reg-Up), Regulation Down Service (Reg-Down), Responsive Reserve Service (RRS), Non-Spinning Reserve Service (Non-Spin), Normal Ramp Rate (NRR), and Emergency Ramp Rate (ERR).  Market Participants discussed the pros and cons of the recommendation and the potential for the development of an associated compliance metric.

Kenan Ögelman moved that:

- NATF concurs with ERCOT that the ramp rate constraints on the maximum amount of Ancillary Services that may be offered or carried by a Generation Resource is represented by the following calculation:

- Reg-Up offer	<= NRR*5

- RRS Offer  	<= Min(0.2 *HSL, ERR*10 – REGUP offer )

- Non-Spin Offer	<= Min(NRR*20 + ERR*10 – REGUP – RRS, NRR*30)

- Reg-Down Offer	<= NRR*5

- Ramp Rate		>= Max[REGUP/5,   (RRS+ REGUP)/10,  (NSRS)/30,

(NSRS+RRS+REGUP- ERR*10)/20]

- NATF also recommends that a compliance metric be developed and incorporated into an Nodal Protocol Revision Request (NPRR), and that if an Ancillary Service cannot be fully provided by the QSE, then per protocols, the QSE must notify ERCOT.  In the absence of a specific requirement regarding the value of the normal ramp rate to be used, the QSE should choose a normal ramp rate based on its best judgment of the expected operating level of the resource.

Mark McMurray seconded the motion.  The motion carried unanimously.  The Independent Generator Market Segment was not present.

NPRR275, Clarify QSE’s Ability to Make Changes to Ancillary Service Resource Responsibility In Real Time

John Adams noted that ERCOT had reviewed the 11/18/2010 comments to NPRR275 received from Luminant, Tenaska, and EDF Trading.  He stated that these comments propose the allowance of changing assignments of Ancillary Services from Generation Resource to Generation Resource via telemetry during the Operating Period.  Mr. Adams stated that switching Ancillary Service assignments between Generation Resources in the proposed manner raises reliability concerns and that 11/12/2010 ERCOT comments propose an alternative solution that resolves these concerns and facilitates potential market benefits.

Market Participants discussed the pros and cons of the various proposals and provided edits to NPRR275 regarding the temporal window for Market Participant notice to ERCOT that an Ancillary Service assignment has been moved.  Market Participants discussed the need for clarity regarding the definition of deliverability of Ancillary Services, and Mr. Adams stated that ERCOT would initiate an NPRR after implementation of the Texas Nodal Market proposing a definition.

Mr. Ögelman moved that NATF recommend that the Protocol Revision Subcommittee (PRS) approve NPRR275 as amended by the 11/12/2010 ERCOT comments and as revised by NATF on 11/15/2010.  The motion carried unanimously.  The Independent Generator Market Segment was not present.

NATF/QSE Issues List

Ken Ragsdale summarized the NATF/QSE Issues list and noted that 50 items had been closed, and that of the ten items that were still open, five of them had been deferred due to the need for the submission of an NPRR.  Mr. Ragsdale noted that the list does not contain any issues that require attention before implementation of the Nodal Market.

Future of NATF

Mr. Blackburn stated that TAC has directed that NATF should continue to exist through the second quarter 2011 and that meeting dates will be scheduled and posted.  Market Participants agreed that future meetings should be conducted at the ERCOT Taylor facility to accommodate ERCOT Nodal Staff.  Mr. Blackburn directed that the 11/30/2010 NATF meeting be canceled.

Adjournment

Mr. Blackburn adjourned the meeting at 3:22 p.m.

Some attendees may not have been present for the entire meeting.