## Slide 1: Information Technology Report
March 2011
COPS/RMS
Trey Felton
Manager, IT Service Delivery
Notes: <number>

## Slide 2: Highlights
COPS/RMS
March 2011
Service Availability:
  Retail and Market Operations SLA targets were exceeded for all systems
  Nodal Market Systems missed one SLA target (EMS LFC)
Storage Area Network disk issues (1/7)
  Market Information Repository (MIR) failed over to alternate site due to storage disk device failure
  Web services unavailable (MIS, Report Explorer, API) for up to 2 hours
Unplanned site failover (1/11)
  As a precautionary response to a failed power supply alert, CMM, CRR and MIR were failed over to alternate site
  47 Current Day Reports were missed
  Users were unable to access web services (MIS, Report Explorer, API) for up to 70 minutes

## Slide 3: 2011 Net Service Availability (Retail and Market Ops)
COPS/RMS
March 2011

## Slide 4: 2011 Data Center Availability
COPS/RMS
March 2011

## Slide 5: February 2011 Net Service Availability
COPS/RMS
March 2011

## Slide 6: February 2011 Data Center Power Availability
COPS/RMS
March 2011

## Slide 7: TML Report Explorer Availability
COPS/RMS
March 2011

## Slide 8: Retail API Availability
COPS/RMS
March 2011

## Slide 9: MIS Availability
COPS/RMS
March 2011