## Slide 1: DISCUSSION POINTS FROM THE PWG MONTHLY CALL REGARDING ADJUSTMENT OF LOAD PROFILES FOR THE RECENT COLD WEATHER EVENT FEBRUARY 23, 2011

## Slide 2
Discussions following Hurricane Rita resulted in load profiles not being adjusted because, after the fact, the mix of those so-called winners and losers would change.
Plus there was no prior notice of adjustments so forecasts, hedging and supply schedules could be planned in the forward position.
Load profiles were adjusted for Hurricane Ike because of the magnitude of the problem and relatively good estimated data. Also the PUCT authorized ERCOT to make settlements more accurate. Only the coast weather zone was adjusted to keep the other zones from subsidizing excess UFE not incurred in the area.
Rolling outages were a much smaller event than Hurricane Ike. See the BOD presentation. (http://www.ercot.com/content/meetings/board/keydocs/2011/0214/Review_of_February_2,_2011_EEA_Event.pdf)

## Slide 3
Adjusting the load profiles could and does create problems for billing systems where profiles are a part of process.
Adjusting the load profiles could create confusion for customers.
Though magnitude of rolling outages was relatively low, $3000/MWh could significantly hurt some REPs.
Unknown at this time how rolling outages will affect UFE.
Resource-intensive to determine adjustments to be made.
Making adjustments to reduce load profiles might effectively allocate more UFE to IDRs if UFE is negative.

## Slide 4
Making adjustments to load profiles might do more harm than good.
No estimation process of how to calculate the outage with ERCOT or TDSP input can be shown to be accurate. So application of high level estimates for Non-IDR profiles may alter the accuracy of other intervals in the current settlement process. That is, any simple assumptions on adjustments are likely to be no more accurate than current settlement.
Profile changes require 150 day notice and the stakeholder approval process with even an urgent request would push the effective date well past the true up settlement unless these timelines were suspended. A request by ERCOT to the PUCT for such timeline waver might be needed.

## Slide 5
One market participant has noticed a dramatic increase in AMS metered load on Feb. 2, 2011 over their Non-IDR profiled customers. This supports that the event may show in hind site that profiles were short and UFE positive at final settlement similar to the event documented by SEWG for January 6-9, 2010.
Page 14 of the Board Report shows the ERCOT dispatched events of the day. How this request for load changes translates to reductions in the profiles is problematic if not impossible to estimate accurately. ERCOT Staff believe the outage calculations would best be in the hands of the TDSPs.
With new AMS meters now estimated to comprise one third of settlement load plus IDR load, perhaps as much as 50% of the market is settled on 15 minute interval data resulting in great improvement in settlement accuracy on Feb. 2.

## Slide 6
Lowering the profiles in the high dollar intervals would not change the fact that a specific non-IDR load is calculated proportionately from the profiles with the same shape.
Thus the 30 day meter read has the lost load from the outage spread over all 30 days of the meter read. The reduction in specific intervals for the morning of Feb. 2 would not mitigate the error in the load during the outages.
A top down analysis of separating known metered load for IDR and AMS from generation is proposed to help estimate non-IDR profile contribution.