## Slide 1: CMWG Update to WMS
3-9-11

## Slide 2: 3/4/11 CMWG/PLWG
ERCOT provided a review of economic planning fundamentals
  Societal Impact Test: the increase in the societal surplus (equal to the reduction in production costs) due to a project must exceed the incremental cost of the project
  Consumer Impact Test: the increase in consumer surplus (equal to the reduction in generator revenues) due to a project must exceed the incremental cost of the project
Luminant provided materials to encourage discussion on the consumer benefit vs societal benefit balance
Discussion about technicalities of modeling (less about whether existing societal/consumer impact test are appropriate, more about how to potentially refine existing processes that feed into the determination)

## Slide 3: CMWG/PLWG homework
Take the following/and any others—determine if these should be used in the analysis, if so why/why not, and potentially how to do so
  Load Variations
  Generator Short-Term Outages and Deratings
  Generator Schedules of Ancillary Services
  Outage of Key Transmission Facilities
  Fuel Price Variations
  Emissions Rule Changes
  Other Considerations
Next meeting not yet scheduled

## Slide 4: Other CMWG not discussed
PTP Options in the Day Ahead Market
  ERCOT not able to conduct the back cast—so issue is outstanding
CRR Clearing Performance
  ERCOT upgrades to HW/SW and protocols changes mitigated issue
Real Time SPP Calculation
  Outstanding