## Notes
The Business as Usual Load Forecast (version 1) is based on the following economic data and weather data:
1. | Moody's base case economic forecast from February 2011 was used to provide a county level forecast for non-farm employment.
2. | 15 years of weather data (1996 - 2010) was used in the following manner:
| A. | Group the weather data by weather zone. Perform the following calculations for each weather zone:
|  | i. | For each calendar month, calculate the average monthly temperature, the maximum monthly temperature, and the minimum monthly temperature.
This results in 15 sets of monthly temperature values (one set for each of the weather years from 1996 to 2010) for each weather zone.
|  | ii. | Rank the average temperatures for each month from lowest to highest
(with rank of 1 being assigned to the smallest value, 2 to the next smallest value, and so on with a rank of 15 being assigned to the largest value).
|  | iii. | Rank the maximum temperatures for each month from lowest to highest
(with rank of 1 being assigned to the smallest value, 2 to the next smallest value, and so on with a rank of 15 being assigned to the largest value).
|  | iv. | Rank the minimum temperatures for each month from lowest to highest
(with rank of 1 being assigned to the smallest value, 2 to the next smallest value, and so on with a rank of 15 being assigned to the largest value).
|  | v. | Note that the median temperature (50th percentile) is identified with a rank of 8.
3. | Determine the median (50th percentile) weather month:
| A. | For each weather zone.
|  | i. | For the months of January, February, March, and Dec:
|  |  | a. | Select the weather data from the historical month based on the sum of the average temperature rank plus the minimum temperature rank .
Select the historical month where this sum is closest to 16 (16 represents the median of the sum of the average temperature rank plus the minimum temperature rank).
|  | ii. | For the months of May through October:
|  |  | b. | Select the weather data from the historical month based on the sum of the average temperature rank plus the maximum temperature rank.
Select the historical month where this sum is closest to 16 (16 represents the median of the sum of the average temperature rank plus the maximum temperature rank).
|  | iii. | For the months of April and November:
|  |  | c. | Select the weather data from the historical month where the average temperature rank is 8.
4. | This load forecast is based on the historical observed levels of Distributive Generation, Energy Efficiency, Demand Response, and Plug-in Electric vehicles.
It does not reflect significant changes in the levels and/or saturation of these load impacts to ERCOT's system peak demand for the forecast timeframe.
Other scenarios will include varying levels of Distributive Generation, Energy Efficiency, Demand Response, and Plug-in Electric vehicles.
This forecast is for the Business as Usual Scenario. This forecast is not the official 2011 ERCOT long-term forecast. The official 2011 ERCOT long-term load forecast will be published later this year.

## ERCOT Region Data
ERCOT Region | [5 empty] | Actuals
Year | Mean (GW) | StdDev (GW) | Min (GW) | Max (GW) | GWh | Max (GW) | GWh
2002 | [5 empty] | 56.086 | 280750.077
2003 | [5 empty] | 60.036 | 284960.39
2004 | [5 empty] | 58.507 | 289117.029
2005 | [5 empty] | 60.215 | 299229.332
2006 | [5 empty] | 62.339 | 305716.035
2007 | [5 empty] | 62.187 | 307783.177
2008 | [5 empty] | 62.179 | 312460.058
2009 | [5 empty] | 63.4 | 308278.171
2010 | [5 empty] | 65.782 | 319258.947
2011 | 38.0262 | 8.4067 | 23.221 | 62.958 | 328893.0901
2012 | 38.4751 | 8.2656 | 23.145 | 65.009 | 337964.955
2013 | 39.7317 | 8.5165 | 24.055 | 67.053 | 348049.734
2014 | 41.2855 | 8.8042 | 24.983 | 68.837 | 361660.8
2015 | 42.4002 | 9.0318 | 26.175 | 70.694 | 371425.876
2016 | 43.1701 | 9.334 | 26.987 | 72.848 | 379206.288
2017 | 44.0649 | 9.5393 | 26.713 | 74.149 | 386008.26
2018 | 44.7931 | 9.5566 | 27.004 | 75.422 | 392387.91
2019 | 45.4758 | 9.7351 | 27.688 | 76.609 | 398367.934
2020 | 46.3052 | 9.8071 | 28.595 | 77.123 | 406745.166
2021 | 46.8783 | 10.0667 | 28.722 | 78.33 | 410654.145
2022 | 47.5443 | 10.2782 | 29.733 | 80.123 | 416488.346
2023 | 48.262 | 10.4493 | 29.247 | 81.208 | 422775.282
2024 | 48.8971 | 10.4337 | 29.75 | 82.269 | 429512.309
2025 | 49.6268 | 10.5494 | 30.12 | 82.58 | 434731.09
2026 | 50.2497 | 10.7018 | 31.033 | 83.777 | 440187.489
2027 | 50.8141 | 10.9198 | 31.133 | 84.933 | 445131.424
2028 | 51.607 | 11.2044 | 31.245 | 86.867 | 453316.068
2029 | 52.3174 | 11.1792 | 31.513 | 88.122 | 458300.688
2030 | 53.0647 | 11.3811 | 32.285 | 89.432 | 464846.391
2031 | 54.08 | 11.5177 | 32.776 | 90.053 | 473740.893
Notes:
1. | All GW values are calculated on an hourly basis.
2. | Year - calendar year.
3. | Mean (GW) - the average demand in GW for the ERCOT region.
4. | StdDev (GW) - the standard deviation of demand in GW for for the ERCOT region.
5. | Min (GW) - the minimum demand in GW for the ERCOT region.
6. | Max (GW) - the maximum demand in GW for the ERCOT region.
7. | GWh - the total energy in GWh for the ERCOT region.
8. | 2011 includes actual energy from January and February (initial settlement) with the rest of the year being forecasted.
9. | This forecast is for the Business as Usual Scenario. This forecast is not the official 2011 ERCOT long-term forecast. The official 2011 ERCOT long-term load forecast will be published later this year.

## Weather Zone Data
NORTH Weather Zone | [6 empty] | NCENT Weather Zone | [5 empty] | EAST Weather Zone | [5 empty] | FAR WEST Weather Zone | [5 empty] | WEST Weather Zone | [5 empty] | SCENT Weather Zone | [5 empty] | COAST Weather Zone | [5 empty] | SOUTH Weather Zone
Year | Mean (GW) | StdDev (GW) | Min (GW) | Max (GW) | ERCOT CP (GW) | GWh | Mean (GW) | StdDev (GW) | Min (GW) | Max (GW) | ERCOT CP (GW) | GWh | Mean (GW) | StdDev (GW) | Min (GW) | Max (GW) | ERCOT CP (GW) | GWh | Mean (GW) | StdDev (GW) | Min (GW) | Max (GW) | ERCOT CP (GW) | GWh | Mean (GW) | StdDev (GW) | Min (GW) | Max (GW) | ERCOT CP (GW) | GWh | Mean (GW) | StdDev (GW) | Min (GW) | Max (GW) | ERCOT CP (GW) | GWh | Mean (GW) | StdDev (GW) | Min (GW) | Max (GW) | ERCOT CP (GW) | GWh | Mean (GW) | StdDev (GW) | Min (GW) | Max (GW) | ERCOT CP (GW) | GWh
2011 | 947.1682 | 257.0171 | 411 | 1795 |  | 6956003 | 12820.3196 | 3367.6453 | 6925 | 23575 |  | 94152427 | 1477.1545 | 355.3358 | 594 | 2716 |  | 10848223 | 1371.9474 | 185.901 | 967 | 2015 |  | 10075582 | 1080.6705 | 223.9963 | 659 | 1844 |  | 7936444 | 6221.1645 | 1577.9385 | 3215 | 10815 |  | 45688232 | 10995.4244 | 2310.0521 | 6676 | 18252 |  | 80750397 | 3112.2752 | 707.769 | 1715 | 5066 |  | 22856549
2012 | 964.9961 | 245.1054 | 469 | 1833 | 1583 | 8476526 | 12984.8092 | 3375.4028 | 6913 | 24046 | 23998 | 114058564 | 1491.056 | 351.5031 | 642 | 2755 | 2576 | 13097436 | 1394.2008 | 182.1836 | 999 | 2056 | 1899 | 12246660 | 1088.1571 | 220.0512 | 613 | 1876 | 1831 | 9558372 | 6295.3284 | 1571.4971 | 3439 | 11468 | 10063 | 55298165 | 11078.4261 | 2344.8215 | 6781 | 18160 | 18160 | 97312895 | 3178.0576 | 713.057 | 1748 | 5246 | 4899 | 27916058
2013 | 984.2612 | 251.9422 | 429 | 1816 | 1624 | 8622128 | 13432.2572 | 3453.9709 | 6937 | 25060 | 24711 | 117666573 | 1535.1215 | 363.8512 | 670 | 2842 | 2663 | 13447664 | 1428.4282 | 188.1548 | 1016 | 2124 | 1946 | 12513031 | 1118.6963 | 231.6137 | 672 | 1951 | 1878 | 9799780 | 6538.0697 | 1636.4098 | 3541 | 11864 | 10428 | 57273491 | 11444.63 | 2412.3029 | 7035 | 18734 | 18734 | 100254959 | 3250.2247 | 746.733 | 1781 | 5429 | 5069 | 28471968
2014 | 1015.0486 | 261.6629 | 451 | 1871 | 1687 | 8891826 | 13961.6276 | 3602.0824 | 7557 | 25993 | 25344 | 122303858 | 1599.6863 | 374.8014 | 669 | 2967 | 2714 | 14013252 | 1469.605 | 197.5277 | 1042 | 2188 | 1998 | 12873740 | 1143.2211 | 236.3749 | 708 | 2000 | 1921 | 10014617 | 6823.6479 | 1695.7898 | 3591 | 12365 | 11296 | 59775156 | 11869.8763 | 2456.6732 | 7212 | 20214 | 18492 | 103980116 | 3402.7528 | 777.6122 | 1595 | 5644 | 5385 | 29808115
2015 | 1031.6277 | 268.3728 | 465 | 1955 | 1712 | 9037059 | 14282.262 | 3703.9307 | 7264 | 26689 | 26058 | 125112615 | 1639.3239 | 383.9279 | 685 | 3043 | 2777 | 14360477 | 1501.3329 | 203.2104 | 1086 | 2241 | 2042 | 13151676 | 1170.6364 | 240.9608 | 731 | 2040 | 1954 | 10254775 | 7065.625 | 1773.6812 | 3597 | 12772 | 11655 | 61894875 | 12206.5307 | 2493.5727 | 7546 | 20694 | 18952 | 106929209 | 3502.7587 | 790.799 | 1654 | 5819 | 5544 | 30684166
2016 | 1046.0459 | 272.1058 | 456 | 1984 | 1713 | 9188467 | 14585.2332 | 3755.262 | 7598 | 27273 | 26880 | 128116688 | 1684.9017 | 396.4875 | 683 | 3112 | 2884 | 14800177 | 1530.6594 | 201.1277 | 1091 | 2294 | 2078 | 13445312 | 1190.9259 | 244.2835 | 730 | 2052 | 1991 | 10461093 | 7197.5257 | 1807.532 | 3678 | 12783 | 11472 | 63223066 | 12383.2014 | 2623.9036 | 7709 | 21106 | 20266 | 108774041 | 3551.5594 | 828.833 | 1597 | 5947 | 5564 | 31196898
2017 | 1063.0195 | 271.4917 | 497 | 2012 | 1738 | 9312051 | 14861.1943 | 3878.1428 | 7860 | 27550 | 27365 | 130184062 | 1713.6162 | 407.3585 | 710 | 3175 | 2936 | 15011278 | 1547.6508 | 206.0984 | 1101 | 2292 | 2106 | 13557421 | 1206.4783 | 243.7701 | 731 | 2075 | 2026 | 10568750 | 7363.1298 | 1841.2659 | 3757 | 13092 | 11719 | 64501017 | 12628.8178 | 2684.6854 | 7648 | 21436 | 20583 | 110628444 | 3680.887 | 833.0215 | 2004 | 6087 | 5676 | 32244570
2018 | 1070.4388 | 271.5879 | 523 | 2031 | 1754 | 9377044 | 15120.5591 | 3905.8477 | 8004 | 27943 | 27857 | 132456098 | 1728.6389 | 406.3605 | 640 | 3197 | 2983 | 15142877 | 1567.7856 | 204.093 | 1135 | 2344 | 2135 | 13733802 | 1219.0189 | 246.9611 | 686 | 2099 | 2049 | 10678606 | 7504.2603 | 1864.0478 | 3895 | 13647 | 11950 | 65737320 | 12830.0509 | 2674.958 | 7960 | 20912 | 20907 | 112391246 | 3752.3508 | 849.1678 | 2061 | 6200 | 5787 | 32870593
2019 | 1079.4575 | 275.9776 | 473 | 1991 | 1779 | 9456048 | 15411.5368 | 3957.7621 | 8001 | 28707 | 28307 | 135005062 | 1757.8644 | 416.0473 | 771 | 3253 | 3041 | 15398892 | 1590.398 | 209.0113 | 1137 | 2375 | 2163 | 13931886 | 1242.2773 | 256.303 | 751 | 2162 | 2081 | 10882349 | 7637.6241 | 1906.6923 | 4164 | 13885 | 12156 | 66905587 | 12971.8796 | 2726.91 | 8033 | 21191 | 21191 | 113633665 | 3784.7355 | 867.2713 | 2087 | 6320 | 5891 | 33154283
2020 | 1094.1085 | 284.0917 | 495 | 2078 | 1819 | 9610649 | 15671.7664 | 4028.7081 | 7970 | 29185 | 28494 | 137660796 | 1797.4048 | 422.2653 | 751 | 3345 | 3052 | 15788404 | 1612.6544 | 216.7378 | 1167 | 2420 | 2193 | 14165556 | 1260.5494 | 258.2496 | 786 | 2194 | 2109 | 11072666 | 7819.8149 | 1937.9225 | 4124 | 14115 | 12853 | 68689254 | 13180.712 | 2700.7081 | 8143 | 22358 | 20476 | 115779374 | 3868.0948 | 872.1169 | 1835 | 6423 | 6127 | 33977345
2021 | 1106.2054 | 288.3176 | 521 | 2106 | 1827 | 9690359 | 15900.7314 | 4096.2955 | 8208 | 29684 | 29254 | 139290407 | 1838.0407 | 426.2214 | 760 | 3401 | 3151 | 16101237 | 1626.5118 | 219.2363 | 1170 | 2440 | 2222 | 14248243 | 1285.1171 | 265.311 | 796 | 2234 | 2127 | 11257626 | 7893.3248 | 1970.5293 | 4060 | 14002 | 12508 | 69145525 | 13331.2748 | 2790.9892 | 8375 | 22661 | 21157 | 116781967 | 3897.0442 | 902.1588 | 1756 | 6452 | 6084 | 34138107
2022 | 1123.6245 | 290.3515 | 491 | 2125 | 1836 | 9842951 | 16141.3831 | 4156.1548 | 8653 | 30162 | 29727 | 141398516 | 1873.1455 | 441.9919 | 761 | 3458 | 3203 | 16408755 | 1652.9312 | 215.3564 | 1181 | 2471 | 2239 | 14479677 | 1300.0737 | 264.1466 | 798 | 2244 | 2177 | 11388646 | 8010.9605 | 2001.2655 | 4239 | 14209 | 12732 | 70176014 | 13462.4635 | 2859.3085 | 8340 | 22936 | 22023 | 117931180 | 3979.6814 | 920.8879 | 2013 | 6620 | 6186 | 34862009
2023 | 1139.0782 | 291.3624 | 533 | 2154 | 1860 | 9978325 | 16384.742 | 4273.3781 | 8660 | 30365 | 30164 | 143530340 | 1898.5301 | 451.1353 | 787 | 3514 | 3256 | 16631124 | 1666.4092 | 221.9028 | 1185 | 2467 | 2267 | 14597745 | 1319.2627 | 266.8241 | 801 | 2267 | 2213 | 11556741 | 8116.7136 | 2027.2567 | 4149 | 14436 | 12906 | 71102411 | 13670.5734 | 2904.4518 | 8267 | 23197 | 22274 | 119754223 | 4066.6261 | 919.5016 | 2210 | 6723 | 6268 | 35623645
2024 | 1139.6961 | 290.1242 | 502 | 2110 | 1876 | 10011091 | 16653.8661 | 4274.3456 | 8652 | 31032 | 30600 | 146287560 | 1912.6653 | 451.9411 | 713 | 3540 | 3302 | 16800852 | 1684.5213 | 220.396 | 1207 | 2534 | 2286 | 14796835 | 1335.7222 | 275.56 | 811 | 2332 | 2244 | 11732984 | 8251.248 | 2048.7636 | 4280 | 14957 | 13086 | 72478962 | 13799.0444 | 2890.4754 | 8744 | 22518 | 22518 | 121210806 | 4120.3372 | 934.4846 | 2256 | 6820 | 6357 | 36193042
2025 | 1155.6103 | 297.6819 | 515 | 2128 | 1918 | 10123146 | 16958.3909 | 4359.9818 | 9153 | 31490 | 30704 | 148555504 | 1948.3362 | 455.774 | 809 | 3615 | 3292 | 17067425 | 1699.9679 | 227.2307 | 1216 | 2544 | 2299 | 14891719 | 1347.0724 | 277.5472 | 830 | 2356 | 2254 | 11800354 | 8363.3193 | 2068.7907 | 4444 | 15169 | 13804 | 73262677 | 13988.0179 | 2880.4619 | 8443 | 23760 | 21736 | 122535037 | 4166.1051 | 946.5256 | 1975 | 6900 | 6573 | 36495081
2026 | 1158.2256 | 301.0644 | 524 | 2201 | 1927 | 10146056 | 17124.3833 | 4433.9944 | 8735 | 31968 | 31211 | 150009598 | 1965.008 | 460.0666 | 819 | 3646 | 3327 | 17213470 | 1710.325 | 231.5992 | 1243 | 2565 | 2326 | 14982447 | 1364.2874 | 280.7702 | 854 | 2380 | 2280 | 11951158 | 8516.4193 | 2132.6078 | 4356 | 15399 | 14025 | 74603833 | 14200.2492 | 2895.0754 | 8757 | 24050 | 22025 | 124394183 | 4210.6761 | 948.0445 | 2002 | 6987 | 6656 | 36885523
2027 | 1160.9345 | 302.8258 | 547 | 2210 | 1917 | 10169786 | 17373.9881 | 4473.7326 | 8978 | 32425 | 31956 | 152196136 | 1993.7814 | 462.2606 | 823 | 3690 | 3419 | 17465525 | 1716.0765 | 230.4075 | 1240 | 2576 | 2335 | 15032830 | 1381.9095 | 285.3314 | 854 | 2396 | 2289 | 12105527 | 8619.3526 | 2152.0608 | 4432 | 15285 | 13661 | 75505529 | 14342.5813 | 3002.15 | 9013 | 24380 | 22762 | 125641012 | 4225.3821 | 977.4134 | 1907 | 6993 | 6594 | 37014347
2028 | 1172.8858 | 301.2284 | 551 | 2220 | 1917 | 10302629 | 17644.0395 | 4597.0241 | 9308 | 32641 | 32415 | 154985243 | 2019.9587 | 474.6676 | 835 | 3728 | 3453 | 17743317 | 1729.254 | 230.4594 | 1230 | 2610 | 2352 | 15189767 | 1383.6363 | 280.4444 | 844 | 2387 | 2330 | 12153861 | 8794.9992 | 2184.7521 | 4478 | 15595 | 13950 | 77255273 | 14561.665 | 3106.5823 | 8822 | 24738 | 23753 | 127909665 | 4300.4933 | 1005.5175 | 2181 | 7184 | 6697 | 37775533
2029 | 1176.475 | 298.4212 | 577 | 2229 | 1925 | 10305921 | 17857.3937 | 4610.4442 | 9443 | 32996 | 32886 | 156430769 | 2020.7051 | 475.2167 | 751 | 3733 | 3488 | 17701377 | 1742.8932 | 227.2588 | 1262 | 2616 | 2371 | 15267744 | 1396.6775 | 282.3193 | 788 | 2403 | 2346 | 12234895 | 8920.0106 | 2214.8948 | 4633 | 16215 | 14202 | 78139293 | 14791.7313 | 3082.0551 | 9176 | 24106 | 24103 | 129575566 | 4411.5009 | 998.3707 | 2421 | 7289 | 6801 | 38644748
2030 | 1176.7827 | 300.8761 | 517 | 2174 | 1934 | 10308616 | 18175.6526 | 4667.0021 | 9436 | 33856 | 33385 | 159218717 | 2039.1019 | 482.5835 | 896 | 3777 | 3523 | 17862533 | 1757.4386 | 229.9475 | 1262 | 2637 | 2381 | 15395162 | 1412.9386 | 291.6822 | 855 | 2461 | 2369 | 12377342 | 9089.4889 | 2269.8377 | 4954 | 16524 | 14470 | 79623923 | 14975.7866 | 3149.197 | 9265 | 24466 | 24466 | 131187891 | 4437.4445 | 1016.0217 | 2449 | 7409 | 6904 | 38872014
2031 | 1189.0324 | 305.2223 | 531 | 2183 | 1968 | 10415924 | 18539.0392 | 4767.938 | 10016 | 34435 | 33575 | 162401983 | 2079.3896 | 486.1672 | 865 | 3854 | 3516 | 18215453 | 1773.7411 | 237.5147 | 1266 | 2660 | 2403 | 15537972 | 1420.0546 | 292.9838 | 876 | 2485 | 2378 | 12439678 | 9286.3588 | 2298.3691 | 4924 | 16836 | 15334 | 81348503 | 15243.4491 | 3141.0824 | 9212 | 25901 | 23694 | 133532614 | 4548.9268 | 1035.1875 | 2151 | 7536 | 7185 | 39848599
Notes:
1. | ERCOT consists of 8 weather zones.
2. | All GW values are calculated on an hourly basis.
3. | Year - calendar year.
4. | Mean (GW) - the average demand in GW for the individual weather zone.
5. | StdDev (GW) - the standard deviation of demand in GW for for the individual weather zone.
6. | Min (GW) - the minimum demand in GW for the individual weather zone.
7. | Max (GW) - the maximum demand in GW for the individual weather zone.
8. | ERCOT CP (GW) - the demand in GW at the time of ERCOT's peak for the individual weather zone.
9. | GWh - the total energy in GWh for the individual weather zone.
10. | 2011 forecast is for March through December only.
11. | This forecast is for the Business as Usual Scenario. This forecast is not the official 2011 ERCOT long-term forecast. The official 2011 ERCOT long-term load forecast will be published later this year.

## Non-Farm Employment
ERCOT Region Aggregate
Year | Non-Farm Employment (Monthly Average)
1990 | 780.9375
1991 | 789.7188
1992 | 799.6667
1993 | 823.7812
1994 | 854.3958
1995 | 885.8854
1996 | 913.6667
1997 | 953.9167
1998 | 993.4688
1999 | 1019.8333
2000 | 1051.9062
2001 | 1062.1146
2002 | 1050.7604
2003 | 1044.9688
2004 | 1059.1771
2005 | 1087.6354
2006 | 1125.2917
2007 | 1162.9062
2008 | 1186.6771
2009 | 1153.3646
2010 | 1157.3646
2011 | 1193.6771
2012 | 1233.3229
2013 | 1272.5312
2014 | 1318.4792
2015 | 1355.6875
2016 | 1385.5625
2017 | 1411.2604
2018 | 1435.6771
2019 | 1458.6354
2020 | 1481.0833
2021 | 1504.2917
2022 | 1526.3542
2023 | 1546.8854
2024 | 1567.4167
2025 | 1587.9479
2026 | 1609.5938
2027 | 1632.2812
2028 | 1656.0104
2029 | 1680.0938
2030 | 1705.5625
2031 | 1733.1458