| NPRR Number | 264 | NPRR Title | Clarification of Nodal Protocol Requirements for Generators With Multiple Points of Interconnection |
| --- | --- | --- | --- |
| Date |  | March 18, 2011 |  |
| Submitter’s Information |  |  |  |
| Name |  | Henry Durrwachter |  |
| E-mail Address |  | hdurrwachter@luminant.com |  |
| Company |  | Luminant Energy Company LLC |  |
| Phone Number |  | 214-875-9285 |  |
| Cell Number |  | 214-437-4622 |  |
| Market Segment |  | Investor-Owned Utility (IOU) |  |

Comments

Luminant Energy Company LLC (Luminant) offers the following comments to clarify the inclusion of the definition of Point of Interconnection (POI) as referred to in the 1/11/11 ERCOT’s comments.

Luminant believes that the existing definition of POI as shown in the Nodal Protocols is too vague.  Specifically, POI uses the term “location” which is not defined.  Luminant proposes to add clarifying language to the definition of POI to make it clear that the POI is the voltage level and Electrical Bus where a Generation Resource is connected to the ERCOT Transmission Grid.

Because of the large number and variety of comments filed previously on this NPRR, Luminant’s comments below are appended to the original NPRR language since our proposed change involves Section 2.1, Definitions, which was not part of the original NPRR.

Revised Cover Page Language

| Nodal Protocol Section(s) Requiring Revision | 1.6.5, Interconnection of New Generation 2.1, Definitions |
| --- | --- |
| Revision Description | This Nodal Protocol Revision Request (NPRR) adds language to specify that Nodal Protocol requirements applicable to Generation Resources which are based upon the date of an executed Standard Generation Interconnection Agreement (SGIA) are applied to the date of the original SGIA for Resources with more than one Point of Interconnection (POI). |
| Reason for Revision | Some Nodal Protocol requirements applicable to Generation Resources are based upon the date of execution of the SGIA between the Resource owner and the Transmission Service Provider (TSP). For Resources with more than one point of interconnection, the question arises which SGIA date should be used to determine applicability of such requirements to the Resource. The Multiple Interconnections for Generators Task Force (MIGTF) recommended that the date of the original SGIA be binding for this purpose. The MIGTF recommendation was endorsed by the Reliability and Operations Subcommittee (ROS), Wholesale Market Subcommittee (WMS), and Technical Advisory Committee (TAC). Changes to the definition of POI are needed to clarify that the POI is the voltage level and Electrical Bus where a Generation Resource is connected to the ERCOT Transmission Grid. |

Proposed Protocol Language Revision

1.6.5	Interconnection of New Generation

Interconnection of new All-Inclusive Generation Resources to the ERCOT Transmission Grid must be in accordance with the ERCOT Standard Generation Interconnection Agreement (SGIA) and associated procedures.  For Generation Resources which connect to a new Point of Interconnection (POI) or which utilize more than one POI to the ERCOT Transmission Grid, any Protocol requirements applicable to Generation Resources which are based upon the execution date of the SGIA shall be applied to the date of the first executed SGIA.

2.1	DEFINITIONS

Point of Interconnection (POI)

The voltage level and Electrical Bus where a Generation Entity’s interconnection Facilities connect to the Transmission Facilities as reflected in the Standard Generation Interconnection Agreement (SGIA) between a Generation Entity and a Transmission Service Provider (TSP) or the voltage level and Electrical Bus where Load interconnects to the TSP Facilities.