| SCR Number |  | SCR Title | Load Zone Price Distributed by ICCP |
| --- | --- | --- | --- |
| Date Posted |  |  |  |
| Supporting Protocol or Guide Section(s) (if applicable) |  |  |  |
| Other Document Reference/Source |  |  |  |
| Requested Resolution (Normal or Urgent, and justification for Urgent status) |  | Urgent. When the market changed from a Zonal design to a Nodal design certain characteristics of the market were not maintained for responsive load. One of those characteristics was the ability to automate load responses from available pricing information. This SCR is a small step in restoring some of that capability by making Load zone prices available via an automated feed. |  |
| System Change Description |  | As soon as the five minute Load Zone price is calculated in real-time the price data will be transferred to the EMS for distribution over ICCP links. |  |
| Reason for System Change |  | To fix the system so that ERCOT can meet the compromise reached for rejecting NPRR287. This additionally addresses some price latency issues for loads that have been present since Nodal market open. |  |
| Overall Market Benefit |  | Allows loads to be more price responsive. |  |
| Overall Market Impact |  | Could lower average price loads will pay. |  |
| Consumer Impact |  | Could lower average price loads will pay. |  |

Quantitative Impacts and Benefits

Instructions:  To allow for comprehensive SCR consideration and development of the Cost Benefit Analysis (CBA), please fill out each block below completely and provide as much detailed information as possible.  Wherever possible, please include reasons, explanations, and cost/benefit analyses pertaining to the SCR.

| Assumptions | 1 | e.g.: Key assumptions used in estimating market cost and/or benefit |  |
| --- | --- | --- | --- |
|  | 2 | Dependencies on other projects or other timing requirements |  |
|  | 3 |  |  |
|  | 4 |  |  |
| Market Cost |  | Impact Area | Monetary Impact |
|  | 1 | e.g.: Cost per MP to implement | e.g.: $10,000 each for 50 QSEs |
|  | 2 | Add’l staff required per MP | 1.5 FTE each for 6 TDSPs @ $65/hour |
|  | 3 |  |  |
|  | 4 |  |  |
| Market Benefit |  | Impact Area | Monetary Impact |
|  | 1 | e.g.: Reduced MP costs | e.g.: 2 FTE reduction for 25 CRs @ $65/hour |
|  | 2 | Enhanced MP efficiency | 2 hour savings per day for 50 generators @$65 |
|  | 3 | Reduced congestion cost | 0.5% reduction in total congestion cost |
|  | 4 |  |  |
| Additional Qualitative Information | 1 | e.g.: Benefits that are difficult to quantify |  |
|  | 2 | Benefits that are not certain but relatively likely |  |
|  | 3 | Customer service impacts, cash flow impacts, transaction speed, etc. |  |
|  | 4 |  |  |
| Other Comments | 1 | e.g.: Thoughts on ERCOT systems impacts |  |
|  | 2 | Potential manual workarounds or delivery options |  |
|  | 3 | Other comments of value to PRS, TAC and the Board of Directors |  |
|  | 4 |  |  |

| Sponsor |  |
| --- | --- |
| Name |  |
| E-mail Address |  |
| Company |  |
| Phone Number |  |
| Cell Number |  |
| Market Segment |  |

| Market Rules Staff Contact |  |
| --- | --- |
| Name |  |
| E-Mail Address |  |
| Phone Number |  |

Business Case for Proposed System Change [Please provide sufficient detail]

Issue:

Prior to market open the five minute Load Zone price was intended to be published along with all the other Settlement Point Prices (SPP).  However, it was identified that the Load Zone price was not available in the EMS, therefore it would have taken further programming to make it available.  Because of time constraints this was not achieved prior to market open.  This SCR resolves the data availability issue.

The five minute Load Zone price is calculated and stored in the MMS, while the data made available over ICCP is in the EMS.  In order to provide the Load Zone price via ICCP the data needs to be populated in the EMS.

Resolution:

Transfer Load Zone prices from the MMS to the EMS and make them available via ICCP.

Options:

- OPC connection to OAG box.

- Middleware fast transfers.

- AS-X4 ICCP on box where Load Zone is calculated.

- XML sent to eterra box by MIS.

: