Section 9:

NOGRR057 – Daily Report Containing Loss of Generation Greater than 450 MW

This Nodal Operating Guide Revision Request (NOGRR) adds a requirement for ERCOT to post loss of generation greater than 450 MW.

Revised Subsection: 9.4.3