| PGRR Number |  | PGRR Title | New Planning Guide Section 6.8, Generation Resource Data Procedures |
| --- | --- | --- | --- |
| Date Posted |  |  |  |

| Planning Guide Section(s) Requiring Revision (Include Section No. and Title) | 6.8, Generation Resource Data Procedures (New) |
| --- | --- |
| Protocol Section(s) Requiring Revision, if any | None. |
| Requested Resolution (Normal or Urgent, and justification for Urgent status) | Normal |
| Revision Description | This Planning Guide Revision Request (PGRR) adds new Section 6.8, Generation Resource Data Procedures, to the Planning Guide. Specifically, this PGRR establishes the basic processes to be used by Resource Entities to supply Resource information to ERCOT through the Resource Asset Registration Form (RARF) process and through the Managed Capacity Declaration Form (MCDF) process. |
| Reason for Revision | There is currently no specific language in either the Nodal Protocols or Nodal Operating Guides related to the submission of RARFs or MCDFs. Since this type of information is primarily used for planning, they are deemed appropriate to be part of the Planning Guide. |
| Overall Market Benefit | Clarifies process used to input and update Generation Resource data through the RARF and MDCF submission processes. |
| Overall Market Impact | None since RARF and MDCF data are already being submitted to ERCOT by Resource Entities. |
| Consumer Impact | None. |

Quantitative Impacts and Benefits

.

| Assumptions | 1 |  |  |
| --- | --- | --- | --- |
|  | 2 |  |  |
|  | 3 |  |  |
|  | 4 |  |  |
| Market Cost |  | Impact Area | Monetary Impact |
|  | 1 | None, utilizes existing processes | None |
|  | 2 |  |  |
|  | 3 |  |  |
|  | 4 |  |  |
| Market Benefit |  | Impact Area | Monetary Impact |
|  | 1 | Resource planning data submittal process is located within the Planning Guide |  |
|  | 2 |  |  |
|  | 3 |  |  |
|  | 4 |  |  |
| Additional Qualitative Information | 1 |  |  |
|  | 2 |  |  |
|  | 3 |  |  |
|  | 4 |  |  |
| Other Comments | 1 |  |  |
|  | 2 |  |  |
|  | 3 |  |  |
|  | 4 |  |  |

| Sponsor |  |
| --- | --- |
| Name |  |
| E-mail Address |  |
| Company |  |
| Phone Number |  |
| Cell Number |  |
| Market Segment |  |

| Market Rules Staff Contact |  |
| --- | --- |
| Name |  |
| E-Mail Address |  |
| Phone Number |  |

Proposed Guide Language Revision

6.8	Generation Resource Data Procedures

Section 3.7, Resource Parameters, of the Protocols requires a Resource Entity to register Resource Parameters for its Resources with ERCOT.  This section provides the necessary procedures to allow a Resource Entity to complete that registration process.

6.8.1	Resource Asset Registration Form

(1)	A Resource Entity shall submit a properly completed Resource Asset Registration Form (RARF) for each Generation Resource site that contains all pertinent data for all Generation Resources at that site.  A separate RARF should also be submitted for each Resource Entity for any Load Resources represented by the Resource Entity.

(2)	ERCOT shall make available a copy of the RARF on the ERCOT website and shall notify Market Participants whenever changes are made in the RARF Registration Form via a Market Notice.

(3)	A Resource Entity may revise the RARF as necessary to reflect changes in any operational data related to a Generation or Load Resource.

(4)	ERCOT shall prepare and post a detailed Resource Asset Registration Guide on the ERCOT website that provides detailed instructions and explanations for the various data fields contained in the RARF.

(5)	ERCOT shall notify Market Participants of any change in the Resource Asset Registration Guide via a Market Notice.

6.8.2	RARF Submission Process

(1)	A Resource Entity shall submit a RARF through the Texas Market Link (TML).  Submission through the TML requires a valid Authorized Representative’s digital certificate.

(2)	If submission of a RARF is not possible using the TML due to technical problems, then a Resource Entity may submit the RARF via e-mail using the process described in the Resource Asset Registration Guide posted on the ERCOT website.

(3)	Upon receipt of a RARF, ERCOT shall review the completeness of the RARF and issue an audit report to the Resource Entity.  The audit report shall show any conflicts or error messages.

(4)	If the audit report shows no error messages for the RARF, then ERCOT shall show the RARF as approved.

(5)	If the audit report shows error messages for the RARF, the Resource Entity shall make any necessary changes indicated by the audit report and re-submit the RARF as many times as necessary until there are no errors reported in the audit report.

(6)	ERCOT shall notify the Resource Entity’s Authorized Representative when a RARF is approved.

(7)	Upon approval of a RARF, ERCOT shall then use the approved RARF to populate the various operational models that utilize RARF data in accordance with Protocol Section 3.10.4, Network Operations Model Change Schedule.

(8)	If a Resource Entity desires that changes in an approved RARF become effective earlier than the schedule established in Protocol Section 3.10.4, it may submit a request for interim Network Model update form with appropriate justification for the requested effective date.  ERCOT shall provide a Request for Interim Network Model Update form on the ERCOT website.

6.8.3	Managed Capacity Declaration Form

(1)	Pursuant to PUCT Substantive Rule 25.502(e) and paragraph (2)(c)(i) of Protocol Section 3.19.1, Annual Competitive Test, each Resource Entity shall inform ERCOT of the decision-making authority over each Resource it owns utilizing the Managed Capacity Declaration Form (MCDF) provided by ERCOT and available on the ERCOT website.

(2)	Each Resource Entity that either owns the Resource or by agent agreement, shall notify ERCOT of any known changes in decision-making authority no later than 14  days prior to the date that the change takes effect, or as soon as possible in a situation where the Resource Entity cannot meet the 14 day notice requirement.

(3)	The MCDF shall be submitted by the Resource Entity through the TML using a valid Authorized Representative’s digital certificate.

(4)	If submission of a MCDF is not possible using the TML due to technical problems, then a Resource Entity may submit the MCDF via e-mail using the process described on the ERCOT website.