| NPRR Number | 335 | NPRR Title | TSP Request for Interval Data |
| --- | --- | --- | --- |
| Date |  | March 23, 2011 |  |
| Submitter’s Information |  |  |  |
| Name |  | Jennifer Bevill |  |
| E-mail Address |  | jlbevill@aep.com |  |
| Company |  | American Electric Power Service Corporation |  |
| Phone Number |  |  |  |
| Cell Number |  | 512-934-4255 |  |
| Market Segment |  | Investor Owned Utility |  |

Comments

AEP appreciates the opportunity to offer the following response to ERCOT’s March 17, 2011 comments on this NPRR.  AEP is comfortable with the language revisions proposed by ERCOT provided that there is a limit set for the amount of time that ERCOT has to provide notice of either approval or denial of the request for interval data.  Further, if ERCOT determines that the request is invalid, then ERCOT shall provide the reason for denying the request.  AEP has provided suggested language revisions below.

Revised Proposed Protocol Language

- 3.11.4	Transmission Planning Responsibilities

(1)	ERCOT, shall monitor the differences in Locational Marginal Prices (LMP) from the Security-Constrained Economic Dispatch (SCED) process to identify geographic areas potentially experiencing chronic congestion.  On determination of chronic congestion, ERCOT shall:

(a)	Validate with the TSP that the data from the Network Operating Model and the updated Network Model are correct.   If the models are valid, ERCOT shall use the planning criteria in the transmission planning process, through the appropriate Regional Planning Group, to develop recommendations for resolution, if applicable.

(b)	Post all the results from this process on the Market Information System (MIS) Secure Area and provide them to the PUCT Staff, the Independent Market Monitor (IMM), the appropriate TAC subcommittee(s), and the ERCOT Board.

(2)	ERCOT and TSP responsibilities for planning of the ERCOT Transmission Grid are those described in Section 5, Planning, of the Operating Guides.

(3)	ERCOT shall provide specific interval data for Load and generation to TSPs and/or DSPs, upon request, in accordance with confidentiality as defined in Section 1.3, Confidentiality.

(a)	The TSP’s and/or DSP’s request for interval data shall identify the reason for requesting the information in regards to impact to the planning process (e.g. build power flow cases, conduct a specific study, etc.);

(b)	ERCOT shall evaluate the TSP and/or DSP request and validate reasons provided; and

(c)	Upon ERCOT validation of the TSP and/or DSP request, the data provided shall include meter data measured at points of injection and points of delivery which will measurably impact TSP’s and/or DSP’s planning and operations as determined by ERCOT (e.g., determination of TSP’s and/or DSP’s system Load or power flows).

(d) 	If ERCOT determines that the request is invalid and denies it, ERCOT shall provide the reasoning for denying the request.

11.1.11	Treatment of ERCOT Polled Settlement Resource ID Data

(1)	For EPS Resource ID (RID) data, ERCOT will:

(a)	Be identified as the MRE;

(b)	Model and populate data to appropriate channels such that netting and aggregation conform to the ERCOT Protocol requirements; and

(c)	Make RID interval and Supervisory Control and Data Acquisition (SCADA) interval data available to the associated Qualified Scheduling Entity (QSE), TSP and/or DSP, Resource Entity, and LSE via an extract.

(2)	The ERCOT RID data extract will:

(a)	Select all ERCOT read RIDs for the Market Participant;

(b)	Provide interval data as populated by ERCOT for each channel associated to a RID;

(c)	Provide the interval data to the TSPs and/or DSPs no later than noon on the tenth Business Day after ERCOT reads the EPS meter;

(d)	Provide interval data for Load and generation to TSPs and/or DSPs in accordance with paragraph (3) of Section 3.11.4, Transmission Planning Responsibilities; and.

(e)	Whenever ERCOT makes an edit to data previously provided to the TSP and/or DSP, ERCOT shall provide the revised data to the TSP and/or DSP by noon of the tenth Business Day after the edit is made.