| NOGRR Number | 057 | NOGRR Title | Daily Report Containing Loss of Generation Greater than 450 MW |  |
| --- | --- | --- | --- | --- |
| Timeline | Urgent | Action |  | Approved |
| Date of Decision |  | March 22, 2011 |  |  |
| Effective Date |  | April 1, 2011 |  |  |
| Priority and Rank Assigned |  | Not applicable. |  |  |
| Guide Section Requiring Revision |  | 9.4.3, Resource-Specific Responsive Reserve Performance |  |  |
| Revision Description |  | This Nodal Operating Guide Revision Request (NOGRR) adds a requirement for ERCOT to post loss of generation greater than 450 MW. |  |  |
| Reason for Revision |  | The monthly work of the Performance, Disturbance, Compliance Working Group (PDCWG) and the Market Participants to effectively review and analyze all generation trips is delayed due to the current requirement for ERCOT to provide a monthly listing of the requested generation trip events by the chair of the PDCWG. The Market Participants, since Nodal Go-Live, do not have a reporting log from ERCOT to know, on a daily basis, what units may have tripped the day before. This reinstated log will provide knowledge that will assist Market Participants to do timely evaluations of their unit performances, rather than a hurried evaluation after the PDCWG unit trip listings once a month. |  |  |
| Overall Market Benefit |  | Improved analysis of unit trip events by Market Participants and PDCWG. Potentially, improved frequency control. |  |  |
| Overall Market Impact |  | Corrections can be made sooner if the evaluations are performed timely with the daily posting of the events. |  |  |
| Consumer Impact |  | Unknown. |  |  |
| Procedural History |  | - On 1/6/11, NOGRR057 was posted. - On 1/12/11, Luminant comments were posted. - On 1/14/11, ROS considered NOGRR057. - On 1/28/11, an Impact Analysis was posted. - On 2/3/11, TAC considered NOGRR057. - On 3/22/11, the ERCOT Board considered NOGRR057. |  |  |
| ROS Decision |  | On 1/13/11, ROS unanimously voted to grant NOGRR057 Urgent status. ROS then unanimously voted to recommend approval of NOGRR057 as revised by ROS. All Market Segments were present for both votes. |  |  |
| Summary of ROS Discussion |  | On 1/13/11, there was discussion regarding the need for ERCOT to provide a list of unit trips greater than 450MW on a daily basis including loss of generation and Load. ERCOT Staff stated that in order to minimize impacts, the information could be posted to the ERCOT website instead of the Market Information System (MIS). |  |  |
| TAC Decision |  | On 2/3/11, TAC voted to recommend approval of NOGRR057 as revised by TAC. There was one opposing vote from the Consumer Segment. TAC then voted to reconsider NOGRR057. There was one opposing vote from the Consumer Segment. Subsequently, TAC unanimously voted to recommend approval of NOGRR057 as revised by TAC. All Market Segments were present for the votes. |  |  |
| Summary of TAC Discussion |  | On 2/3/11, ERCOT Staff noted the need to correct a Protocol Section reference and clarified that the report will be posted daily containing the prior day’s required information. A participant inquired about the timeline that the report would be made available and suggested that in support of a transparent market, the information should be required to be posted prior to the closing of the Day Ahead Market. TAC revised the language to include a posting timeline. |  |  |
| ERCOT Board Decision |  | On 3/22/11, the ERCOT Board approved NOGRR057 as recommended by TAC in the 2/3/11 TAC Report. |  |  |

| Quantitative Impacts and Benefits |  |  |  |
| --- | --- | --- | --- |
| Assumptions | 1 |  |  |
|  | 2 |  |  |
|  | 3 |  |  |
|  | 4 |  |  |
| Market Cost |  | Impact Area | Monetary Impact |
|  | 1 | None to Market Participants. | None. |
|  | 2 |  |  |
|  | 3 |  |  |
|  | 4 |  |  |
| Market Benefit |  | Impact Area | Monetary Impact |
|  | 1 | Potentially, improved Governor response. | Unknown. |
|  | 2 |  |  |
|  | 3 |  |  |
|  | 4 |  |  |
| Additional Qualitative Information | 1 |  |  |
|  | 2 |  |  |
|  | 3 |  |  |
|  | 4 |  |  |
| Other Comments | 1 |  |  |
|  | 2 |  |  |
|  | 3 |  |  |
|  | 4 |  |  |

| Sponsor |  |
| --- | --- |
| Name | Jack Thormahlen |
| E-mail Address | jack.thormahlen@lcra.org |
| Company | LCRA |
| Phone Number | 512-473-3200 ext 2635 |
| Cell Number |  |
| Market Segment | Cooperative |

| Market Rules Staff Contact |  |
| --- | --- |
| Name | Yvette M. Landin |
| E-Mail Address | ylandin@ercot.com |
| Phone Number | (512) 248-4513 |

| Comments Received |  |
| --- | --- |
| Comment Author | Comment Summary |
| Luminant 011211 | Proposed clarifying language changes. |

Proposed Guide Language Revision

9.4.3	Resource-Specific Responsive Reserve Performance

(1)	ERCOT shall develop monthly reports detailing Resource-specific Responsive Reserve (RRS) performance during deployments, including Load Resources, based on criteria described in Protocol Section 8.1.1.4.2, Responsive Reserve Service Energy Deployment Criteria.

(2)	ERCOT shall publish a daily report by 0930 or as soon as practicable on the MIS Public Area for the sudden loss of generation greater than 450 MW and shall include:

(a)	ERCOT Load at the time of each event;

(b)	Time of each event;

(c)	Amount of generation and Load lost contributing to the event;

(d)	Approximate lowest frequency; and

(e)	If there was no loss of generation, the report shall state “No Loss of generation 450 MW or greater”.