| NPRR Number | 208 | NPRR Title | Registration and Settlement of Distributed Generation (DG) Less Than One MW |  |
| --- | --- | --- | --- | --- |
| Timeline | N/A | Action |  | Approved Impact Assessment |
| Date of Decision |  | March 22, 2011 |  |  |
| Effective Date |  | Upon System Implementation |  |  |
| Priority and Rank Assigned |  | Priority Critical |  |  |
| Nodal Protocol Sections Grey-Boxed |  | 11.4.4.2, Load Reduction for Excess PhotoVoltaic Distributed Renewable Generation 11.4.4.3, Load Reduction for Excess Non-PhotoVoltaic Distributed Generation |  |  |
| Revision Description |  | The Nodal Protocol Revision Request (NPRR) includes proposed language changes by the Non-Opt-In Entity (NOIE) Distributed Renewable Generation (DRG) Settlements Task Force in regards to the registration requirements for Distributed Generation (DG) greater than 50 kW and less than or equal to one MW. In addition this NPRR synchronizes language approved through PRR756, Distributed Renewable Generation Modifications, with some recommended revisions consistent with the NOIE DRG Settlements Task Force discussions. PRR756 was approved by ERCOT Board on 5/20/08 and was implemented on 11/21/09. |  |  |
| Reason for Revision |  | The reason for this NPRR is to incorporate changes approved in PRR756, clarify registration requirements for DG to allow all DG to be settled as negative Load, and raise the threshold for DG that can be settled as negative Load. PRR756 language established the threshold for DRG negative Load Settlement at less than 50 kW. This NPRR establishes a DG registration threshold. |  |  |
| Procedural History |  | - On 7/20/10, the ERCOT Board considered NPRR208. - On 2/1/11, a revised Impact Analysis and Cost Benefit Analysis were posted. - On 2/9/11, a revised Impact Analysis and revised Cost Benefit Analysis were posted. - On 2/17/11, PRS considered the impact assessment for NPRR208. - On 3/3/11, TAC considered the impact assessment for NPRR208. - On 3/22/11, the ERCOT Board considered the impact assessment for NPRR208. |  |  |
| PRS Decision |  | On 2/17/11, PRS unanimously voted to endorse and forward the impact assessment for NPRR208 to TAC. All Market Segments were present for the vote. |  |  |
| Summary of PRS Discussion |  | On 2/17/11, ERCOT Staff sought PRS endorsement of impact assessments for “Phase 1” parking deck NPRRs. It was emphasized that language had already been approved by the ERCOT Board for NPRR208. |  |  |
| TAC Decision |  | On 3/3/11, TAC unanimously voted to recommend approval of the impact assessment for NPRR208 as recommended by PRS in the 2/17/11 PRS Report – Impact Assessment. All Market Segments were present for the vote. |  |  |
| Summary of TAC Discussion |  | On 3/3/11, ERCOT Staff sought endorsement of impact assessments for “Phase 1” parking deck NPRRs and noted their respective projected implementation dates. |  |  |
| Board Decision |  | On 7/20/10, the ERCOT Board approved NPRR208 as recommended by TAC in the 7/1/10 TAC Report and to assign a priority of Critical to the grey-boxed language. On 3/22/11, the ERCOT Board voted to approve the impact assessment for NPRR208 as recommended by TAC in the 3/3/11 TAC Report – Impact Assessment. |  |  |

| Sponsor |  |
| --- | --- |
| Name | Don Tucker on behalf of the NOIE DRG Settlements Task Force |
| E-mail Address | dtucker@ercot.com |
| Company | ERCOT |
| Phone Number | 512-248-3913 |
| Cell Number | 512-560-2378 |
| Market Segment | N/A |

| Market Rules Staff Contact |  |
| --- | --- |
| Name | Ann Boren |
| E-Mail Address | aboren@ercot.com |
| Phone Number | 512-275-7411 |