| NPRR Number | 285 | NPRR Title | Generation Resource Base Point Deviation Charge Corrections |  |
| --- | --- | --- | --- | --- |
| Timeline | Normal | Action |  | Approved Impact Assessment |
| Date of Decision |  | March 22, 2011 |  |  |
| Effective Date |  | Upon System Implementation |  |  |
| Priority and Rank Assigned |  | Priority Critical |  |  |
| Nodal Protocol Sections Revised |  | 6.5.5.2, Operational Data Requirements 6.5.7.4, Base Points 6.5.7.9, Compliance with Dispatch Instructions 6.6.5.1, General Generation Resource Base-Point Deviation Charge 6.6.5.1.1, Base Point Deviation Charge for Over Generation 6.6.5.1.2, Base Point Deviation Charge for Under Generation 6.6.5.2, IRR Generation Resource Base Point Deviation Charge |  |  |
| Reason Description |  | This Nodal Protocol Revision Request (NPRR) provides that an exception to the Generation Resource Base Point Deviation Charge for any 15-minute Settlement Interval which includes a Security-Constrained Economic Dispatch (SCED) interval that is less than four minutes in duration. Additional changes are made to Base Point Deviation Charges for over- and under-generation. This NPRR also removes the Base Point Deviation Charge for all Intermittent Renewable Resources (IRRs) until corrections to the Nodal systems can be implemented so that the charge applies to IRRs only when there is clear indication that the Base Point received needs to be followed. This NPRR also requires that ERCOT send a flag to the Qualified Scheduling Entity (QSE) for each Resource indicating SCED has Dispatched a Generation Resource below the High Dispatch Limit (HDL) used by SCED. This flag will be used by the Settlement system to determine when the IRR Generation Resource Base Point Deviation Charge will apply. In addition, the calculations are changed to apply the charge whether the Settlement Point Price is negative or positive. |  |  |
| Reason for Revision |  | The implementation of the Time Weighted Telemetered Generation (TWTG) in the current Nodal software does not account for SCED cycles that are less than five minutes. In addition, it does not provide a clear signal to IRRs to indicate when they must curtail due to system constraints. A workaround has been put in place that requires each IRR to interpret the ERCOT Dispatch signals and its own telemetry to determine when curtailment is necessary. The changes in this NPRR provide a clear curtailment signal to the IRR and eliminate a time delay in information imposed because of the workaround. In addition, this NPRR corrects a Settlement equation error that was in the Nodal Protocols. Until the software is changed, the Base Point Deviation Charge is not calculated for IRRs. If the incorrect calculation were to remain in place then each IRR would receive incorrect Base Point Deviation Charges each billing cycle. ERCOT would be inundated with disputes. |  |  |
| Procedural History |  | - On 11/16/10, the ERCOT Board considered NPRR285. - On 1/27/11, PRS considered a draft revised Impact Analysis and draft Cost-Benefit Analysis for NPRR285. - On 1/28/11, a revised Impact Analysis and Cost-Benefit Analysis were posted. - On 2/3/11, TAC considered the impact assessment for NPRR285. - On 3/11/11, a revised Impact Analysis was posted. - On 3/22/11, the ERCOT Board considered the impact assessment for NPRR285. |  |  |
| PRS Decision |  | On 1/27/11, PRS unanimously voted to endorse and forward the draft Impact Analysis and Cost-Benefit Analysis for NPRR285 to TAC. The Independent Retail Electric Provider (IREP) and Independent Generator Market Segments were not present for the vote. |  |  |
| Summary of PRS Discussion |  | On 1/27/11, ERCOT Staff presented a preliminary analysis of the impacts and benefits associated with NPRR285. Participants discussed whether the curtailment flag aspect of NPRR285 could be implemented separately from the remaining grey-boxed portions of NPRR285. ERCOT Staff noted that the draft Cost-Benefit Analysis includes information on benefits but not quantified information. Statements regarding the reduced amount of Regulation Service and anticipated fuel reductions due to increased wind-powered generation due to increased West to North flows were added to the draft Cost-Benefit Analysis as market benefits. |  |  |
| TAC Decision |  | On 2/3/11, TAC unanimously voted to recommend approval of the impact assessment for NPRR285. All Market Segments were present for the vote. |  |  |
| Summary of TAC Discussion |  | On 2/3/11, TAC reviewed the revised Impact Analysis and Cost-Benefit Analysis for NPRR285. |  |  |
| Board Decision |  | On 11/16/10, the ERCOT Board approved NPRR285 as recommended by TAC in the 11/4/10 TAC Report. On 3/22/11, the ERCOT Board voted to approve the impact assessment for NPRR285 as recommended by TAC in the 2/3/11 TAC Report – Impact Assessment. |  |  |

| Sponsor |  |
| --- | --- |
| Name | Barbara Clemenhagen on behalf of WMS |
| E-mail Address | bclemenhagen@topazpowergroup.com |
| Company | Topaz Power Group |
| Phone Number |  |
| Cell Number | 512-670-6702 |
| Market Segment | Not applicable |

| Market Rules Staff Contact |  |
| --- | --- |
| Name | Ann Boren |
| E-Mail Address | aboren@ercot.com |
| Phone Number | 512-275-7411 |