- ERCOT White Paper Discussion

  - Min Run Time.  Cannot request MRT<1 unless VC is approved. Otherwise, keep MRT as is.

  - To use generic costs, the Resource must have MRT>=1hour.

  - Create floor of MRT to 30 minutes.

  - Preference to maintain seasonal changes.

  - Expected Minimum Run Time is based on QSE assertion.  It need not be reflective of historical operation or information in the RARF.

  - Ino to re-write white paper for April 8 WMS Meeting.

- Draft NPRR (SCED LMP Projections)

  - Added some language introducing LDL and HDL

  - Some Market Participants interested in Ramp Rate constrained SCED capacity.

  - Procedural questions: WMS/Floyd/QSTF?

- RT Co-optimization

  - High level review of history

  - Great opportunity to review RT co-optimization and RT commitment

  - Concern expressed about QSE ability/control of AS

  - [Post NYISO tariff, Patton appendix w/ redlines]

  - What should be included

    - URS/DRS/RRS/NSRS

    - Energy

    - Start w/ an open mind to determine what should be included.

  - Consider trade-offs between centralized decision making and QSE-level