| NPRR Number | 328 | NPRR Title | Removes ERCOT Requirement For Reactive Resource Planning and the Associated Compliance Process |  |
| --- | --- | --- | --- | --- |
| Timeline | Normal | Action |  | Referred |
| Date of Decision |  | March 24, 2011 |  |  |
| Proposed Effective Date |  | To be determined. |  |  |
| Priority and Rank Assigned |  | To be determined. |  |  |
| Nodal Protocol Section Requiring Revision |  | 3.15.2, TSP and DSP Responsibilities Related to Voltage Support |  |  |
| Revision Description |  | This Nodal Protocol Revision Request (NPRR) removes a duplicate requirement for ERCOT to plan reactive Resources and also removes an unassigned and vague requirement for a compliance process. |  |  |
| Reason for Revision |  | The language in paragraph (c) of Section 3.15.2 requires the “ERCOT Regional Planning Groups or Transmission Planning” to perform Reactive Power device planning. The Regional Planning Group (RPG) is not the appropriate group for performing this type of analysis. Additionally, “Transmission Planning” is not defined in the Protocols and if “Transmission Planning” is interpreted to mean ERCOT Planning Staff, this is inherently required as part of the Five-Year Transmission Plan that is required by the ERCOT Planning Charter and Procedures (RPG Charter) which will soon be incorporated into the Protocols (via NPRR292, Add Key Provisions of RPG Charter to Protocols) and Planning Guide. Paragraph (d) of Section 3.15.2 attempts to impose a compliance program, but does not identify the Entity responsible for enforcing the program. |  |  |
| Overall Market Benefit |  | Market Participants will not have to prepare for self-certification. |  |  |
| Overall Market Impact |  | None. |  |  |
| Consumer Impact |  | None. |  |  |
| Credit Impacts |  | To be determined. |  |  |
| Procedural History |  | - On 2/23/11, NPRR328 and an Impact Analysis were posted. - On 3/24/11, PRS considered NPRR328. |  |  |
| PRS Decision |  | On 3/24/11, PRS unanimously voted to refer NPRR328 to ROS. All Market Segments were present for the vote. |  |  |
| Summary of PRS Discussion |  | On 3/24/11, NPRR328 was referred to ROS to address possible impacts to reliability. |  |  |

| Quantitative Impacts and Benefits |  |  |  |
| --- | --- | --- | --- |
| Assumptions | 1 |  |  |
|  | 2 |  |  |
|  | 3 |  |  |
|  | 4 |  |  |
| Market Cost |  | Impact Area | Monetary Impact |
|  | 1 | None. | None. |
|  | 2 |  |  |
|  | 3 |  |  |
|  | 4 |  |  |
| Market Benefit |  | Impact Area | Monetary Impact |
|  | 1 | Market Participants will not have to prepare for self-certification. |  |
|  | 2 |  |  |
|  | 3 |  |  |
|  | 4 |  |  |
| Additional Qualitative Information | 1 |  |  |
|  | 2 |  |  |
|  | 3 |  |  |
|  | 4 |  |  |
| Other Comments | 1 |  |  |
|  | 2 |  |  |
|  | 3 |  |  |
|  | 4 |  |  |

| Sponsor |  |
| --- | --- |
| Name | JC Culberson |
| E-mail Address | jculberson@ercot.com |
| Company | ERCOT |
| Phone Number | 512-248-4505 |
| Cell Number | 512-569-5520 |
| Market Segment | N/A |

| Market Rules Staff Contact |  |
| --- | --- |
| Name | Sandra Tindall |
| E-Mail Address | stindall@ercot.com |
| Phone Number | 512-248-3867 |

| Comments Received |  |
| --- | --- |
| Comment Author | Comment Summary |
| None. |  |

Proposed Protocol Language Revision

- 3.15.2	TSP and DSP Responsibilities Related to Voltage Support

Each TSP, DSP, and Resource Entity within a Private Use Network shall meet the requirements specified in this subsection, or at their option, may meet alternative requirements specifically approved by ERCOT.  Such alternative requirements may include requirements for aggregated groups of Facilities.

(a)	Sufficient static Reactive Power capability shall be installed by a DSP or a Resource Entity within a Private Use Network not subject to a TSP or DSP tariff in substations and on the distribution voltage system to maintain at least a 0.97 lagging power factor for the maximum net active power supplied from a substation transformer at its distribution voltage terminals to the distribution voltage system.  In those cases where a Private Use Network’s power factor is established and governed by a TSP or DSP tariff, the TSP or DSP and Resource Entity within a Private Use Network  shall ensure that the Private Use Network meets the requirements as defined and measured in the applicable tariff.  For any substation transformer serving multiple DSPs, this power factor requirement shall be applied to each DSP individually for its portion of the total Load served.

(b)	DSP substations whose annual peak Load has exceeded 10 MW shall have and maintain Watt/VAr metering sufficient to monitor compliance; otherwise, DSPs are not required to install additional metering to determine compliance.

(c)

Except under Force Majeure conditions, a TSP must maintain transmission system voltage within two percent of the scheduled voltage.

(d)	All DSPs shall report any changes in their estimated net impact on ERCOT as part of the annual Load data assessment.

(e)	As part of the annual Load data assessment, all Resource Entities owning Generation Resources shall provide an annual estimate of the highest potential affiliated MW and MVAr Load (including any Load netted with the generation output) and the highest potential MW and MVAr generation that could be experienced at the POI to the ERCOT Transmission Grid, based on the then current configuration (and the projected configuration if the configuration is going to change during the year) of the Generation Resource and any affiliated Loads.