| PGRR Number | 006 | PGRR Title | New Planning Guide Section 6.5, Annual Load Data Request |  |
| --- | --- | --- | --- | --- |
| Timeline | Normal | Action |  | Recommended Approval |
| Date of Decision |  | March 25, 2011 |  |  |
| Proposed Effective Date |  | July 1, 2011 |  |  |
| Priority and Rank Assigned |  | Not applicable |  |  |
| Guide Section Requiring Revision |  | 6.5, Annual Load Data Request (new) |  |  |
| Revision Description |  | This Planning Guide Revision Request (PGRR) adds new Section 6.5, Annual Load Data Request, to the Planning Guide. |  |  |
| Reason for Revision |  | A portion of the proposed language in new Section 6.5 currently exists in Nodal Operating Guide Section 5.1.3, Load Forecasts. This language is deemed appropriate to be part of the Planning Guide and will be removed from the Nodal Operating Guide through Nodal Operating Guide Revision Request (NOGRR) 058, Deletion of Section 5, Planning. |  |  |
| Overall Market Benefit |  | Transmission planning requirements are located within the Planning Guide. |  |  |
| Overall Market Impact |  | Minimal since this PGRR only moves existing Nodal Operating Guide and Annual Load Data Request (ALDR) Procedure language to the Planning Guide. |  |  |
| Consumer Impact |  | None. |  |  |
| Procedural History |  | - On 1/18/11, PGRR006 was posted. - On 2/22/11, ERCOT comments were posted. - On 2/25/11, CenterPoint Energy comments were posted. - On 2/25/11, the Planning Working Group (PLWG) considered PGRR006. - On 3/10/11, an Impact Analysis was posted. - On 3/25/11, the PLWG considered the 2/25/11 PLWG Report and Impact Analysis for PGRR006. |  |  |
| PLWG Decision |  | On 2/25/11, the PLWG was in consensus to recommend approval of PGRR006 as amended by the 2/25/11 CenterPoint Energy comments and as revised by the PLWG. On 3/25/11, the PLWG was in consensus to endorse and forward the 2/25/11 PLWG Report and Impact Analysis to ROS. |  |  |
| Summary of PLWG Discussion |  | On 2/25/11, the 2/22/11 ERCOT comments and 2/25/11 CenterPoint Energy comments were discussed. It was agreed that both sets of comments provided clarification to the ALDR process and that the Transmission and/or Distribution Service Provider (TDSP) or the Designated Agent are responsible for submitting historical and forecasted Load data as outlined in the ALDR Procedure. On 3/25/11, there was no discussion. |  |  |

| Quantitative Impacts and Benefits |  |  |  |
| --- | --- | --- | --- |
| Assumptions | 1 | None. |  |
|  | 2 |  |  |
|  | 3 |  |  |
|  | 4 |  |  |
| Market Cost |  | Impact Area | Monetary Impact |
|  | 1 | None. | None. |
|  | 2 |  |  |
|  | 3 |  |  |
|  | 4 |  |  |
| Market Benefit |  | Impact Area | Monetary Impact |
|  | 1 | Transmission planning requirements are located within the Planning Guide. |  |
|  | 2 |  |  |
|  | 3 |  |  |
|  | 4 |  |  |
| Additional Qualitative Information | 1 |  |  |
|  | 2 |  |  |
|  | 3 |  |  |
|  | 4 |  |  |
| Other Comments | 1 | Although the normal process is to introduce new language as redline, the PLWG believes that since the language currently exists in the Nodal Operating Guides, only proposed changes will be shown as redline. |  |
|  | 2 | The PLWG has sponsored NOGRR058 to delete Section 5, Planning, from the Nodal Operating Guides. |  |
|  | 3 | PGRR005, New Planning Guide Section 5, Planning Criteria, moves the remaining Sections of Nodal Operating Guide Section 5 to the Planning Guide. |  |
|  | 4 |  |  |

| Sponsor |  |
| --- | --- |
| Name | Rob Lane on behalf of the PLWG |
| E-mail Address | Robert.Lane@luminant.com |
| Company | Luminant |
| Phone Number | (214) 875-8063 |
| Cell Number |  |
| Market Segment | Investor Owned Utility (IOU) |

| Market Rules Staff Contact |  |
| --- | --- |
| Name | Yvette M. Landin |
| E-Mail Address | ylandin@ercot.com |
| Phone Number | (512) 248-4513 |

| Comments Received |  |
| --- | --- |
| Comment Author | Comment Summary |
| ERCOT 022211 | Proposed language changes to align the PGRR with the current ALDR process. |
| CenterPoint Energy 022511 | Proposed language changes to further better align the PGRR language with the current practice. |

Proposed Guide Language Revision

6.5	Annual Load Data Request

- (1)	The Transmission and/or Distribution Service Provider (TDSP) or its Designated Agent must provide Load data each year to allow necessary ERCOT System reliability analysis and planning and to meet requirements of the NERC.  Each TDSP or its Designated Agent is responsible for providing historical and forecasted Load data to ERCOT for all Loads connected to its system as outlined in the ALDR Procedures.  Data supplied in the ALDR is considered Protected Information.

(2)	 The following factors should be considered when developing Load forecast data:

(a)	Economic;

(b)	Demographic;

(c)	Customer trends;

(d)	Conservation;

(e)	Improvements in the efficiency of electrical energy uses;

(f)	Other changes in the end uses of electricity; and

(g)	Weather effects.

(3)	The owner of a Private Use Network  or substation not owned by the TDSP shall provide a substation Load forecast and historical load to its  TDSP with sufficient time to allow the TDSP to adequately include that substation in its ALDR response.

(4)	The TDSP or its Designated Agent shall coordinate with the appropriate working group as described in the ALDR Procedures for issues with data submissions.

(5)  	Load data that is incomplete, not timely submitted on the schedule, or not in the format defined in the ALDR Procedures will be considered missing data.  For these missing Load data, ERCOT shall calculate Loads based on historical data and insert these Loads into the Load flow cases during Data Set A and Data Set B annual updates.