ERCOT – Black Start Task Force Meeting Minutes

December 14, 2010

Taylor, TX

Attendance: Stacy Wozny, Steve Zaragoza, Randy Kelm, Kelly Blackmer, Yvette Landin, Fred Huang, John Blackwell, Matt Stout, Brad Calhoun, Jack Thormahlon, Ronnie Burden, Tip Tipton, Michael Herring, Robert Avila, Eduardo Espinoza, Allen McTavish, Stan Morris, Joe Pina, Dylan Preas, Brent Read, Jeffrey Sims, Trieu Vo, Greeshma Nissankala

- Anti-Trust Admonition						Randy Kelm

- Review and approve 10/27/10 meeting minutes			Group

  - Approved

- Discuss Draft NPRR-01 Black Start NDA			Kelly Blackmer

  - All in agreement

  - ROS/OWG NDA related question

- Discuss NPRR Black Start Service (EL_CVC_11.30.10)            Fred Huang

  - Qualification under the Next Start Resource Test is valid every five years.

  - NERC EOP-005-2 and EOP-006-2 – new definition of Black Start Resource…

    - Questions on ‘the System’ – could be defined instead as the ‘ERCOT System’?

- Discuss placing TOP plans on ERCOT’s secure website		Fred Huang

  - No plan at this point in time

- 2011 ERCOT Black Start Plan Draft Review and Discussion     Fred Huang

  - Fred is sending around a draft review for those in attendance to correct and mark up for any changes that need to be made.

- Review the proposed CNP comments on the Draft_NOGRR_01 and look at the definition of Cranking Paths and compare to CIP-002		Yvette Landin

  - OWG comments:

      - Kelly – NERC definition is not specific and leaves a lot of doors open.  ERCOT multiple paths are identified – so a distinction was made in the ERCOT definitions between Synchronization/Cranking paths that are ERCOT specific.

      - Matt – Better to define varying definitions particular to the ERCOT ISO that are different from other ISO’s/NERC

      - NERC Glossary of Cranking Path – A portion of the electric system that can be isolated and then energized to deliver electric power from a generation source to enable to startup of one or more other generating units.

      - Dylan – How does our definition of Cranking Paths protect a company that isn’t specified as a NextStart Resource?

        - Kelly – outside of normal practice

      - As designated in Nodal Protocols - 8.1.1.2.1.5   System Black Start Capability Qualification

        - Use as reference?

      - New definition:

        - Cranking Path: A set of Transmission Elements in the  ERCOT System which establishes… Yvette has changes

- Exchange TDSP Black Start Plans				Group

- Calendar of BSTF Meetings					Group

  - First meeting of 2011 in March

- Other business:

  - NPRR 298 							Yvette Landin

    - Revised Proposed Protocol Language 2.1 Definitions

      - ERCOT Blackout – A condition that exists when frequency in the entire ERCOT System has dropped to zero and Generation Resources are no longer serving load.

      - Partial ERCOT Blackout – An uncontrolled separation of a portion  of the ERCOT System has dropped to zero and Generation Resources within that portion of the ERCOT System are no longer serving load.

        - Consensus from BSTF favorable on changes

  - Need a Chairperson Black Start for 2011

    - Nominated:

      - Steve Zaragoza

        - Nominated/approved  by the BSTF participants in attendance

  - Need a Vice-Chair Black Start 2011

    - Nominated:

      - Kelly Blackmer agreed to stay in position another year

        - Approved by the BSTF participants in attendance