| NPRR Number | 308 | NPRR Title | Deployment Procedures for Non-Spin Resources |  |
| --- | --- | --- | --- | --- |
| Timeline | Normal | Action |  | Rejected |
| Date of Decision |  | March 24, 2011 |  |  |
| Proposed Effective Date |  | Not applicable. |  |  |
| Priority and Rank Assigned |  | Not applicable. |  |  |
| Nodal Protocol Section Requiring Revision |  | 6.5.7.6.2.3, Non-Spinning Reserve Service Deployment |  |  |
| Revision Description |  | This Nodal Protocol Revision Request (NPRR) will require Non-Spinning Reserve (Non-Spin) Service deployments to respect Resource Parameters as registered with ERCOT. |  |  |
| Reason for Revision |  | Current Non-Spin deployments do not respect Resource Parameters for minimum On-Line time or minimum Off-Line time. |  |  |
| Overall Market Benefit |  | Correct dispatch of Resources providing Non-Spin Service. |  |  |
| Overall Market Impact |  | May increase Non-Spin deployment times for Resources with longer minimum On-Line times. |  |  |
| Consumer Impact |  | Unknown. |  |  |
| Credit Impacts |  | Not applicable. |  |  |
| Procedural History |  | - On 1/13/11, NPRR308 was posted. - On 1/26/11, ERCOT comments were posted. - On 2/17/11, PRS considered NPRR308. - On 3/10/11, WMS comments were posted. - On 3/24/11, PRS again considered NPRR308. |  |  |
| PRS Decision |  | On 2/17/11, PRS unanimously voted to table NPRR308. All Market Segments were present for the vote. On 3/24/11, PRS unanimously voted to reject NPRR308. All Market Segments were present for the vote. |  |  |
| Summary of PRS Discussion |  | On 2/17/11, participants requested that NPRR308 be tabled to permit additional discussion by the Qualified Scheduling Entity (QSE) Managers Working Group (QMWG). On 3/24/11, the sponsor of NPRR308 and others noted that if NPRR308 were to be rejected, WMS intended to continue to explore the issue behind NPRR308 and possible alternative solutions. |  |  |

| Quantitative Impacts and Benefits |  |  |  |
| --- | --- | --- | --- |
| Assumptions | 1 | May require system change. |  |
|  | 2 | May require additional run time for Resources providing Non-Spin Service. |  |
|  | 3 |  |  |
|  | 4 |  |  |
| Market Cost |  | Impact Area | Monetary Impact |
|  | 1 | Unknown. | Unknown. |
|  | 2 |  |  |
|  | 3 |  |  |
|  | 4 |  |  |
| Market Benefit |  | Impact Area | Monetary Impact |
|  | 1 | Protects Resources from harmful operations that do not align with Resource constraints. | Unknown. |
|  | 2 | Potential savings on Resource maintenance costs. | Unknown. |
|  | 3 | Creates correct price signal for service providers. | Unknown. |
|  | 4 | Aligns deployments with actual Resource capabilities. | Unknown. |
| Additional Qualitative Information | 1 |  |  |
|  | 2 |  |  |
|  | 3 |  |  |
|  | 4 |  |  |
| Other Comments | 1 |  |  |
|  | 2 |  |  |
|  | 3 |  |  |
|  | 4 |  |  |

| Sponsor |  |
| --- | --- |
| Name | Dan Bailey |
| E-mail Address | danb@gplops.org |
| Company | City of Garland |
| Phone Number | 972-205-2203 |
| Cell Number | 214-300-9299 |
| Market Segment | Municipal |

| Market Rules Staff Contact |  |
| --- | --- |
| Name | Jonathan Levine |
| E-Mail Address | jlevine@ercot.com |
| Phone Number | 512-248-6464 |

| Comments Received |  |
| --- | --- |
| Comment Author | Comment Summary |
| ERCOT 012611 | Recommended rejection of NPRR308. |
| WMS 031011 | Recommended rejection of NPRR308 and directed the QSE Managers Working Group (QMWG) to continue discussion of the underlying issue. |

Proposed Protocol Language Revision

6.5.7.6.2.3	Non-Spinning Reserve Service Deployment

(1)	ERCOT shall deploy Non-Spinning Reserve Service by operator Dispatch Instruction for On-Line Generation Resources with Energy Offer Curves, Resources with Output Schedules, Off-Line Generation Resources and Load Resources.  ERCOT shall develop a procedure approved by TAC to deploy Resources providing Non-Spinning Reserve Service.  ERCOT Operators shall implement the deployment procedure when a specified threshold(s) in MW of capability available to SCED to increase generation is reached. ERCOT Operators may implement the deployment procedure to recover deployed Responsive Reserve or when other Emergency Conditions exist.  The deployment of Non-Spin must always be 100% of that scheduled on an individual Resource.

(2)	Once Non-Spin capacity from Off-Line Generation Resources providing Non-Spin are deployed and the Generation Resources are On-Line, ERCOT shall use SCED to determine the amount of energy to be dispatched from those Resources.

(3)	Off-Line Generation Resources providing Non-Spin (“OFFNS” Resource Status) are required to provide an Energy Offer Curve for use by SCED.

(4)	On receipt of a Dispatch Instruction, Load Resource providing Non-Spin must, at a minimum, provide the requested deployment energy within 30 minutes of the Dispatch Instruction.  On receipt of a Dispatch Instruction, Off-Line generation providing Non-Spin must be On-Line at an output level at least equal to the Resource’s LSL within 25 minutes and must be able to dispatch to its Non-Spin Resource Responsibility within 30 minutes of the Dispatch Instruction.  Once the Generation Resource is On-Line, the QSE shall reduce the Non-Spin Ancillary Service Schedule by the amount of the deployment to make the capacity available for SCED to dispatch.

(5)	For On-Line Generation Resources with Energy Offer Curves, on deployment of Non-Spin capacity, the QSE shall reduce the Non-Spin Ancillary Service Schedule by the amount of the deployment.  As described in Section 6.5.7.2, Resource Limit Calculator, ERCOT shall adjust the HASL and LASL based on the QSE’s telemetered Non-Spin Ancillary Service Resource Schedule to account for such deployment.  These Resources should be able to dispatch to its Non-Spin Resource Responsibility within 30 minutes of the Dispatch Instruction.

(6)	For DSRs providing Non-Spin, on deployment of Non-Spin, the DSR’s QSE shall adjust its Resource Output Schedule to reflect the amount of deployment.  For non-DSRs with Output Schedules providing Non-Spin, on deployment of Non-Spin, ERCOT shall adjust the Resource Output Schedule for the remainder of the Operating Period to reflect the amount of deployment.  ERCOT shall notify the QSEs representing the non-DSR of the adjustment through the MIS Certified Area.

(7)	For On-Line Generation Resources with Energy Offer Curves, Base Points include Non-Spin energy as well as any other energy dispatched as a result of SCED.

(8)	Each QSE providing Non-Spin from a Resource shall inform ERCOT of the Non-Spin Resource availability using the Resource Status and Non-Spin Ancillary Service Resource Responsibility indications for the Operating Hour using telemetry and shall use the COP to inform ERCOT of Non-Spin Resource Status and Non-Spin Ancillary Service Resource Responsibility for hours in the Adjustment Period through the end of the Operating Day.

(9)	ERCOT may deploy Non-Spin at any time in a Settlement Interval.

(10)	ERCOT’s Non-Spin deployment Dispatch Instructions must include:

(a)	The Resource name;

(b)	A MW level of capacity deployment for Generation Resources with Energy Offer Curve, a MW level of energy for Generation Resources with Output Schedules, and interrupted amount for Load Resources; and

(c)	The anticipated duration of deployment.

(11)	ERCOT shall, as part of its TAC-approved Non-Spin deployment procedure, provide for the recall of Non-Spin energy including descriptions of changes to Output Schedules and release of energy obligations from On-Line Resources with Output Schedules and from On-Line Resources that were previously Off-Line Resources providing Non-Spin capacity.

(12)	Non-Spin procured from a Load Resource block offer must be deployed as a block.

(13)	ERCOT Non-Spin deployments will respect all Resource Parameters as registered with ERCOT.