| PGRR Number | 006 | PGRR Title | New Planning Guide Section 6.5, Annual Load Data Request |
| --- | --- | --- | --- |

| Date | April 7, 2011 |
| --- | --- |

| Submitter’s Information |  |
| --- | --- |
| Name | Paul Rocha |
| E-mail Address | Paul.rocha@centerpointenergy.com |
| Company |  |
| Phone Number | (713) 207-2768 |
| Cell Number |  |
| Market Segment | Investor Owned Utility (IOU) |

Comments

CenterPoint Energy proposes modifications to proposed paragraph (2) of Section 6.5, Annual Load Data Request, to reflect that it may not be appropriate or necessary to explicitly and distinctly consider and document all of the individual factors indicated in that section when developing load forecasts to be used for transmission planning purposes.

Revised Proposed Guide Language

6.5	Annual Load Data Request

- (1)	The Transmission and/or Distribution Service Provider (TDSP) or its Designated Agent must provide Load data each year to allow necessary ERCOT System reliability analysis and planning and to meet requirements of the NERC.  Each TDSP or its Designated Agent is responsible for providing historical and forecasted Load data to ERCOT for all Loads connected to its system as outlined in the ALDR Procedures.  Data supplied in the ALDR is considered Protected Information.

(2)	 Some or all of the following factors may be considered when developing Load forecast data:

(a)	Economic;

(b)	Demographic;

(c)	Customer trends;

(d)	Conservation;

(e)	Improvements in the efficiency of electrical energy uses;

(f)	Other changes in the end uses of electricity; and

(g)	Weather effects.

(3)	The owner of a Private Use Network  or substation not owned by the TDSP shall provide a substation Load forecast and historical load to its  TDSP with sufficient time to allow the TDSP to adequately include that substation in its ALDR response.

(4)	The TDSP or its Designated Agent shall coordinate with the appropriate working group as described in the ALDR Procedures for issues with data submissions.

(5)  	Load data that is incomplete, not timely submitted on the schedule, or not in the format defined in the ALDR Procedures will be considered missing data.  For these missing Load data, ERCOT shall calculate Loads based on historical data and insert these Loads into the Load flow cases during Data Set A and Data Set B annual updates.