| PGRR Number | 006 | PGRR Title | New Planning Guide Section 6.5, Annual Load Data Request |
| --- | --- | --- | --- |
| Date Posted |  | January 18, 2011 |  |

| Planning Guide Section Requiring Revision | 6.5, ALDR Report (new) |
| --- | --- |
| Protocol Section(s) Requiring Revision, if any | None. |
| Requested Resolution (Normal or Urgent, and justification for Urgent status) | Normal. |
| Revision Description | This Planning Guide Revision Request (PGRR) adds new Section 6.5, ALDR Report, to the Planning Guide. |
| Reason for Revision | A portion of the proposed language in new Section 6.5 currently exists in Nodal Operating Guide Section 5.1.3, Load Forecasts. This language is deemed appropriate to be part of the Planning Guide and will be removed from the Nodal Operating Guide through a Nodal Operating Guide Revision Request (NOGRR). |
| Overall Market Benefit | Transmission planning requirements are located within the Planning Guide. |
| Overall Market Impact | Minimal since this PGRR only moves existing Nodal Operating Guide and ALDR Procedure language to the Planning Guide. |
| Consumer Impact | None. |

| Quantitative Impacts and Benefits |  |  |  |
| --- | --- | --- | --- |
| Assumptions | 1 | None. |  |
|  | 2 |  |  |
|  | 3 |  |  |
|  | 4 |  |  |
| Market Cost |  | Impact Area | Monetary Impact |
|  | 1 | None. | None. |
|  | 2 |  |  |
|  | 3 |  |  |
|  | 4 |  |  |
| Market Benefit |  | Impact Area | Monetary Impact |
|  | 1 | Transmission planning requirements are located within the Planning Guide. |  |
|  | 2 |  |  |
|  | 3 |  |  |
|  | 4 |  |  |
| Additional Qualitative Information | 1 |  |  |
|  | 2 |  |  |
|  | 3 |  |  |
|  | 4 |  |  |
| Other Comments | 1 | Although the normal process is to introduce new language as redline, the PLWG believes that since the language currently exists in the Nodal Operating Guides, only proposed changes will be shown as redline. |  |
|  | 2 | The PLWG will sponsor a NOGRR to delete Section 5, Planning, from the Nodal Operating Guides. |  |
|  | 3 | PGRR005, New Planning Guide Section 5 Planning Criteria, moves the remaining Sections of Nodal Operating Guide Section 5, Planning, to the Planning Guide. |  |
|  | 4 |  |  |

| Sponsor |  |
| --- | --- |
| Name | Rob Lane on behalf of the Planning Working Group (PLWG) |
| E-mail Address | Robert.Lane@luminant.com |
| Company | Luminant |
| Phone Number | (214) 875-8063 |
| Cell Number |  |
| Market Segment | Investor Owned Utility (IOU) |

| Market Rules Staff Contact |  |
| --- | --- |
| Name | Yvette M. Landin |
| E-Mail Address | ylandin@ercot.com |
| Phone Number | (512) 248-4513 |

Proposed Guide Language Revision

6.5	Annual Load Data Request

(1)	Each year, recipients of the Annual Load Data Request (ALDR) must submit Load data to ERCOT.  The Transmission and/or Distribution Service Provider (TDSP) or its Designated Agent must provide Load data each year to allow necessary ERCOT System reliability analysis and planning.  Each TDSP or its Designated Agent is responsible for providing historical and forecasted Load data to ERCOT for all Loads connected to its system as outlined in the ALDR Procedures.

(2)	The Load data includes forecasted information necessary to allow for the timely development, design, and implementation of electric system plans needed to reliably supply customer requirements. System modeling is the first step toward reliable interconnected ERCOT Systems.  The timely development of system modeling data to realistically simulate the electrical behavior of the components in the interconnected network is the only means to accurately plan for reliability.  Forecasts should generally include factors such as:

(a)	Economic;

(b)	Demographic;

(c)	Customer trends;

(d)	Conservation;

(e)	Improvements in the efficiency of electrical energy uses;

(f)	Other changes in the end uses of electricity; and

(g)	Weather effects.

(3)	Data shall be submitted for self-serve facilities with a contract for the ERCOT System to provide backup power to their Loads.  For each substation not owned by a TDSP, the owner shall provide a substation Load forecast to the directly-connected TDSP sufficient to allow it to adequately include that substation in its ALDR response.

(4)	Since the main use of this data is the development of base cases by the Steady-State Working Group (SSWG), it is imperative that the submitter coordinate with SSWG. Questions about the data should be directed to the SSWG.

(5)  	If Load data is not timely submitted on the schedule and in the format defined by the TDSP or its Designated Agent, then ERCOT shall calculate Loads based on historical data and insert these Loads into the Load flow cases during DataSet A and DataSet B annual updates.

(6)	The confidentiality for the data supplied as a result of meeting this request is considered Protected Information.