| PGRR Number | 007 | PGRR Title | New Planning Guide Section 6, Data/Modeling and 6.4, TPIT Report and Data Requirements |
| --- | --- | --- | --- |
| Date Posted |  | January 27, 2011 |  |

| Planning Guide Sections Requiring Revision | 6, Data/Modeling (new) 6.1, Intentionally Left Blank (new) 6.2, Intentionally Left Blank (new) 6.3, Intentionally Left Blank (new) 6.4, Transmission Project Information and Tracking Report and Data Requirements (new) 6.4.1, Transmission Project Information and Tracking Report (new) 6.4.2, ERCOT Responsibilities (new) 6.4.3, TSP Responsibilities (new) 6.4.4, Five-Year Transmission Plan Projects in Transmission Project Information and Tracking (new) |
| --- | --- |
| Protocol Section(s) Requiring Revision, if any | None. |
| Requested Resolution | Normal. |
| Revision Description | This Planning Guide Revision Request (PGRR) incorporates portions of the ERCOT Regional Planning Group Charter and Procedures (RPG) Charter related to the Transmission Project Information and Tracking (TPIT) report into the Planning Guide. |
| Reason for Revision | The Planning Working Group (PLWG) recommends that this language be moved from the RPG Charter and into the Planning Guide to ensure transparency of this important part of the planning process and to provide for a structured change process to ensure that modification to the process is reviewed and approved by the ERCOT Board. |
| Overall Market Benefit | Improved transparency into an important aspect of transmission planning activities as well as a better defined revision process. |
| Overall Market Impact | None. |
| Consumer Impact | None. |

| Quantitative Impacts and Benefits |  |  |  |
| --- | --- | --- | --- |
| Assumptions | 1 | Changes to the TPIT process will be recommended by the PLWG, or any interested party, and approved by the Reliability and Operations Subcommittee (ROS), TAC and the ERCOT Board. |  |
|  | 2 |  |  |
|  | 3 |  |  |
|  | 4 |  |  |
| Market Cost |  | Impact Area | Monetary Impact |
|  | 1 | None. | None. |
|  | 2 |  |  |
|  | 3 |  |  |
|  | 4 |  |  |
| Market Benefit |  | Impact Area | Monetary Impact |
|  | 1 | Transmission planning. | Improved transparency of the process used to create and update the TPIT information. |
|  | 2 |  |  |
|  | 3 |  |  |
|  | 4 |  |  |
| Additional Qualitative Information | 1 |  |  |
|  | 2 |  |  |
|  | 3 |  |  |
|  | 4 |  |  |
| Other Comments | 1 |  |  |
|  | 2 |  |  |
|  | 3 |  |  |
|  | 4 |  |  |

| Sponsor |  |
| --- | --- |
| Name | Rob Lane on behalf of the PLWG |
| E-mail Address | Robert.Lane@luminant.com |
| Company | Luminant |
| Phone Number | (214) 875-8063 |
| Cell Number |  |
| Market Segment | Investor Owned Utility (IOU) |

| Market Rules Staff Contact |  |
| --- | --- |
| Name | Yvette M. Landin |
| E-Mail Address | ylandin@ercot.com |
| Phone Number | (512) 248-4513 |

Proposed Guide Language Revision

ERCOT Planning Guide

Section 6: Data/Modeling

Month Day, Year

# DATA/MODELING

- 6.1	Intentionally Left Blank

- 6.2	Intentionally Left Blank

- 6.3	Intentionally Left Blank

- 6.4	Transmission Project Information and Tracking Report and Data Requirements

- 6.4.1	Transmission Project Information and Tracking Report

(1)	The ERCOT Transmission Project and Information Tracking (TPIT) report presents the current quarterly status of the transmission projects (60 kV and above) that have a material impact to the flow of power in the ERCOT System.  The TPIT report communicates the status to the stakeholders through the TPIT Database.  The TPIT Database has four primary sections:

(a)	Future Projects;

(b)	Completed Projects;

(c)	Cancelled Projects; and

(d)	Five-Year Transmission Plan Projects.

(2)	Transmission projects listed in the current TPIT Future Projects and Completed Project sections are modeled in the current set of Steady State Working Group (SSWG) Load flow cases used for transmission planning studies with the following exceptions:

(a)	Any project that requires Regional Planning Group (RPG) review and has not completed the review process;

(b)	Any project with a projected in-service date beyond the five-year planning horizon; or

(c)	Any project that consists of only a Special Protection Scheme (SPS) (which is not typically modeled);

- 6.4.2	ERCOT Responsibilities

ERCOT shall prepare TPIT updates using data supplied by each Transmission Service Provider (TSP), or it’s Designated Agent.  ERCOT shall maintain a section within the TPIT Database that describes each data element as well as identify the Entity responsible for supplying the data within each data element.  The updated TPIT Database shall be posted quarterly on the Market Information System (MIS) Public Area.  The format and schedule for data collection and verification of the TPIT Database shall be determined by ERCOT and communicated to the appropriate Market Participants in a timely manner.

- 6.4.3	TSP Responsibilities

TPIT provides information on transmission projects that are included in current TSP plans or included in the ERCOT Five-Year Transmission Plan.  Each TSP shall provide information for its transmission projects to ERCOT as outlined in the TPIT Procedures.

- 6.4.4 	Five-Year Transmission Plan Projects in Transmission Project Information and Tracking

Each year, with input from Market Participants, ERCOT develops a Five-Year Transmission Plan that identifies a set of reliability-driven and economic-driven transmission projects based on the current SSWG planning Base Cases.  Transmission projects identified in the Five-Year Transmission Plan are typically at varying stages within the planning process and thus, are subject to change.  When a Five-Year Plan Transmission Plan project is deemed appropriate for inclusion in the SSWG planning Base Cases, ERCOT shall assign a TPIT project number and include that project in the Future Projects section of the TPIT.  The project shall also remain in the Five-Year Transmission Plan section of the TPIT.