March 15:	Last NDSWG meeting.

The following is a summary of the main topics of discussion at NDSWG:

- State Estimator Task Force met on March 1st. Discussion is to decide how to meet PUCT requirements without disclosing market sensitive generation information. Several generators want to make sure their real time output cannot be derived from SE data; more meetings with more details are planned.

- ERCOT described a tool in the IMM that is new to NDSWG call the ‘contingency component’. This can be used to better define contingencies where circuit switchers or motor operated devices may isolate transmission facilities as opposed to ERCOT’s current contingency assumption that only breakers can isolate transmission facilities. Email to nomcrhelp@ercot.com for any questions related to contingencies. ERCOT to create documentation of how to use the tool and the effects on the contingencies.

- ERCOT market group brought a problem for discussion with NDSWG that they need help identifying contingencies for the MMS. The MMS appears to be using a bus-branch model similar to CRR and planning and some of the EMS contingencies do not translate correctly into MMS/DAM. ERCOT to send list of 85-90 contingencies to NDSWG to review along with an explanation of the problem they are trying to solve.

- The Incremental Update Project will not be started until 2012, at least. It will be a separate project that will need to stand on its own merits and will not be part of the nodal stabilization program. NPRR146 could be done in 2011.

- Interim Update Report Workshop: A workshop provided by ERCOT to help MPs have more understanding of what should not be included in the interim update report. The report is generated weekly; sent to PUCT and IMM on Tues-Wed, posted on Thur-Fri.

Woody stated that there are three main things that a NOMCR must not change to not be included in the Interim Update report. 1. Power flow. 2. Prices. 3. Cause a new model to be loaded. Many changes that could be excluded from the report because they mostly affect Planning Models cannot be excluded because they can also affect the CRR models. The following Categories/Changes are not be included in the report:

  - ERCOT request for ERCOT downstream system requirements (does not include all ERCOT requested changes)

  - Long Name for Stations

  - Mileage

  - Planning Area or Zone

  - Conductor rating

A2E process not being followed. This will be on April NDSWG agenda. ERCOT operation will give an update. CNP expressed concern that ERCOT' operations is not being passed enough data for upcoming projects.

ERCOT offered an NMMS/PTC training class for new personnel. If MPs want to attend, contact Patricia Miller at pmiller@ercot.com.

Next NDSWG meeting: April 19, 2011