| NPRR Number | 335 | NPRR Title | TSP Request for Interval Data |  |
| --- | --- | --- | --- | --- |
| Timeline | Urgent | Action |  | Recommended Approval |
| Date of Decision |  | April 7, 2011 |  |  |
| Proposed Effective Date |  | May 1, 2011 |  |  |
| Priority and Rank Assigned |  | Not applicable. |  |  |
| Nodal Protocol Sections Requiring Revision |  | 3.11.4, Transmission Planning Responsibilities 11.1.11, Treatment of ERCOT Polled Settlement Resource ID Data |  |  |
| Revision Description |  | This Nodal Protocol Revision Request (NPRR) aligns the Nodal Protocols with the zonal Protocols, providing Transmission Service Providers (TSPs) the ability to request and receive interval data from ERCOT. |  |  |
| Reason for Revision |  | Protocol Revision Request (PRR) 708, Data Provided by ERCOT to TDSPs, provided TSPs with the ability to request and receive interval data from ERCOT. However, that capability was not carried over into the Nodal Protocols. TSPs must have access to this data in order to accurately perform transmission planning and other related studies. |  |  |
| Overall Market Benefit |  | The entire market benefits from the TSPs ability to accurately perform transmission planning and other related studies. |  |  |
| Overall Market Impact |  | Without access to this data, the TSPs ability to perform transmission planning and other related studies will be impaired, which could be detrimental to the entire market. |  |  |
| Consumer Impact |  | Without access to this data, the TSPs ability to perform transmission planning and other related studies will be impaired, which could be detrimental to the entire market. |  |  |
| Credit Impacts |  | ERCOT Credit Staff and the Credit Work Group (Credit WG) have reviewed NPRR335 and do not believe that it requires changes to credit monitoring activity or the calculation of liability. |  |  |
| Procedural History |  | - On 3/1/11, NPRR335 was posted. - On 3/3/11, the motion to grant NPRR335 Urgent status failed via PRS e-mail vote. - On 3/17/11, ERCOT comments were posted. - On 3/23/11, AEP comments were posted. - On 3/24/11, PRS considered NPRR335. - On 3/31/11, an Impact Analysis was posted. - On 4/7/11, TAC considered NPRR335. |  |  |
| PRS Decision |  | On 3/24/11, PRS unanimously voted to grant NPRR335 Urgent status. PRS then voted to recommend approval of NPRR335 as amended by the 3/23/11 AEP comments and as revised by PRS and to forward NPRR335 to TAC. There were three abstentions from the Independent Generator, Independent Power Marketer (IPM) and Consumer Market Segments. All Market Segments were present for the votes. |  |  |
| Summary of PRS Discussion |  | On 3/24/11, it was stated that NPRR335 aligns the Nodal Protocols with the zonal Protocols and the data obtained is used for transmission planning studies. |  |  |
| TAC Decision |  | On 4/7/11, TAC unanimously voted to recommend approval of NPRR335 as recommended by PRS in the 3/24/11 PRS Report as revised by TAC. All Market Segments were present for the vote. |  |  |
| Summary of TAC Discussion |  | On 4/7/11, ERCOT Staff proposed administrative edits to Section 11.1.11. |  |  |

| Quantitative Impacts and Benefits |  |  |  |
| --- | --- | --- | --- |
| Assumptions | 1 | ERCOT was performing this function under the zonal Protocols and there should be no system impact to continue providing this data. |  |
|  | 2 |  |  |
|  | 3 |  |  |
|  | 4 |  |  |
| Market Cost |  | Impact Area | Monetary Impact |
|  | 1 | None. | None. |
|  | 2 |  |  |
|  | 3 |  |  |
|  | 4 |  |  |
| Market Benefit |  | Impact Area | Monetary Impact |
|  | 1 | Accurate transmission planning. | Unknown. |
|  | 2 |  |  |
|  | 3 |  |  |
|  | 4 |  |  |
| Additional Qualitative Information | 1 |  |  |
|  | 2 |  |  |
|  | 3 |  |  |
|  | 4 |  |  |
| Other Comments | 1 |  |  |
|  | 2 |  |  |
|  | 3 |  |  |
|  | 4 |  |  |

| Sponsor |  |
| --- | --- |
| Name | Jennifer Bevill |
| E-mail Address | jlbevill@aep.com |
| Company | AEP |
| Phone Number | n/a |
| Cell Number | 512-934-4255 |
| Market Segment | Investor Owned Utility (IOU) |

| Market Rules Staff Contact |  |
| --- | --- |
| Name | Sandra Tindall |
| E-Mail Address | stindall@ercot.com |
| Phone Number | (512) 248-3867 |

| Comments Received |  |
| --- | --- |
| Comment Author | Comment Summary |
| ERCOT 031711 | Proposed additional revisions to paragraph (3) of Section 3.11.4 to identify the information TSPs and/or Distribution Service Providers (DSPs) should provide when requesting interval data for Load and generation. |
| AEP 032311 | Proposed additional revisions requiring ERCOT to provide Notice of either approval or denial of the request for interval data and if the request is denied, include the reason for denying the request. |

Revised Proposed Protocol Language

- 3.11.4	Transmission Planning Responsibilities

(1)	ERCOT, shall monitor the differences in Locational Marginal Prices (LMP) from the Security-Constrained Economic Dispatch (SCED) process to identify geographic areas potentially experiencing chronic congestion.  On determination of chronic congestion, ERCOT shall:

(a)	Validate with the TSP that the data from the Network Operating Model and the Updated Network Model are correct.   If the models are valid, ERCOT shall use the planning criteria in the transmission planning process, through the appropriate Regional Planning Group, to develop recommendations for resolution, if applicable.

(b)	Post all the results from this process on the Market Information System (MIS) Secure Area and provide them to the PUCT Staff, the Independent Market Monitor (IMM), the appropriate TAC subcommittee(s), and the ERCOT Board.

(2)	ERCOT shall provide specific interval data for Load and generation to TSPs and/or DSPs, upon request, in accordance with confidentiality as defined in Section 1.3, Confidentiality.

(a)	The TSP’s and/or DSP’s request for interval data shall identify the reason for requesting the information in regards to impact to the planning process (e.g. build power flow cases, conduct a specific study, etc.).

(b)	ERCOT shall evaluate the TSP and/or DSP request and validate reasons provided.

(c)	Upon ERCOT validation of the TSP and/or DSP request, the data provided shall include meter data measured at points of injection and points of delivery which will measurably impact the TSP’s and/or DSP’s planning and operations as determined by ERCOT (e.g., determination of the TSP’s and/or DSP’s system Load or power flows).

(d) 	If ERCOT determines that the request is invalid and denies it, ERCOT shall provide the reasoning for denying the request.

11.1.11	Treatment of ERCOT Polled Settlement Resource ID Data

(1)	For EPS Resource ID (RID) data, ERCOT will:

(a)	Be identified as the MRE;

(b)	Model and populate data to appropriate channels such that netting and aggregation conform to the ERCOT Protocol requirements; and

(c)	Make RID interval and Supervisory Control and Data Acquisition (SCADA) interval data available to the associated Qualified Scheduling Entity (QSE), TSP and/or DSP, Resource Entity, and LSE via an extract.

(2)	The ERCOT RID data extract will:

(a)	Select all ERCOT read RIDs for the Market Participant;

(b)	Provide interval data as populated by ERCOT for each channel associated to a RID;

(c)	Provide the interval data to the TSPs and/or DSPs no later than noon on the tenth Business Day after ERCOT reads the EPS meter;

(d)	Provide interval data for Load and generation to TSPs and/or DSPs in accordance with paragraph (2) of Section 3.11.4, Transmission Planning Responsibilities; and

(e)	Whenever ERCOT makes an edit to data previously provided to the TSP and/or DSP, ERCOT shall provide the revised data to the TSP and/or DSP by noon of the tenth Business Day after the edit is made.