| NOGRR Number | 055 | NOGRR Title | Deletion of an Invalid Reference to a Non-Existent NERC Term |  |
| --- | --- | --- | --- | --- |
| Timeline | Normal | Action |  | Approved |
| Date of Decision |  | April 7, 2011 |  |  |
| Effective Date |  | May 1, 2011 |  |  |
| Priority and Rank Assigned |  | Not applicable |  |  |
| Guide Section Requiring Revision |  | 2.2.8, Performance/Disturbance/Compliance Analysis |  |  |
| Revision Description |  | This Nodal Operating Guide Revision Request (NOGRR) removes an invalid reference to a non-existent North American Electric Reliability Corporation (NERC) term. |  |  |
| Reason for Revision |  | This NOGRR removes an invalid reference to a non-existent NERC term. |  |  |
| Overall Market Benefit |  | Clarification and consistency between the Protocols and NERC Reliability Standards. |  |  |
| Overall Market Impact |  | None. |  |  |
| Consumer Impact |  | None. |  |  |
| Procedural History |  | - On 12/21/10, NOGRR055 and the associated Impact Analysis were posted. - On 1/19/11, the Operations Working Group (OWG) considered NOGRR055. - On 2/16/11, the OWG considered the 1/19/11 OWG Report and Impact Analysis for NOGRR055. - On 3/10/11, the ROS considered NOGRR055. - On 4/7/11, TAC considered NOGRR055. |  |  |
| OWG Decision |  | On 1/19/11, OWG was in consensus to recommend approval of NOGRR055 as submitted. On 2/16/11, OWG was in consensus to endorse and forward the 1/19/11 OWG Report and Impact Analysis for NOGRR055 to ROS. |  |  |
| Summary of OWG Discussion |  | On 1/19/11, ERCOT Staff stated that ”Contingency Reserve Adjustment (CRA)” is not defined by NERC or in the Protocols and is thus an invalid reference. It was also noted that it is the “Balancing Authority’s” responsibility to determine “Contingency Reserve” (as those terms are defined in the NERC Reliability Standards) and that the current NERC requirement for ERCOT is limited to at least equal to the single largest contingency, which is currently 1,354 MW. On 2/16/11, there was no discussion. |  |  |
| ROS Decision |  | On 3/10/11, the ROS unanimously voted to recommend approval of NOGRR055 as recommended by OWG in the 2/16/11 OWG Report. All Market Segments were present for the vote. |  |  |
| Summary of ROS Discussion |  | On 3/10/11, there was no discussion. |  |  |
| TAC Decision |  | On 4/7/11, TAC unanimously voted to approve NOGRR055 as recommended by ROS in the 3/10/11 ROS Report. All Market Segments were present for the vote. |  |  |
| Summary of TAC Discussion |  | On 4/7/11, there was no discussion. |  |  |

| Quantitative Impacts and Benefits |  |  |  |
| --- | --- | --- | --- |
| Assumptions | 1 |  |  |
|  | 2 |  |  |
|  | 3 |  |  |
|  | 4 |  |  |
| Market Cost |  | Impact Area | Monetary Impact |
|  | 1 | None. | None. |
|  | 2 |  |  |
|  | 3 |  |  |
|  | 4 |  |  |
| Market Benefit |  | Impact Area | Monetary Impact |
|  | 1 | Clarification and consistency between the Protocols and NERC Reliability Standards. | Unknown. |
|  | 2 |  |  |
|  | 3 |  |  |
|  | 4 |  |  |
| Additional Qualitative Information | 1 |  |  |
|  | 2 |  |  |
|  | 3 |  |  |
|  | 4 |  |  |
| Other Comments | 1 |  |  |
|  | 2 |  |  |
|  | 3 |  |  |
|  | 4 |  |  |

| Sponsor |  |
| --- | --- |
| Name | Sandip Sharma |
| E-mail Address | ssharma@ercot.com |
| Company | ERCOT |
| Phone Number | (512) 248-4513 |
| Cell Number |  |
| Market Segment | N/A |

| Market Rules Staff Contact |  |
| --- | --- |
| Name | Yvette M. Landin |
| E-Mail Address | ylandin@ercot.com |
| Phone Number | (512) 248-4513 |

| Comments Received |  |
| --- | --- |
| Comment Author | Comment Summary |
| None. |  |

Proposed Guide Language Revision

- 2.2.8	Performance/Disturbance/Compliance Analysis

(1)	Performance/Disturbance/Compliance analysis shall be performed by ERCOT for the purpose of ensuring conformance to the Protocols.  All generators (except nuclear and wind) must respond to frequency disturbances with a governor droop of 5% or less unless limited by a High Sustained Limit (HSL) or other limits filed with ERCOT including duct burning on combined-cycle units.

(2)	ERCOT shall make a regular report on selected system disturbances, documenting the response of individual QSEs, together with a summary.  In addition, Resource Entities, QSEs, and individual members of the Performance, Disturbance, Compliance Working Group (PDCWG) are encouraged to work within their respective companies to enhance the performance of individual generating resources control systems through application of the results of the PDCWG studies.

(3)	To ensure compliance and improved performance, the Texas Regional Entity (TRE) shall communicate with the Market Participants that are not meeting the current performance requirements.