| NPRR Number | 328 | NPRR Title | Removes ERCOT Requirement for Reactive Resource Planning and the Associated Compliance Process |
| --- | --- | --- | --- |
| Date |  | April 12, 2011 |  |
| Submitter’s Information |  |  |  |
| Name |  | Ken Donohoo on behalf of the Reliability and Operations Subcommittee (ROS) |  |
| E-mail Address |  | kdonoho1@oncor.com |  |
| Company |  | Oncor |  |
| Phone Number |  | 214-743-6823 |  |
| Cell Number |  |  |  |
| Market Segment |  | Investor Owned Utility (IOU) |  |

Comments

At its April 11, 2011 meeting, the ROS voted to recommend approval of Nodal Protocol Revision Request (NPRR) 328 as amended by the 4/4/11 CenterPoint Energy Comments.  There was one abstention from the Independent Power Marketer (IPM) Market Segment.

Revised Cover Page Language

| NPRR Number | 328 | NPRR Title | Removes or Clarifies Duplicative or Vague Requirements Related to For Reactive Resources |
| --- | --- | --- | --- |

| Revision Description | This Nodal Protocol Revision Request (NPRR) removes or clarifies duplicate or vague requirements related to reactive Resources. |
| --- | --- |
| Reason for Revision | The language in paragraph (c) of Section 3.15.2 requires the “ERCOT Regional Planning Groups or Transmission Planning” to perform Reactive Power device planning. The Regional Planning Group (RPG) is not the appropriate group for performing this type of analysis. Additionally, “Transmission Planning” is not defined in the Protocols and if “Transmission Planning” is interpreted to mean ERCOT Planning Staff, this is inherently required as part of the Five-Year Transmission Plan that is required by the ERCOT Planning Charter and Procedures (RPG Charter) which will soon be incorporated into the Protocols (via NPRR292, Add Key Provisions of RPG Charter to Protocols) and Planning Guide. Paragraph (d) of Section 3.15.2 attempts to impose a compliance program, but does not identify the Entity responsible for enforcing the program. Also, changes are proposed to paragraph (a) to clarify the requirement consistent with the intent of the requirement. |

Revised Proposed Protocol Language

- 3.15.2	DSP Responsibilities Related to Voltage Support

Each DSP, and Resource Entity within a Private Use Network shall meet the requirements specified in this subsection, or at their option, may meet alternative requirements specifically approved by ERCOT.  Such alternative requirements may include requirements for aggregated groups of Facilities.

(a)	Sufficient static Reactive Power capability shall be installed by a DSP or a Resource Entity within a Private Use Network not subject to a TSP or DSP tariff in substations and on the distribution voltage system to maintain at least a 0.97 lagging power factor for the maximum net active power measured in aggregate on the distribution voltage system.  In those cases where a Private Use Network’s power factor is established and governed by a TSP or DSP tariff, Resource Entity within a Private Use Network  shall ensure that the Private Use Network meets the requirements as defined and measured in the applicable tariff.

(b)	DSP substations whose annual peak Load has exceeded 10 MW shall have and maintain Watt/VAr metering sufficient to monitor compliance; otherwise, DSPs are not required to install additional metering to determine compliance.

(c)	All DSPs shall report any changes in their estimated net impact on ERCOT as part of the annual Load data assessment.

(d)	As part of the annual Load data assessment, all Resource Entities owning Generation Resources shall provide an annual estimate of the highest potential affiliated MW and MVAr Load (including any Load netted with the generation output) and the highest potential MW and MVAr generation that could be experienced at the POI to the ERCOT Transmission Grid, based on the then current configuration (and the projected configuration if the configuration is going to change during the year) of the Generation Resource and any affiliated Loads.