| PGRR Number | 007 | PGRR Title | New Planning Guide Section 6, Data/Modeling and 6.4, TPIT Report and Data Requirements |  |
| --- | --- | --- | --- | --- |
| Timeline | Normal | Action |  | Recommended Approval |
| Date of Decision |  | April 11, 2011 |  |  |
| Proposed Effective Date |  | July 1, 2011 |  |  |
| Priority and Rank Assigned |  | Not applicable. |  |  |
| Guide Sections Requiring Revision |  | 6, Data/Modeling (new) 6.1, Intentionally Left Blank (new) 6.2, Intentionally Left Blank (new) 6.3, Intentionally Left Blank (new) 6.4, Transmission Project Information and Tracking Report and Data Requirements (new) 6.4.1, Transmission Project Information and Tracking Report (new) 6.4.2, ERCOT Responsibilities (new) 6.4.3, TSP Responsibilities (new) 6.4.4, Five-Year Transmission Plan Projects in Transmission Project Information and Tracking Report (new) |  |  |
| Revision Description |  | This Planning Guide Revision Request (PGRR) incorporates portions of the ERCOT Regional Planning Group Charter and Procedures (RPG Charter) related to the Transmission Project Information and Tracking (TPIT) report into the Planning Guide. |  |  |
| Reason for Revision |  | To move TPIT report related language from the RPG Charter to the Planning Guide to ensure transparency of this important part of the planning process and to provide for a structured change process to ensure that modification to the process is reviewed and approved by the ERCOT Board. |  |  |
| Overall Market Benefit |  | Improved transparency into an important aspect of transmission planning activities as well as a better defined revision process. |  |  |
| Overall Market Impact |  | None. |  |  |
| Consumer Impact |  | None. |  |  |
| Procedural History |  | - On 1/27/11, PGRR007 was posted. - On 2/25/11, CenterPoint Energy comments were posted. - On 2/25/11, the Planning Working Group (PLWG) considered PGRR007. - On 3/11/11, an Impact Analysis was posted. - On 3/25/11, the PLWG considered the 2/25/11 PLWG Report and Impact Analysis for PGRR007. - On 4/11/11, ROS considered PGRR007. |  |  |
| PLWG Decision |  | On 2/25/11, PLWG was in consensus to recommend approval of PGRR007 as amended by the 2/25/11 CenterPoint Energy comments and as revised by PLWG. On 3/25/11, the PLWG was in consensus to endorse and forward the 2/25/11 PLWG Report and Impact Analysis for PGRR007 to ROS. |  |  |
| Summary of PLWG Discussion |  | On 2/25/11, the 2/25/11 CenterPoint Energy comments were discussed. It was clarified that new projects may be submitted by any stakeholder instead of being limited to only Market Participants. On 3/25/11, there was concern regarding projects that are removed from the five-year plan. ERCOT Staff noted that those with a long lead-time will be moved to the TPIT project, but ERCOT will reevaluate those that have not been built. There was a suggestion that an additional tab be added to reflect projects from a previous five-year plan. It was requested that the Regional Planning Group (RPG) should further review this issue. |  |  |
| ROS Decision |  | On 4/11/11, ROS unanimously voted to recommend approval of PGRR007 as recommended by PLWG in the 3/25/11 PLWG Report. All Market Segments were present for the vote. |  |  |
| Summary of ROS Discussion |  | On 4/11/11, ERCOT Staff explained that the placeholders in the Section 6 are due to other sections being developed by the PLWG that will be submitted on a future date, and that adding placeholders in the Planning Guide is intended to inform the reader that other sections are in development. Concern was expressed with the use of the “material impact” standard in Section 6.4.1. It was explained that the current language is consistent with the existing TPIT procedure and can be revised a later date. |  |  |

| Quantitative Impacts and Benefits |  |  |  |
| --- | --- | --- | --- |
| Assumptions | 1 | Changes to the TPIT process will be recommended by the PLWG, or any interested party, and approved by ROS, TAC and the ERCOT Board. |  |
|  | 2 |  |  |
|  | 3 |  |  |
|  | 4 |  |  |
| Market Cost |  | Impact Area | Monetary Impact |
|  | 1 | None. | None. |
|  | 2 |  |  |
|  | 3 |  |  |
|  | 4 |  |  |
| Market Benefit |  | Impact Area | Monetary Impact |
|  | 1 | Improved transparency of the process used to create and update the TPIT information. | None. |
|  | 2 |  |  |
|  | 3 |  |  |
|  | 4 |  |  |
| Additional Qualitative Information | 1 |  |  |
|  | 2 |  |  |
|  | 3 |  |  |
|  | 4 |  |  |
| Other Comments | 1 |  |  |
|  | 2 |  |  |
|  | 3 |  |  |
|  | 4 |  |  |

| Sponsor |  |
| --- | --- |
| Name | Rob Lane on behalf of the PLWG |
| E-mail Address | Robert.Lane@luminant.com |
| Company | Luminant |
| Phone Number | (214) 875-8063 |
| Cell Number |  |
| Market Segment | Investor Owned Utility (IOU) |

| Market Rules Staff Contact |  |
| --- | --- |
| Name | Yvette M. Landin |
| E-Mail Address | ylandin@ercot.com |
| Phone Number | (512) 248-4513 |

| Comments Received |  |
| --- | --- |
| Comment Author | Comment Summary |
| CenterPoint Energy 022511 | Proposed language changes to better align the language with current requirements and practices. |

Proposed Guide Language Revision

ERCOT Planning Guide

Section 6: Data/Modeling

Month Day, Year

# DATA/MODELING

- 6.1	Intentionally Left Blank

- 6.2	Intentionally Left Blank

- 6.3	Intentionally Left Blank

- 6.4	Transmission Project Information and Tracking Report and Data Requirements

- 6.4.1	Transmission Project Information and Tracking Report

(1)	The ERCOT Transmission Project and Information Tracking (TPIT) report presents the current quarterly status of the transmission projects (60 kV and above) that have a material impact to the flow of power in the ERCOT System.  The TPIT report communicates the status to the stakeholders through the TPIT Database.  The TPIT Database has four primary sections:

(a)	Future Projects;

(b)	Completed Projects;

(c)	Cancelled Projects; and

(d)	Five-Year Transmission Plan Projects.

(2)	Transmission projects listed in the current TPIT Future Projects and Completed Project sections are generally modeled in the current set of Steady State Working Group (SSWG) Load flow cases used for transmission planning studies except for, but not limited to the following exceptions:

(a)	Any project that requires Regional Planning Group (RPG) review and has not completed the review process;

(b)	Any project with a projected in-service date beyond the five-year planning horizon; or

(c)	Any project that consists of only a Special Protection System (SPS) (which is not typically modeled);

(d)	In addition, each project listing includes a data field that delineates whether that project is included in the aforementioned SSWG cases.

- 6.4.2	ERCOT Responsibilities

ERCOT shall prepare TPIT updates using data supplied by each Transmission Service Provider (TSP), or it’s Designated Agent.  ERCOT shall maintain a section within the TPIT Database that describes each data element as well as identify the Entity responsible for supplying the data within each data element.  The updated TPIT Database shall be posted quarterly on the Market Information System (MIS) Public Area.  The format and schedule for data collection and verification of the TPIT Database shall be determined by ERCOT and communicated to the appropriate Market Participants in a timely manner.

- 6.4.3	TSP Responsibilities

TPIT provides information on transmission projects that are included in current TSP plans or included in the ERCOT Five-Year Transmission Plan.  Each TSP shall provide information for its transmission projects to ERCOT as outlined in the TPIT Procedures.

- 6.4.4 	Five-Year Transmission Plan Projects in Transmission Project Information and Tracking Report

Each year, with input from stakeholders, ERCOT develops a Five-Year Transmission Plan that identifies a set of reliability-driven and economic-driven transmission projects based on the current SSWG planning Base Cases.  Transmission projects identified in the Five-Year Transmission Plan are typically at varying stages within the planning process and thus, are subject to change.  When a Five-Year Plan Transmission Plan project is deemed appropriate for inclusion in the SSWG planning Base Cases, the TSP shall initiate inclusion of the project in the Future Projects section of TPIT, and ERCOT shall assign a TPIT project number.  The project shall also remain in the Five-Year Transmission Plan section of the TPIT.