Rio Grande Reliability Review Presentation Questions

Questions :

- What is a “reasonable variation” as it applies to transmission planning studies?

- How are TO’s applying reasonable variations to transmission planning studies?

- To what level of prescriptiveness should these reasonable variations be defined to enable affirmative demonstration of NERC/TRE compliance?

  - Prescriptive language (e.g. 1 in 10 yr, or 1 in 20 yr weather) and show completion checkmarks?

  - Leave vague, but describe methods for each project?

  - Other?

- What variations should be considered?

  - 1 in 10 year peak load levels, 1 in 20 year peak load levels?

  - Historically typical generator de-rates, planned outages, forced outages (State of the Market Report)?

  - Dynamic line ratings correlated to high temperature / high load conditions?

  - How should power transfers be applied?

- How should operating practices be applied to transmission planning studies, such as the 1400 MW import capacity into the Rio Grande Valley for planning, while operators limit import to 1100 MW?

What other planning methods should be considered to meet the “reasonable variations” requirement?