OWG Meeting Notes 03/07/11

Attendance:

Billy Lee		GP&L (TO)

Larry Parr		CPS Energy (TO)

Brad Calhoun		CNP (TO)

Ross Owen		Oncor (TO)

Robert Avila		BPUB (TO)

Jeff Sims		CPS Energy (TO)

Stan Morris		TNMP (TO)

Frank Owens   	TMPA	(TO)

Jack Thormahlen	LCRA (QSE)

Rick Keetch		Reliant Energy

John Moore		BTU (TO)

Kelly Blackmer	ERCOT

Stephen Bone		CPS Energy (TO)

Brenda Hampton	Luminant (QSE)

Wayne Bolton 	BEPC (QSE)

Linda Rodriquez 	 AEP (TO)

Yvette Landin		ERCOT

Walter Reid		Wind Coalition

Colleen Frosch	ERCOT

Rand Westbrook	CNP (TO)

Jimmy Hartmann	ERCOT

Steve Bolle 		STEC (TO)

Richard Smith		EPE

9:00 Meeting opened with Antitrust Admonition by Frank Owens.

ROS meeting Report –No NOGRR up for vote, ROS did ask OWG to review the 2/2/11 event and determine any changes to NPRR/NOGRR that need to be made.

The February meeting notes were reviewed.

All action items are highlighted in green

NOGRR 043 Synchronization with OGRR208, Voltage Ride-Through (VRT) Requirement –

ERCOT Planning and Wind Coalition to resolve, carryover to next month.  No discussion.

NOGRR 056 Synchronization with NPRR291, Reduce the Comment Period for NPRRs and SCRs – Reviewed no impact IA, recommended to move forward to ROS.

NOGRR 058 Deletion of Section 5, Planning – Reviewed IA, no project required.  Recommended to move forward to ROS.

NOGRR 060 Updating the term Resource Plan to Current Operating Plan – Reviewed language, will come back with IA next month.

NOGRR 061 Posting Requirement for Hydro-Responsive Testing – Reviewed language, will come back with IA next month.

NOGRR 062 Require Voltage Ride-Through Requirements for Wind-powered Generation Resources – Reviewed language with some discussion.  Walter Reid commented that this should expand to other technologies.  There may be some issues with having Hydro included in IRRs.  OWG will make comments to ROS with their concerns.

NPRR 306 Revisions to Protected Information to Include Black Start Documents Considered CEII – Frank stated action item needed to revisit next month.

NPRR 315 Revision of Responsive Reserve Measure to Net Dependable Capability – ERCOT stated that they do not support this change since it will likely result in an over stating of Responsive Reserve.  Luminant stated that you are still required to provide what you say you will provide whether it is HSL or Net Dependable Capability.  Does this change only affect governor response?  After much discussion, OWG will recommend to ROS to have PDCWG look at this.

NPRR 317 Clarification of Entity Responsible for Hydro – OWG will file comments to endorse this NPRR.

Operations Report – Reviewed report.

Operations Task Force Report – Jack gave update on daft NPRR/NOGRR dealing with voltage and voltage profile.  Centerpoint commented that this NPRR/NOGRR does not resolve the issue with concerns +/- 2 % or +/- 5 % but is not needed to resolve issues.  CNP issues can be resolved in the ERCOT SOL methodology.  Much discussion, Jack will follow-up with John Adams

OTF met to draft an NPRR/NOGRR to add Cold Weather Watch and Severe Cold Weather Watch definitions.  Much discussion, Reliant asked about adding time frame for being below freezing. BTU stated that it seems like we are treating the symptom, on the 2/2 it was that the Resources could not stay on-line or could not start up.  Luminant stated that several Task Forces are working on root cause and improvements needed.  This also needs to flush out the money part. OWG made edits to make it clear that ERCOT would procure 3450 MW of Responsive Reserve under Watch conditions but the requirement would still remain 2300 MW.  OWG did not reach consensus on moving forward.  TNMP will sponsor the NPRR and NOGRR on a normal timeline.

Black Start Task Force Report – Meeting coming up in March with several items that need to be discussed, NDA, RFP for black start units, allowing more time for TSP to put their black start plan together.  ONCOR asked about response for black start training in July, ERCOT reports a little short.  If anyone has not responded, please do.

Compliance Report – Texas RE not present

System Operations Report – No report.

Other Items:

Billy Lee gave update on Personnel Certification Governance Committee (PCGC).