## Revisions
1. version 1 was created on 4/21/2011.

## Notes
The Business as Usual, High Economic Load Forecast (version 1) is based on the following economic data and weather data:
1. | Moody's high case economic forecast from March 2011 was used to provide a county level forecast for non-farm employment.
2. | 15 years of weather data (1996 - 2010) was used in the following manner:
| A. | Group the weather data by weather zone. Perform the following calculations for each weather zone:
|  | i. | For each calendar month, calculate the average monthly temperature, the maximum monthly temperature, and the minimum monthly temperature.
This results in 15 sets of monthly temperature values (one set for each of the weather years from 1996 to 2010) for each weather zone.
|  | ii. | Rank the average temperatures for each month from lowest to highest
(with rank of 1 being assigned to the smallest value, 2 to the next smallest value, and so on with a rank of 15 being assigned to the largest value).
|  | iii. | Rank the maximum temperatures for each month from lowest to highest
(with rank of 1 being assigned to the smallest value, 2 to the next smallest value, and so on with a rank of 15 being assigned to the largest value).
|  | iv. | Rank the minimum temperatures for each month from lowest to highest
(with rank of 1 being assigned to the smallest value, 2 to the next smallest value, and so on with a rank of 15 being assigned to the largest value).
|  | v. | Note that the median temperature (50th percentile) is identified with a rank of 8.
3. | Determine the median (50th percentile) weather month:
| A. | For each weather zone.
|  | i. | For the months of January, February, March, and Dec:
|  |  | a. | Select the weather data from the historical month based on the sum of the average temperature rank plus the minimum temperature rank .
Select the historical month where this sum is closest to 16 (16 represents the median of the sum of the average temperature rank plus the minimum temperature rank).
|  | ii. | For the months of May through October:
|  |  | b. | Select the weather data from the historical month based on the sum of the average temperature rank plus the maximum temperature rank.
Select the historical month where this sum is closest to 16 (16 represents the median of the sum of the average temperature rank plus the maximum temperature rank).
|  | iii. | For the months of April and November:
|  |  | c. | Select the weather data from the historical month where the average temperature rank is 8.
4. | This load forecast is based on the historical observed levels of Distributive Generation, Energy Efficiency, Demand Response, and Plug-in Electric vehicles.
It does not reflect significant changes in the levels and/or saturation of these load impacts to ERCOT's system peak demand for the forecast timeframe.
Other scenarios will include varying levels of Distributive Generation, Energy Efficiency, Demand Response, and Plug-in Electric vehicles.
This forecast is for the Business as Usual, High Economic sensitivity. This forecast is not the official 2011 ERCOT long-term forecast. The official 2011 ERCOT long-term load forecast will be published later this year.

## ERCOT Region Data
ERCOT Region | [5 empty] | Actual
Year | Mean (GW) | StdDev (GW) | Min (GW) | Max (GW) | GWh | Max (GW) | GWh
2002 | [5 empty] | 56.086 | 280750.077
2003 | [5 empty] | 60.036 | 284960.39
2004 | [5 empty] | 58.507 | 289117.029
2005 | [5 empty] | 60.215 | 299229.332
2006 | [5 empty] | 62.339 | 305716.035
2007 | [5 empty] | 62.187 | 307783.177
2008 | [5 empty] | 62.179 | 312460.058
2009 | [5 empty] | 63.4 | 308278.171
2010 | [5 empty] | 65.782 | 319258.947
2011 | 36.6587 | 8.289 | 21.494 | 62.738 | 321130.347
2012 | 37.8769 | 8.5903 | 22.308 | 64.973 | 332710.815
2013 | 39.3827 | 8.8497 | 23.418 | 67.376 | 344992.159
2014 | 41.0644 | 9.2867 | 23.777 | 69.731 | 359723.724
2015 | 42.5133 | 9.591 | 25.555 | 72.174 | 372416.836
2016 | 43.5978 | 9.9461 | 25.68 | 74.76 | 382962.715
2017 | 44.7675 | 10.1177 | 25.635 | 76.55 | 392163.652
2018 | 45.7772 | 10.2871 | 26.771 | 78.236 | 401008.5
2019 | 46.7515 | 10.5103 | 27.843 | 79.901 | 409542.713
2020 | 47.5905 | 10.8062 | 27.667 | 80.917 | 418034.564
2021 | 48.7167 | 10.9937 | 29.311 | 82.655 | 426758.595
2022 | 49.6855 | 11.2374 | 29.225 | 84.954 | 435245.044
2023 | 50.6168 | 11.4462 | 28.898 | 86.557 | 443403.584
2024 | 51.4126 | 11.6844 | 29.599 | 88.115 | 451608.139
2025 | 52.4905 | 11.8442 | 30.464 | 89.002 | 459816.656
2026 | 53.472 | 12.0595 | 32.018 | 90.757 | 468414.807
2027 | 54.4937 | 12.3123 | 32.767 | 92.502 | 477364.981
2028 | 55.4161 | 12.7021 | 31.674 | 95.086 | 486775.383
2029 | 56.6501 | 12.7615 | 33.088 | 96.9 | 496254.658
2030 | 57.7939 | 13.0281 | 34.338 | 98.866 | 506274.715
Notes:
1. | All GW values are calculated on an hourly basis.
2. | Year - calendar year.
3. | Mean (GW) - the average demand in GW for the ERCOT region.
4. | StdDev (GW) - the standard deviation of demand in GW for the ERCOT region.
5. | Min (GW) - the minimum demand in GW for the ERCOT region.
6. | Max (GW) - the maximum demand in GW for the ERCOT region.
7. | GWh - the total energy in GWh for the ERCOT region.
8. | This forecast is for the Business as Usual, High Economic sensitivity. This forecast is not the official 2011 ERCOT long-term forecast. The official 2011 ERCOT long-term load forecast will be published later this year.

## Weather Zone Data
NORTH Weather Zone | [6 empty] | NCENT Weather Zone | [5 empty] | EAST Weather Zone | [5 empty] | FAR WEST Weather Zone | [5 empty] | WEST Weather Zone | [5 empty] | SCENT Weather Zone | [5 empty] | COAST Weather Zone | [5 empty] | SOUTH Weather Zone
Year | Mean (GW) | StdDev (GW) | Min (GW) | Max (GW) | ERCOT CP (GW) | GWh | Mean (GW) | StdDev (GW) | Min (GW) | Max (GW) | ERCOT CP (GW) | GWh | Mean (GW) | StdDev (GW) | Min (GW) | Max (GW) | ERCOT CP (GW) | GWh | Mean (GW) | StdDev (GW) | Min (GW) | Max (GW) | ERCOT CP (GW) | GWh | Mean (GW) | StdDev (GW) | Min (GW) | Max (GW) | ERCOT CP (GW) | GWh | Mean (GW) | StdDev (GW) | Min (GW) | Max (GW) | ERCOT CP (GW) | GWh | Mean (GW) | StdDev (GW) | Min (GW) | Max (GW) | ERCOT CP (GW) | GWh | Mean (GW) | StdDev (GW) | Min (GW) | Max (GW) | ERCOT CP (GW) | GWh
2011 | 922.0412 | 252.4339 | 300 | 1781 | 1547 | 8077081 | 12450.2929 | 3308.4776 | 6392 | 23558 | 23210 | 109064566 | 1418.4557 | 352.2865 | 490 | 2692 | 2493 | 12425672 | 1331.0841 | 180.036 | 927 | 1988 | 1824 | 11660297 | 1053.5543 | 222.4759 | 616 | 1834 | 1780 | 9229136 | 6069.0556 | 1575.7566 | 2632 | 10851 | 9791 | 53164927 | 10453.7358 | 2339.8287 | 6088 | 18111 | 17408 | 91574726 | 2960.4388 | 727.366 | 1206 | 5007 | 4685 | 25933444
2012 | 943.3536 | 256.8114 | 371 | 1828 | 1586 | 8286418 | 12867.0546 | 3447.0406 | 6232 | 24097 | 24057 | 113024208 | 1454.4739 | 356.1008 | 596 | 2736 | 2558 | 12776099 | 1366.9041 | 182.8336 | 975 | 2038 | 1872 | 12006886 | 1075.6142 | 228.2378 | 520 | 1866 | 1823 | 9448195 | 6282.5165 | 1644.6851 | 2892 | 11534 | 10154 | 55185625 | 10837.2883 | 2444.0203 | 5977 | 18097 | 18097 | 95194740 | 3049.6751 | 757.8728 | 1172 | 5176 | 4826 | 26788346
2013 | 976.0379 | 261.3252 | 413 | 1820 | 1638 | 8550092 | 13378.2232 | 3576.1101 | 6193 | 25309 | 24951 | 117193235 | 1510.4495 | 366.0982 | 610 | 2834 | 2655 | 13231538 | 1408.8305 | 186.6668 | 1004 | 2091 | 1926 | 12341355 | 1110.3309 | 235.7209 | 622 | 1947 | 1874 | 9726499 | 6565.2663 | 1708.32 | 3087 | 12007 | 10583 | 57511733 | 11261.5485 | 2501.0376 | 5964 | 18739 | 18739 | 98651165 | 3171.9599 | 764.4921 | 1662 | 5372 | 5010 | 27786369
2014 | 1009.1735 | 274.3185 | 415 | 1883 | 1713 | 8840360 | 13969.2416 | 3778.8895 | 6902 | 26471 | 25801 | 122370556 | 1571.159 | 385.0698 | 589 | 2976 | 2720 | 13763353 | 1458.9235 | 197.9881 | 1028 | 2163 | 1995 | 12780170 | 1146.9032 | 241.421 | 696 | 2011 | 1933 | 10046872 | 6887.3031 | 1800.4693 | 2748 | 12620 | 11556 | 60332775 | 11713.0882 | 2590.5327 | 6251 | 20336 | 18659 | 102606653 | 3308.5397 | 809.4636 | 1291 | 5606 | 5354 | 28982808
2015 | 1035.3994 | 282.1542 | 440 | 1994 | 1753 | 9070099 | 14483.4967 | 3871.5446 | 7243 | 27426 | 26773 | 126875431 | 1623.2358 | 394.4064 | 614 | 3075 | 2805 | 14219546 | 1500.3707 | 206.2784 | 1073 | 2234 | 2058 | 13143247 | 1176.1313 | 249.9997 | 697 | 2058 | 1980 | 10302910 | 7171.1849 | 1893.3557 | 2797 | 13144 | 12019 | 62819580 | 12093.8303 | 2681.6398 | 6948 | 20954 | 19244 | 105941953 | 3429.5519 | 836.9997 | 1305 | 5809 | 5542 | 30042875
2016 | 1052.5511 | 290.1385 | 345 | 2032 | 1765 | 9245609 | 14890.1532 | 3979.1703 | 7675 | 28228 | 27811 | 130795106 | 1661.0748 | 414.673 | 577 | 3155 | 2921 | 14590881 | 1532.5361 | 209.1939 | 1045 | 2296 | 2099 | 13461797 | 1197.2643 | 256.7049 | 705 | 2085 | 2023 | 10516770 | 7380.0858 | 1941.0167 | 3263 | 13249 | 11936 | 64826674 | 12365.672 | 2803.2055 | 7245 | 21466 | 20632 | 108620063 | 3518.3544 | 855.4046 | 1617 | 5966 | 5573 | 30905225
2017 | 1075.1128 | 291.3008 | 397 | 2069 | 1791 | 9417988 | 15305.0856 | 4072.9496 | 7330 | 28695 | 28522 | 134072550 | 1707.6946 | 425.543 | 650 | 3236 | 2997 | 14959405 | 1567.0776 | 207.7025 | 1110 | 2328 | 2138 | 13727600 | 1224.486 | 256.2944 | 670 | 2116 | 2066 | 10726497 | 7613.0221 | 1981.3986 | 3511 | 13652 | 12280 | 66690074 | 12658.8834 | 2840.3266 | 6980 | 21902 | 21049 | 110891819 | 3616.0966 | 884.0793 | 1391 | 6121 | 5707 | 31677006
2018 | 1092.2848 | 293.3665 | 428 | 2106 | 1827 | 9568415 | 15682.5394 | 4173.0345 | 7599 | 29308 | 29222 | 137379045 | 1741.949 | 420.976 | 700 | 3269 | 3055 | 15259473 | 1593.9631 | 210.2148 | 1132 | 2374 | 2175 | 13963117 | 1245.5219 | 260.4893 | 674 | 2155 | 2105 | 10910772 | 7813.7672 | 2029.434 | 3116 | 14319 | 12574 | 68448601 | 12913.9986 | 2882.6744 | 7065 | 21456 | 21456 | 113126628 | 3693.1612 | 907.4814 | 1343 | 6255 | 5822 | 32352092
2019 | 1112.0981 | 298.0167 | 471 | 2082 | 1864 | 9741979 | 16046.8758 | 4286.025 | 7459 | 30318 | 29889 | 140570632 | 1783.0137 | 432.1801 | 723 | 3349 | 3129 | 15619200 | 1623.0645 | 215.1432 | 1151 | 2424 | 2219 | 14218045 | 1271.2983 | 269.7716 | 714 | 2224 | 2149 | 11136573 | 7999.8094 | 2078.9769 | 3728 | 14663 | 12874 | 70078330 | 13144.658 | 2912.9918 | 6985 | 21829 | 21829 | 115147204 | 3770.6095 | 907.4731 | 1984 | 6388 | 5948 | 33030539
2020 | 1128.2316 | 308.7663 | 484 | 2180 | 1916 | 9910386 | 16373.3512 | 4402.8652 | 7714 | 31016 | 30277 | 143823517 | 1817.3788 | 444.3873 | 692 | 3452 | 3148 | 15963855 | 1648.9475 | 227.8967 | 1140 | 2478 | 2260 | 14484355 | 1293.072 | 277.3369 | 723 | 2272 | 2185 | 11358344 | 8156.642 | 2166.9195 | 3176 | 14999 | 13684 | 71647943 | 13337.1311 | 2976.9401 | 7662 | 23129 | 21242 | 117153360 | 3835.5489 | 943.0339 | 1517 | 6513 | 6205 | 33691462
2021 | 1153.2088 | 312.7956 | 453 | 2217 | 1935 | 10102109 | 16795.7555 | 4477.0832 | 8372 | 31754 | 31292 | 147130818 | 1865.3791 | 457.0025 | 683 | 3532 | 3271 | 16340721 | 1683.1291 | 225.4733 | 1223 | 2507 | 2300 | 14744211 | 1323.0524 | 282.8685 | 765 | 2319 | 2210 | 11589939 | 8362.9745 | 2183.9078 | 3691 | 14975 | 13447 | 73259657 | 13611.3091 | 3021.1843 | 7333 | 23545 | 22011 | 119235068 | 3921.8414 | 941.1916 | 1804 | 6555 | 6189 | 34355331
2022 | 1172.4994 | 319.3669 | 383 | 2254 | 1958 | 10271095 | 17179.2192 | 4558.9825 | 8846 | 32472 | 31993 | 150489960 | 1904.5182 | 471.5187 | 661 | 3606 | 3338 | 16683579 | 1712.7321 | 228.5259 | 1201 | 2557 | 2337 | 15003533 | 1350.3373 | 283.423 | 792 | 2343 | 2274 | 11828955 | 8539.4492 | 2215.8076 | 3735 | 15285 | 13756 | 74805575 | 13834.3089 | 3091.6276 | 8094 | 23927 | 22998 | 121188546 | 3992.3671 | 976.2548 | 1634 | 6746 | 6300 | 34973136
2023 | 1191.7846 | 322.8066 | 440 | 2291 | 1984 | 10440033 | 17543.2393 | 4666.0505 | 8410 | 32886 | 32678 | 153678776 | 1943.7187 | 483.9806 | 740 | 3680 | 3407 | 17026976 | 1741.5253 | 231.1465 | 1233 | 2588 | 2376 | 15255762 | 1376.3638 | 287.5995 | 754 | 2381 | 2326 | 12056947 | 8710.6683 | 2264.7477 | 4033 | 15629 | 14040 | 76305454 | 14049.5398 | 3150.2995 | 7736 | 24295 | 23349 | 123073969 | 4059.9159 | 991.3603 | 1568 | 6871 | 6397 | 35564863
2024 | 1206.6916 | 323.5329 | 514 | 2262 | 2026 | 10599579 | 17872.3667 | 4796.0645 | 8330 | 33829 | 33350 | 156990869 | 1976.6516 | 484.3667 | 688 | 3722 | 3477 | 17362908 | 1764.1112 | 234.6263 | 1243 | 2649 | 2412 | 15495953 | 1397.6538 | 298.367 | 719 | 2454 | 2370 | 12276991 | 8858.1924 | 2340.7256 | 3553 | 16288 | 14290 | 77810362 | 14223.0156 | 3195.1103 | 7580 | 23682 | 23682 | 124934969 | 4113.8748 | 1022.0961 | 1504 | 6982 | 6508 | 36136276
2025 | 1227.5796 | 333.2371 | 507 | 2289 | 2081 | 10753597 | 18283.293 | 4927.2224 | 9069 | 34549 | 33675 | 160161647 | 2017.1587 | 493.4969 | 761 | 3822 | 3478 | 17670310 | 1791.9194 | 241.7901 | 1253 | 2679 | 2444 | 15697214 | 1425.309 | 299.0391 | 859 | 2493 | 2396 | 12485707 | 9066.2693 | 2357.4124 | 3587 | 16618 | 15158 | 79420519 | 14491.142 | 3186.9999 | 7750 | 25087 | 23018 | 126942404 | 4187.7885 | 1019.9774 | 1655 | 7092 | 6752 | 36685027
2026 | 1240.4694 | 337.4002 | 529 | 2384 | 2096 | 10866512 | 18671.9481 | 4980.1841 | 9307 | 35295 | 34455 | 163566265 | 2047.1387 | 496.5129 | 777 | 3872 | 3530 | 17932935 | 1812.1809 | 248.586 | 1288 | 2709 | 2481 | 15874705 | 1443.6987 | 306.5136 | 851 | 2525 | 2428 | 12646801 | 9263.8697 | 2436.8822 | 3596 | 16977 | 15493 | 81151499 | 14740.5739 | 3257.3243 | 8443 | 25495 | 23415 | 129127427 | 4251.9586 | 1034.364 | 1632 | 7193 | 6859 | 37247157
2027 | 1254.1358 | 340.0878 | 493 | 2412 | 2105 | 10986230 | 19061.5001 | 5078.2244 | 9505 | 36020 | 35495 | 166978741 | 2079.4177 | 509.3237 | 760 | 3940 | 3642 | 18215699 | 1833.4032 | 245.5122 | 1337 | 2739 | 2502 | 16060612 | 1463.9611 | 312.7215 | 846 | 2565 | 2444 | 12824299 | 9476.0216 | 2474.126 | 4186 | 16959 | 15238 | 83009949 | 15004.0864 | 3329.3394 | 8081 | 25952 | 24261 | 131435797 | 4321.0984 | 1036.4469 | 1991 | 7226 | 6815 | 37852822
2028 | 1262.8505 | 345.028 | 468 | 2440 | 2112 | 11092879 | 19416.4434 | 5225.3045 | 9327 | 36473 | 36243 | 170554039 | 2105.4029 | 526.6401 | 804 | 4001 | 3699 | 18493859 | 1850.8888 | 248.4167 | 1314 | 2783 | 2532 | 16258207 | 1479.0937 | 310.2559 | 809 | 2568 | 2509 | 12992359 | 9675.627 | 2557.7182 | 4238 | 17410 | 15649 | 84990708 | 15243.438 | 3460.7576 | 8424 | 26443 | 25414 | 133898359 | 4382.296 | 1080.4808 | 1800 | 7442 | 6928 | 38494088
2029 | 1280.124 | 343.779 | 504 | 2468 | 2141 | 11213886 | 19862.7554 | 5282.4355 | 9630 | 37108 | 36999 | 173997737 | 2142.8384 | 517.9649 | 862 | 4022 | 3757 | 18771264 | 1877.7131 | 247.5169 | 1332 | 2808 | 2560 | 16448767 | 1502.6444 | 314.4582 | 814 | 2600 | 2540 | 13163165 | 9941.4515 | 2581.6674 | 3967 | 18217 | 15998 | 87087115 | 15571.9003 | 3473.2744 | 8520 | 25862 | 25862 | 136409847 | 4470.5989 | 1097.9648 | 1630 | 7569 | 7043 | 39162446
2030 | 1293.8139 | 346.0001 | 549 | 2415 | 2163 | 11333810 | 20289.8821 | 5417.044 | 9433 | 38329 | 37787 | 177739367 | 2175.9374 | 526.8287 | 882 | 4083 | 3814 | 19061212 | 1901.2307 | 251.7286 | 1351 | 2839 | 2595 | 16654781 | 1521.9829 | 322.7811 | 858 | 2668 | 2568 | 13332570 | 10190.2331 | 2648.5657 | 4753 | 18673 | 16402 | 89266442 | 15869.3848 | 3517.1455 | 8430 | 26360 | 26360 | 139015811 | 4551.4223 | 1094.2742 | 2394 | 7702 | 7177 | 39870459
Notes:
1. | ERCOT consists of 8 weather zones.
2. | All GW values are calculated on an hourly basis.
3. | Year - calendar year.
4. | Mean (GW) - the average demand in GW for the individual weather zone.
5. | StdDev (GW) - the standard deviation of demand in GW for the individual weather zone.
6. | Min (GW) - the minimum demand in GW for the individual weather zone.
7. | Max (GW) - the maximum demand in GW for the individual weather zone.
8. | ERCOT CP (GW) - the demand in GW at the time of ERCOT's peak for the individual weather zone.
9. | GWh - the total energy in GWh for the individual weather zone.
10. | This forecast is for the Business as Usual, High Economic sensitivity. This forecast is not the official 2011 ERCOT long-term forecast. The official 2011 ERCOT long-term load forecast will be published later this year.
year | mw_Mean | mw_StdDev | mw_Min | mw_Max |  | mw_Sum | mw_Mean | mw_StdDev | mw_Min | mw_Max |  | mw_Sum | mw_Mean | mw_StdDev | mw_Min | mw_Max |  | mw_Sum | mw_Mean | mw_StdDev | mw_Min | mw_Max |  | mw_Sum | mw_Mean | mw_StdDev | mw_Min | mw_Max |  | mw_Sum | mw_Mean | mw_StdDev | mw_Min | mw_Max |  | mw_Sum | mw_Mean | mw_StdDev | mw_Min | mw_Max |  | mw_Sum | mw_Mean | mw_StdDev | mw_Min | mw_Max |  | mw_Sum
2011 | 922.0412 | 252.4339 | 300 | 1781 | 1547 | 8077081 | 12450.2929 | 3308.4776 | 6392 | 23558 | 23210 | 109064566 | 1418.4557 | 352.2865 | 490 | 2692 | 2493 | 12425672 | 1331.0841 | 180.036 | 927 | 1988 | 1824 | 11660297 | 1053.5543 | 222.4759 | 616 | 1834 | 1780 | 9229136 | 6069.0556 | 1575.7566 | 2632 | 10851 | 9791 | 53164927 | 10453.7358 | 2339.8287 | 6088 | 18111 | 17408 | 91574726 | 2960.4388 | 727.366 | 1206 | 5007 | 4685 | 25933444
2012 | 943.3536 | 256.8114 | 371 | 1828 | 1586 | 8286418 | 12867.0546 | 3447.0406 | 6232 | 24097 | 24057 | 113024208 | 1454.4739 | 356.1008 | 596 | 2736 | 2558 | 12776099 | 1366.9041 | 182.8336 | 975 | 2038 | 1872 | 12006886 | 1075.6142 | 228.2378 | 520 | 1866 | 1823 | 9448195 | 6282.5165 | 1644.6851 | 2892 | 11534 | 10154 | 55185625 | 10837.2883 | 2444.0203 | 5977 | 18097 | 18097 | 95194740 | 3049.6751 | 757.8728 | 1172 | 5176 | 4826 | 26788346
2013 | 976.0379 | 261.3252 | 413 | 1820 | 1638 | 8550092 | 13378.2232 | 3576.1101 | 6193 | 25309 | 24951 | 117193235 | 1510.4495 | 366.0982 | 610 | 2834 | 2655 | 13231538 | 1408.8305 | 186.6668 | 1004 | 2091 | 1926 | 12341355 | 1110.3309 | 235.7209 | 622 | 1947 | 1874 | 9726499 | 6565.2663 | 1708.32 | 3087 | 12007 | 10583 | 57511733 | 11261.5485 | 2501.0376 | 5964 | 18739 | 18739 | 98651165 | 3171.9599 | 764.4921 | 1662 | 5372 | 5010 | 27786369
2014 | 1009.1735 | 274.3185 | 415 | 1883 | 1713 | 8840360 | 13969.2416 | 3778.8895 | 6902 | 26471 | 25801 | 122370556 | 1571.159 | 385.0698 | 589 | 2976 | 2720 | 13763353 | 1458.9235 | 197.9881 | 1028 | 2163 | 1995 | 12780170 | 1146.9032 | 241.421 | 696 | 2011 | 1933 | 10046872 | 6887.3031 | 1800.4693 | 2748 | 12620 | 11556 | 60332775 | 11713.0882 | 2590.5327 | 6251 | 20336 | 18659 | 102606653 | 3308.5397 | 809.4636 | 1291 | 5606 | 5354 | 28982808
2015 | 1035.3994 | 282.1542 | 440 | 1994 | 1753 | 9070099 | 14483.4967 | 3871.5446 | 7243 | 27426 | 26773 | 126875431 | 1623.2358 | 394.4064 | 614 | 3075 | 2805 | 14219546 | 1500.3707 | 206.2784 | 1073 | 2234 | 2058 | 13143247 | 1176.1313 | 249.9997 | 697 | 2058 | 1980 | 10302910 | 7171.1849 | 1893.3557 | 2797 | 13144 | 12019 | 62819580 | 12093.8303 | 2681.6398 | 6948 | 20954 | 19244 | 105941953 | 3429.5519 | 836.9997 | 1305 | 5809 | 5542 | 30042875
2016 | 1052.5511 | 290.1385 | 345 | 2032 | 1765 | 9245609 | 14890.1532 | 3979.1703 | 7675 | 28228 | 27811 | 130795106 | 1661.0748 | 414.673 | 577 | 3155 | 2921 | 14590881 | 1532.5361 | 209.1939 | 1045 | 2296 | 2099 | 13461797 | 1197.2643 | 256.7049 | 705 | 2085 | 2023 | 10516770 | 7380.0858 | 1941.0167 | 3263 | 13249 | 11936 | 64826674 | 12365.672 | 2803.2055 | 7245 | 21466 | 20632 | 108620063 | 3518.3544 | 855.4046 | 1617 | 5966 | 5573 | 30905225
2017 | 1075.1128 | 291.3008 | 397 | 2069 | 1791 | 9417988 | 15305.0856 | 4072.9496 | 7330 | 28695 | 28522 | 134072550 | 1707.6946 | 425.543 | 650 | 3236 | 2997 | 14959405 | 1567.0776 | 207.7025 | 1110 | 2328 | 2138 | 13727600 | 1224.486 | 256.2944 | 670 | 2116 | 2066 | 10726497 | 7613.0221 | 1981.3986 | 3511 | 13652 | 12280 | 66690074 | 12658.8834 | 2840.3266 | 6980 | 21902 | 21049 | 110891819 | 3616.0966 | 884.0793 | 1391 | 6121 | 5707 | 31677006
2018 | 1092.2848 | 293.3665 | 428 | 2106 | 1827 | 9568415 | 15682.5394 | 4173.0345 | 7599 | 29308 | 29222 | 137379045 | 1741.949 | 420.976 | 700 | 3269 | 3055 | 15259473 | 1593.9631 | 210.2148 | 1132 | 2374 | 2175 | 13963117 | 1245.5219 | 260.4893 | 674 | 2155 | 2105 | 10910772 | 7813.7672 | 2029.434 | 3116 | 14319 | 12574 | 68448601 | 12913.9986 | 2882.6744 | 7065 | 21456 | 21456 | 113126628 | 3693.1612 | 907.4814 | 1343 | 6255 | 5822 | 32352092
2019 | 1112.0981 | 298.0167 | 471 | 2082 | 1864 | 9741979 | 16046.8758 | 4286.025 | 7459 | 30318 | 29889 | 140570632 | 1783.0137 | 432.1801 | 723 | 3349 | 3129 | 15619200 | 1623.0645 | 215.1432 | 1151 | 2424 | 2219 | 14218045 | 1271.2983 | 269.7716 | 714 | 2224 | 2149 | 11136573 | 7999.8094 | 2078.9769 | 3728 | 14663 | 12874 | 70078330 | 13144.658 | 2912.9918 | 6985 | 21829 | 21829 | 115147204 | 3770.6095 | 907.4731 | 1984 | 6388 | 5948 | 33030539
2020 | 1128.2316 | 308.7663 | 484 | 2180 | 1916 | 9910386 | 16373.3512 | 4402.8652 | 7714 | 31016 | 30277 | 143823517 | 1817.3788 | 444.3873 | 692 | 3452 | 3148 | 15963855 | 1648.9475 | 227.8967 | 1140 | 2478 | 2260 | 14484355 | 1293.072 | 277.3369 | 723 | 2272 | 2185 | 11358344 | 8156.642 | 2166.9195 | 3176 | 14999 | 13684 | 71647943 | 13337.1311 | 2976.9401 | 7662 | 23129 | 21242 | 117153360 | 3835.5489 | 943.0339 | 1517 | 6513 | 6205 | 33691462
2021 | 1153.2088 | 312.7956 | 453 | 2217 | 1935 | 10102109 | 16795.7555 | 4477.0832 | 8372 | 31754 | 31292 | 147130818 | 1865.3791 | 457.0025 | 683 | 3532 | 3271 | 16340721 | 1683.1291 | 225.4733 | 1223 | 2507 | 2300 | 14744211 | 1323.0524 | 282.8685 | 765 | 2319 | 2210 | 11589939 | 8362.9745 | 2183.9078 | 3691 | 14975 | 13447 | 73259657 | 13611.3091 | 3021.1843 | 7333 | 23545 | 22011 | 119235068 | 3921.8414 | 941.1916 | 1804 | 6555 | 6189 | 34355331
2022 | 1172.4994 | 319.3669 | 383 | 2254 | 1958 | 10271095 | 17179.2192 | 4558.9825 | 8846 | 32472 | 31993 | 150489960 | 1904.5182 | 471.5187 | 661 | 3606 | 3338 | 16683579 | 1712.7321 | 228.5259 | 1201 | 2557 | 2337 | 15003533 | 1350.3373 | 283.423 | 792 | 2343 | 2274 | 11828955 | 8539.4492 | 2215.8076 | 3735 | 15285 | 13756 | 74805575 | 13834.3089 | 3091.6276 | 8094 | 23927 | 22998 | 121188546 | 3992.3671 | 976.2548 | 1634 | 6746 | 6300 | 34973136
2023 | 1191.7846 | 322.8066 | 440 | 2291 | 1984 | 10440033 | 17543.2393 | 4666.0505 | 8410 | 32886 | 32678 | 153678776 | 1943.7187 | 483.9806 | 740 | 3680 | 3407 | 17026976 | 1741.5253 | 231.1465 | 1233 | 2588 | 2376 | 15255762 | 1376.3638 | 287.5995 | 754 | 2381 | 2326 | 12056947 | 8710.6683 | 2264.7477 | 4033 | 15629 | 14040 | 76305454 | 14049.5398 | 3150.2995 | 7736 | 24295 | 23349 | 123073969 | 4059.9159 | 991.3603 | 1568 | 6871 | 6397 | 35564863
2024 | 1206.6916 | 323.5329 | 514 | 2262 | 2026 | 10599579 | 17872.3667 | 4796.0645 | 8330 | 33829 | 33350 | 156990869 | 1976.6516 | 484.3667 | 688 | 3722 | 3477 | 17362908 | 1764.1112 | 234.6263 | 1243 | 2649 | 2412 | 15495953 | 1397.6538 | 298.367 | 719 | 2454 | 2370 | 12276991 | 8858.1924 | 2340.7256 | 3553 | 16288 | 14290 | 77810362 | 14223.0156 | 3195.1103 | 7580 | 23682 | 23682 | 124934969 | 4113.8748 | 1022.0961 | 1504 | 6982 | 6508 | 36136276
2025 | 1227.5796 | 333.2371 | 507 | 2289 | 2081 | 10753597 | 18283.293 | 4927.2224 | 9069 | 34549 | 33675 | 160161647 | 2017.1587 | 493.4969 | 761 | 3822 | 3478 | 17670310 | 1791.9194 | 241.7901 | 1253 | 2679 | 2444 | 15697214 | 1425.309 | 299.0391 | 859 | 2493 | 2396 | 12485707 | 9066.2693 | 2357.4124 | 3587 | 16618 | 15158 | 79420519 | 14491.142 | 3186.9999 | 7750 | 25087 | 23018 | 126942404 | 4187.7885 | 1019.9774 | 1655 | 7092 | 6752 | 36685027
2026 | 1240.4694 | 337.4002 | 529 | 2384 | 2096 | 10866512 | 18671.9481 | 4980.1841 | 9307 | 35295 | 34455 | 163566265 | 2047.1387 | 496.5129 | 777 | 3872 | 3530 | 17932935 | 1812.1809 | 248.586 | 1288 | 2709 | 2481 | 15874705 | 1443.6987 | 306.5136 | 851 | 2525 | 2428 | 12646801 | 9263.8697 | 2436.8822 | 3596 | 16977 | 15493 | 81151499 | 14740.5739 | 3257.3243 | 8443 | 25495 | 23415 | 129127427 | 4251.9586 | 1034.364 | 1632 | 7193 | 6859 | 37247157
2027 | 1254.1358 | 340.0878 | 493 | 2412 | 2105 | 10986230 | 19061.5001 | 5078.2244 | 9505 | 36020 | 35495 | 166978741 | 2079.4177 | 509.3237 | 760 | 3940 | 3642 | 18215699 | 1833.4032 | 245.5122 | 1337 | 2739 | 2502 | 16060612 | 1463.9611 | 312.7215 | 846 | 2565 | 2444 | 12824299 | 9476.0216 | 2474.126 | 4186 | 16959 | 15238 | 83009949 | 15004.0864 | 3329.3394 | 8081 | 25952 | 24261 | 131435797 | 4321.0984 | 1036.4469 | 1991 | 7226 | 6815 | 37852822
2028 | 1262.8505 | 345.028 | 468 | 2440 | 2112 | 11092879 | 19416.4434 | 5225.3045 | 9327 | 36473 | 36243 | 170554039 | 2105.4029 | 526.6401 | 804 | 4001 | 3699 | 18493859 | 1850.8888 | 248.4167 | 1314 | 2783 | 2532 | 16258207 | 1479.0937 | 310.2559 | 809 | 2568 | 2509 | 12992359 | 9675.627 | 2557.7182 | 4238 | 17410 | 15649 | 84990708 | 15243.438 | 3460.7576 | 8424 | 26443 | 25414 | 133898359 | 4382.296 | 1080.4808 | 1800 | 7442 | 6928 | 38494088
2029 | 1280.124 | 343.779 | 504 | 2468 | 2141 | 11213886 | 19862.7554 | 5282.4355 | 9630 | 37108 | 36999 | 173997737 | 2142.8384 | 517.9649 | 862 | 4022 | 3757 | 18771264 | 1877.7131 | 247.5169 | 1332 | 2808 | 2560 | 16448767 | 1502.6444 | 314.4582 | 814 | 2600 | 2540 | 13163165 | 9941.4515 | 2581.6674 | 3967 | 18217 | 15998 | 87087115 | 15571.9003 | 3473.2744 | 8520 | 25862 | 25862 | 136409847 | 4470.5989 | 1097.9648 | 1630 | 7569 | 7043 | 39162446
2030 | 1293.8139 | 346.0001 | 549 | 2415 | 2163 | 11333810 | 20289.8821 | 5417.044 | 9433 | 38329 | 37787 | 177739367 | 2175.9374 | 526.8287 | 882 | 4083 | 3814 | 19061212 | 1901.2307 | 251.7286 | 1351 | 2839 | 2595 | 16654781 | 1521.9829 | 322.7811 | 858 | 2668 | 2568 | 13332570 | 10190.2331 | 2648.5657 | 4753 | 18673 | 16402 | 89266442 | 15869.3848 | 3517.1455 | 8430 | 26360 | 26360 | 139015811 | 4551.4223 | 1094.2742 | 2394 | 7702 | 7177 | 39870459

## Non-Farm Employment
| ERCOT Region Aggregate | based on Moody's High Economic Forecast dated 3/3/2011
Year | Non-Farm Employment (Monthly Average at year end)
1990 | 6295
1991 | 6346
1992 | 6475
1993 | 6700
1994 | 6956
1995 | 7184
1996 | 7448
1997 | 7787
1998 | 8047
1999 | 8279
2000 | 8478
2001 | 8465
2002 | 8371
2003 | 8395
2004 | 8566
2005 | 8833
2006 | 9142
2007 | 9429
2008 | 9389
2009 | 9201
2010 | 9418
2011 | 9760
2012 | 10111
2013 | 10520
2014 | 10949
2015 | 11300
2016 | 11597
2017 | 11871
2018 | 12136
2019 | 12390
2020 | 12651
2021 | 12914
2022 | 13165
2023 | 13413
2024 | 13661
2025 | 13916
2026 | 14184
2027 | 14464
2028 | 14751
2029 | 15049
2030 | 15365