## Notes
This file compares the Business as Usual load forecast with the Business as Usual, High Economic load forecast.
1. | The Load Forecast Data tab contains the load forecast for the Business as Usual scenario and the load forecast for the Business as Usual, High Economic sensitivity.
2. | The Non-Farm Employment Data tab contains the non-farm employment forecast for the Business as Usual scenario and the non-farm employment forecast
for the Business as Usual, High Economic sensitivity.
3. | The Comparison Graphs tab contains graphs depicting the data contained in the Load Forecast Data tab and the Non-Farm Employment tab.

## Load Forecast Data
Business as Usual Scenario | [7 empty] | Business as Usual, High Economic Sensitivity
ERCOT Region | [5 empty] | Actual |  | ERCOT Region
Year | Mean (GW) | StdDev (GW) | Min (GW) | Max (GW) | GWh | Max (GW) | GWh | Year | Mean (GW) | StdDev (GW) | Min (GW) | Max (GW) | GWh
2002 | [5 empty] | 56.086 | 280750.077 | 2002
2003 | [5 empty] | 60.036 | 284960.39 | 2003
2004 | [5 empty] | 58.507 | 289117.029 | 2004
2005 | [5 empty] | 60.215 | 299229.332 | 2005
2006 | [5 empty] | 62.339 | 305716.035 | 2006
2007 | [5 empty] | 62.187 | 307783.177 | 2007
2008 | [5 empty] | 62.179 | 312460.058 | 2008
2009 | [5 empty] | 63.4 | 308278.171 | 2009
2010 | [5 empty] | 65.782 | 319258.947 | 2010
2011 | 38.0262 | 8.4067 | 23.221 | 62.958 | 328893.0901 |  |  | 2011 | 36.6587 | 8.289 | 21.494 | 62.738 | 321130.347
2012 | 38.4751 | 8.2656 | 23.145 | 65.009 | 337964.955 |  |  | 2012 | 37.8769 | 8.5903 | 22.308 | 64.973 | 332710.815
2013 | 39.7317 | 8.5165 | 24.055 | 67.053 | 348049.734 |  |  | 2013 | 39.3827 | 8.8497 | 23.418 | 67.376 | 344992.159
2014 | 41.2855 | 8.8042 | 24.983 | 68.837 | 361660.8 |  |  | 2014 | 41.0644 | 9.2867 | 23.777 | 69.731 | 359723.724
2015 | 42.4002 | 9.0318 | 26.175 | 70.694 | 371425.876 |  |  | 2015 | 42.5133 | 9.591 | 25.555 | 72.174 | 372416.836
2016 | 43.1701 | 9.334 | 26.987 | 72.848 | 379206.288 |  |  | 2016 | 43.5978 | 9.9461 | 25.68 | 74.76 | 382962.715
2017 | 44.0649 | 9.5393 | 26.713 | 74.149 | 386008.26 |  |  | 2017 | 44.7675 | 10.1177 | 25.635 | 76.55 | 392163.652
2018 | 44.7931 | 9.5566 | 27.004 | 75.422 | 392387.91 |  |  | 2018 | 45.7772 | 10.2871 | 26.771 | 78.236 | 401008.5
2019 | 45.4758 | 9.7351 | 27.688 | 76.609 | 398367.934 |  |  | 2019 | 46.7515 | 10.5103 | 27.843 | 79.901 | 409542.713
2020 | 46.3052 | 9.8071 | 28.595 | 77.123 | 406745.166 |  |  | 2020 | 47.5905 | 10.8062 | 27.667 | 80.917 | 418034.564
2021 | 46.8783 | 10.0667 | 28.722 | 78.33 | 410654.145 |  |  | 2021 | 48.7167 | 10.9937 | 29.311 | 82.655 | 426758.595
2022 | 47.5443 | 10.2782 | 29.733 | 80.123 | 416488.346 |  |  | 2022 | 49.6855 | 11.2374 | 29.225 | 84.954 | 435245.044
2023 | 48.262 | 10.4493 | 29.247 | 81.208 | 422775.282 |  |  | 2023 | 50.6168 | 11.4462 | 28.898 | 86.557 | 443403.584
2024 | 48.8971 | 10.4337 | 29.75 | 82.269 | 429512.309 |  |  | 2024 | 51.4126 | 11.6844 | 29.599 | 88.115 | 451608.139
2025 | 49.6268 | 10.5494 | 30.12 | 82.58 | 434731.09 |  |  | 2025 | 52.4905 | 11.8442 | 30.464 | 89.002 | 459816.656
2026 | 50.2497 | 10.7018 | 31.033 | 83.777 | 440187.489 |  |  | 2026 | 53.472 | 12.0595 | 32.018 | 90.757 | 468414.807
2027 | 50.8141 | 10.9198 | 31.133 | 84.933 | 445131.424 |  |  | 2027 | 54.4937 | 12.3123 | 32.767 | 92.502 | 477364.981
2028 | 51.607 | 11.2044 | 31.245 | 86.867 | 453316.068 |  |  | 2028 | 55.4161 | 12.7021 | 31.674 | 95.086 | 486775.383
2029 | 52.3174 | 11.1792 | 31.513 | 88.122 | 458300.688 |  |  | 2029 | 56.6501 | 12.7615 | 33.088 | 96.9 | 496254.658
2030 | 53.0647 | 11.3811 | 32.285 | 89.432 | 464846.391 |  |  | 2030 | 57.7939 | 13.0281 | 34.338 | 98.866 | 506274.715
Notes:
1. | All GW values are calculated on an hourly basis.
2. | Year - calendar year.
3. | Mean (GW) - the average demand in GW for the ERCOT region.
4. | StdDev (GW) - the standard deviation of demand in GW for the ERCOT region.
5. | Min (GW) - the minimum demand in GW for the ERCOT region.
6. | Max (GW) - the maximum demand in GW for the ERCOT region.
7. | GWh - the total energy in GWh for the ERCOT region.

## Non-Farm Employment Data
| ERCOT Region Aggregate | ERCOT Region Aggregate
| Non-Farm Employment (Monthly Average at year end) | Non-Farm Employment (Monthly Average at year end)
Year | based on Moody's 2/1/2011 update | based on Moody's High Economic Forecast dated 3/3/2011
2002 | 8361 | 8371
2003 | 8387 | 8395
2004 | 8561 | 8566
2005 | 8836 | 8833
2006 | 9135 | 9142
2007 | 9457 | 9429
2008 | 9402 | 9389
2009 | 9162 | 9201
2010 | 9377 | 9418
2011 | 9697 | 9760
2012 | 10004 | 10111
2013 | 10348 | 10520
2014 | 10700 | 10949
2015 | 10962 | 11300
2016 | 11182 | 11597
2017 | 11381 | 11871
2018 | 11574 | 12136
2019 | 11752 | 12390
2020 | 11933 | 12651
2021 | 12119 | 12914
2022 | 12286 | 13165
2023 | 12452 | 13413
2024 | 12615 | 13661
2025 | 12782 | 13916
2026 | 12959 | 14184
2027 | 13146 | 14464
2028 | 13337 | 14751
2029 | 13531 | 15049
2030 | 13742 | 15365