DISCUSSION NOTES

LRIS 3/10/11

PROBLEM WE ARE TRYING TO SOLVE:

Under current market design, Loads cannot participate through ISO economic dispatch in the real-time market.

DISCUSSION ITEMS:

- Lack of availability of LMPz every 5 minutes via ICCP.

  - develop an SCR to make LMPz available in EMS)

- Lack of advance notice of settlement prices. (at QSTF)

- LR not allowed to participate in RT market

  - Non-binding – notification from SCED is sent to LR’s that have provided a price where they want to interrupt

    - No difference in settlement from current design

  - Binding

    - Settlements

      - Payment Routing

        - Through QSE serving load

        - Direct to resource entity QSE

      - Payment Methodology

        - LMP (spreadsheet developed analyzing payment flows and outcomes 04/20/2011 ‘LRIS Settlement Samples.xlsx’

          - LMPz

          - Resource Node Price

        - LMP-X (need to define ‘X’)

          - LMPz-X

          - (Resource Node Price) – X

        - Resource Node Price – LMPz

        - Options for ‘X’

          - Actual Retail Price

          - Proxy Retail Price

          - Aggregate Retail Price

          - LMPz

    - Measurement and Verification

      - Performance evaluation methodologies (Define base point)

        - Meter Before - Meter After

        - Maximum base load

        - Baseline calculation

      - Penalties

      - Gaming prevention

      - Requirements

        - Telemetry (2 sec???)

        - IDR

        - EPS

        - AMS (Aggregations?)

- Eligible participation

  - Single Meter Point Loads

  - Aggregations

2 different scenarios:

- More economic demand response (price takers):

  - Voluntary or commitment?

- Treat loads as resources, like generators (price setters).