Planning Guides Working Group

Meeting Minutes, March 25, 2011

Attendees:

Rob Lane, chair (Luminant), Sergio Garza, vice-chair (LCRA TSC), Mike Juricek (Oncor), Mike Holland (Oncor) , Wayne Kemper (CNP), Henry Durrwachter (Luminant), Yvette Landin (ERCOT) , Jay Teixeira (EROCT), Dan Woodfin (ERCOT), Biju Mathew (AE), Tony Hudson SSWG Chair (TNMP), Paul Hassink (AEP), John Moore (Consultant)

(Teleconference/WebEx): Brittney ??

===================================================================================

- Antitrust Admonition							All	9:30

- Agenda Review								R. Lane

Mike Juricek initiated discussion on PLWG approval process for changes to procedure documents referenced in Planning Guides (PG). Specific examples were ALDR and TPIT. Mike and Dan Woodfin will work on developing general language for inclusion in PG that addresses proposed changes to procedure documents.

- ROS Review								R. Lane

Status bar review; Received good feedback from ROS on 2011 case building process; PGRR Review

  - PGRR006 (ALDR)

    - ERCOT impact analysis revealed no impacts.

    - Next step is for PLWG to endorse and send to ROS for vote.

    - PLWG endorsed

    - Will go to ROS for approval in April

  - PGRR007 (TPIT)

    - ERCOT impact analysis revealed no impacts.

    - Next step is for PLWG to endorse and send to ROS for vote.

    - After some discussion on current process regarding projects that “go away” in ERCOT’s 5-year plan, PLWG agreed that is an RPG matter. PLWG endorsed

    - Will go to ROS for approval in April

- Planning Guide Section Development

- Planning Criteria PGRR005						W. Kemper

PLWG review / edits; Planning charter portions need to be included in PG; Change section 5 to section 4 (Planning Criteria). Change Generation Interconnection procedures to section 5. The planning charter will be section 3. PLWG discussed how to integrate future language on economic planning and criteria. John, Wayne, and Yvette will work on format. Review sections 3 and 4 to merge into new organization into PG document. Table this until WebEx before next PLWG meeting.

Also, Wayne Kemper distributed comments wordsmithing PGRR005 to address use of the term “reliability criteria” vs. “planning criteria”. Wayne’s recommendation is to only use the term planning criteria. The Planning Guide outline includes separate sections for the Planning Charter (section 3) and the planning criteria (section 5). , His recommendation is to combine these two by leaving provisions for the Planning Charter in PGRR005. The intent is to add a new section 5.1 Regional Planning and then renumber Planning Criteria Section.

- SSWG Procedures PGRR003						T. Hudson

This agenda item was tabled previously due to the uncertainty of the ERCOT case building process going forward. This agenda item was tabled again this month to the April PLWG meeting. Need to get SSWG time to review changes.

- Short Circuit Database						P. Belkin

Rob will ask SPWG to review proposed language to include in PG. Rob will contact Peter Belkin for status. Rob will distribute revisions he gets from SPWG to the PLWG.

- Data Dictionary							H. Durrwachter

Henry discussed his proposal for Data Dictionary. After lunch, PLWG agreed to table this item for next month. A review of what is already in PGRR003 will be considered.

- Generator Data Procedures						H. Durrwachter

Henry proposed a RARF guide that was reviewed by the PLWG. Discussion on RARF language that presently exists in the ERCOT generation interconnection study procedure was held. Henry will revise and then send to PLWG.

- Generator Interconnect Procedures					H. Durrwachter

This agenda item was not covered.

- Connectivity Node Groups						M. Holland

Mike reported this item should be taken off list (PG outline) and maybe be included in SSWG procedure. Mike recommends to not include in PG.

- Requirements for posting TSP criteria				D. Woodfin

This agenda item was not covered.

- Contingency List Submission Procedures				W. Kemper

This agenda item was not covered. However, Wayne Kemper distributed a rough draft of the starting point for a Planning Guide covering Transmission Planning Contingency file updates.  This includes deadlines and requirements based on his understanding of the current process.  Jay Teixeira provided comments.

- Operating Guide Sections that belong in Planning Guide			M. Juricek

This agenda item was not covered.

- 2011 PLWG Goals							S. Garza

This agenda item was not covered. However, there was discussion on setting timelines and assignment priorities. Goal is to complete Planning Guide ASAP. Initial commitment was to have the PG completed by 12/2010.

- Rio Grande Valley Reliability Review					R. Lane

  - Planning transmission consistent with operation

  - Application of variation of load, generation, and transmission

Request from ROS for PLWG to review potential improvements to planning processes (beyond criteria). Lengthy discussion related to reports presented at the March RPG. Rob will send a set of questions out to PLWG to get feedback.

- Issues List								R. Lane

This agenda item was not covered.

- Adjourn								R. Lane	3:30

Future Meetings:

April 29

WebEx- April 18 -Main topics are SSWG procedure + Gen Int procedure.