Section 2:

NOGRR055 – Deletion of an Invalid Reference to a Non-Existent NERC Term

This Nodal Operating Guide Revision Request (NOGRR) removes an invalid reference to a non-existent North American Electric Reliability Corporation (NERC) term.

Revised Subsection: 2.2.8

NOGRR062 – Require Voltage Ride-Through Capability for IRRs

This NOGRR proposes a requirement for Voltage Ride-Through (VRT) capability for new Intermittent Renewable Resources (IRRs).

Revised Subsection: 2.9.1