ERCOT Transmission Planning Contingency file Updates

- ERCOT coordinates revisions and posting of the contingency files associated with the SSWG Transmission Planning Model Data Set B cases.

- Within two weeks after annual posting of the final Data Set B cases, ERCOT provides the currently posted contingency files in both database and spreadsheet formats to the TSPs and requests updates.

- The TSPs have one month to update either the database or spreadsheets to reflect changes in the new Data Set B cases by deleting, revising and adding contingencies.

- Each TSP provides the NERC category C and D contingencies for their system used to demonstrate compliance with NERC TPL Standards.

- Each contingency is labeled as NERC Category C or D.  NERC Category C contingencies that meet the criteria of Credible Single Contingencies as defined in Section 1.4, Definitions, of the Operating Guides are also labeled as an ERCOT Credible Single Contingency.

- ERCOT creates the NERC Category B contingencies.

- ERCOT has one month to compile the updates from the TSPs, resolve discrepancies and post the contingency files in PSS/E, PowerWorld , MUST, UPLAN and VSAT  format to the Transmission Planning area of the password protected ERCOT website