| NOGRR Number | 065 | NOGRR Title | Authorize ERCOT to Procure Additional RRS During Severe Cold Weather |  |
| --- | --- | --- | --- | --- |
| Timeline | Normal | Action |  | Tabled |
| Date of Decision |  | April 20, 2011 |  |  |
| Proposed Effective Date |  | To be determined. |  |  |
| Priority and Rank Assigned |  | To be determined. |  |  |
| Guide SectionRequiring Revision |  | 4.2.3, Watch |  |  |
| Revision Description |  | This Nodal Operating Guide Revision Request (NOGRR) aligns with Nodal Protocol Revision Request (NPRR) 336, Authorize ERCOT to Procure Additional RRS During Severe Cold Weather, which proposes to allow ERCOT to procure additional Responsive Reserve (RRS) during cold weather conditions. |  |  |
| Reason for Revision |  | Provide additional reserves in cold weather events. |  |  |
| Overall Market Benefit |  | Improved reliability of the ERCOT System. |  |  |
| Overall Market Impact |  | Significant impacts are expected but are needed in order to maintain reliability of the ERCOT System. |  |  |
| Consumer Impact |  | Unknown. |  |  |
| Procedural History |  | - On 3/9/11, NOGRR065 was posted. - On 4/20/11, the Operations Working Group (OWG) considered NOGRR065. |  |  |
| OWG Decision |  | On 4/20/11, the OWG was in consensus to table NOGRR065 for one month. |  |  |
| Summary of OWG Discussion |  | On 4/20/11, it was noted that the 4/15/11 WMS comments on the associated NPRR336 recommended that it be rejected. After discussion, the OWG agreed to request that PRS table NPRR336 to allow for a comprehensive reliability and commercial review. There was a suggestion that in addition to a comprehensive review, recommendations from the Public Utility Commission of Texas (PUCT), the Independent Market Monitor (IMM) and the Texas Reliability Entity (Texas RE) also be considered. |  |  |

| Quantitative Impacts and Benefits |  |  |  |
| --- | --- | --- | --- |
| Assumptions | 1 |  |  |
|  | 2 |  |  |
|  | 3 |  |  |
|  | 4 |  |  |
| Market Cost |  | Impact Area | Monetary Impact |
|  | 1 | Significant impacts are expected but are needed in order to maintain reliability of the ERCOT System. | Unknown. |
|  | 2 |  |  |
|  | 3 |  |  |
|  | 4 |  |  |
| Market Benefit |  | Impact Area | Monetary Impact |
|  | 1 | Improved reliability of the ERCOT System. | Unknown. |
|  | 2 |  |  |
|  | 3 |  |  |
|  | 4 |  |  |
| Additional Qualitative Information | 1 |  |  |
|  | 2 |  |  |
|  | 3 |  |  |
|  | 4 |  |  |
| Other Comments | 1 |  |  |
|  | 2 |  |  |
|  | 3 |  |  |
|  | 4 |  |  |

| Sponsor |  |
| --- | --- |
| Name | Stan Morris |
| E-mail Address | Stan.morris@tnmp.com |
| Company | Texas New Mexico Power |
| Phone Number | (281) 337-6589 ext. 7501 |
| Cell Number |  |
| Market Segment | Investor Owned Utility (IOU) |

| Market Rules Staff Contact |  |
| --- | --- |
| Name | Yvette M. Landin |
| E-Mail Address | ylandin@ercot.com |
| Phone Number | (512) 248-4513 |

| Comments Received |  |
| --- | --- |
| Comment Author | Comment Summary |
| None. |  |

Proposed Guide Language Revision

4.2.3	Watch

(1)	A Watch may be issued by ERCOT in accordance with Protocol Section 6.5.9.3.3, Watch, when it recognizes that conditions have developed such that an insecure operating state exists or is imminent.

(2)	ERCOT may require information from QSEs and TOs.  Typical information requested may include, but is not limited to:

(a)	Resource fuel capabilities;

(b)	Resource condition details; and

(c)	Actual weather conditions.

(3)	When a post-contingency overload of a non-critical element can not be rectified by congestion management methods, including Remedial Action Plans (RAPs) (see Section 4.3.1, Remedial Action Plans), or mitigation plans, ERCOT shall issue a Watch.  A “non-critical element” is one whose loss will not result in an uncontrolled separation of cascading outages or large scale service disruptions to Load or overload of a critical Transmission Element.

(4)	ERCOT shall provide verbal notice of the Watch to all TOs and QSEs and shall post the message electronically to the MIS Secure Area.  QSEs shall notify appropriate Resources, REPs and LSEs.  TOs shall notify their represented TSPs.

(5)	In a Cold Weather Watch, ERCOT shall increase Responsive Reserve (RRS) in accordance with Protocol Section 6.5.3.3, Watch.

(6)	In a Severe Cold Weather Watch, ERCOT shall increase RRS requirements in accordance with Protocol Section 6.5.3.3, and

(a)	All available Generation Resources within the anticipated time frame of the Severe Cold Weather Watch, but having start-up times greater than one hour, shall be brought On-Line;

(b)	QSEs will notify ERCOT when the requirement in paragraph (a) above is completed; and

(c)	QSEs will notify ERCOT of hardships incurred or anticipated in maintaining all Generation Resources On-Line during minimum Load hours.

(7)	ERCOT will cancel a Cold Weather Watch or Severe Cold Weather Watch as soon as weather conditions permit.