Date: 	April 28, 2011

To:	TAC Representatives

From:	Sandy Morris, Protocol Revision Subcommittee (PRS) Chair

Re:	Consideration of Nodal Protocol Revision Requests (NPRRs) and System Change Request (SCR)

The PRS met and discussed several revision requests and presents the following NPRRs and SCR to the Technical Advisory Committee (TAC) for consideration this month.

Unless indicated otherwise, all Market Segments were present for the vote.  In addition, unless stated otherwise, the ERCOT Credit Staff and the Credit Work Group (Credit WG) have reviewed the revision requests and do not believe they require changes to credit monitoring activity or the calculation of liability.

NPRRs Recommended for Approval

  - NPRR264, Clarification of Nodal Protocol Requirements for Generators With Multiple Points of Interconnection [WMS].

Proposed Effective Date:  July 1, 2011.

ERCOT Impact Analysis:  No budgetary impact; no impacts to ERCOT staffing; no impacts to ERCOT computer systems; no impacts to ERCOT business functions; no impacts to ERCOT grid operations and practices.

Revision Description:  This NPRR adds language to specify that Nodal Protocol requirements applicable to Generation Resources which are based upon the date of an executed Standard Generation Interconnection Agreement (SGIA) are applied to the date of the original SGIA for Resources with more than one point of interconnection.

Procedural History:  NPRR264 was posted on 8/12/10.  On 8/19/10, PRS unanimously voted to table NPRR264 for one month.  The Independent Power Marketer (IPM) Market Segment was not present for the vote.  On 9/23/10, PRS voted to table NPRR264 and to request that the ERCOT CEO reevaluate whether NPRR264 is needed prior to the Texas Nodal Market Implementation Date.  There was one abstention from the Independent Generator Market Segment.  On 10/21/10, PRS unanimously voted to table NPRR264 for one month.  On 11/18/10, PRS unanimously voted to table NPRR264 for one month.  On 12/16/10, PRS unanimously voted to table NPRR264 for one month.  On 1/20/11, PRS unanimously voted to table NPRR264 for one month.  On 2/17/11, PRS unanimously voted to table NPRR264 for one month.  On 3/24/11, PRS voted to recommend approval of NPRR264 as amended by the 1/11/11 ERCOT comments and as revised by PRS.  There was one abstention from the Investor Owned Utility (IOU) Market Segment.  On 4/21/11, PRS unanimously voted to endorse and forward the 3/24/11 PRS Report and Impact Analysis for NPRR264 to TAC.

  - NPRR311, Correction of Wind Adjust Formula to Account for Daylight Savings Time [ERCOT].

Proposed Effective Date:  Upon System Implementation.

ERCOT Impact Analysis:  No additional impacts to implement NPRR311 beyond what was captured in the Impact Analysis for NPRR208, Registration and Settlement of Distributed Generation (DG) Less Than One MW.

Revision Description:  This NPRR updates the criteria by which Output Schedules are deemed valid to include Output Schedules that are equal in value to the Resource High Sustained Limit (HSL) and Low Sustained Limit (LSL).

Procedural History:  NPRR311 was posted on 2/1/11.  On 3/24/11, PRS unanimously voted to recommend approval of NPRR311 as submitted.  On 4/21/11, PRS unanimously voted to endorse and forward the 3/24/11 PRS Report and Impact Analysis for NPRR311 to TAC.

  - NPRR317, Clarification of Entity Responsible for Hydro Responsive Testing [ERCOT].

Proposed Effective Date:  July 1, 2011.

ERCOT Impact Analysis:  No budgetary impact; no impacts to ERCOT staffing; no impact to ERCOT computer systems; no impacts to ERCOT business functions; no impacts to ERCOT grid operations and practices.

Revision Description:  This NPRR clarifies the Entity responsible for hydro responsive testing.

Procedural History:  NPRR317 was posted on 2/4/11.  On 3/24/11, PRS unanimously voted to recommend approval of NPRR317 as submitted.  On 4/21/11, PRS unanimously voted to endorse and forward the 3/24/11 PRS Report and Impact Analysis for NPRR317 to TAC.

  - NPRR318, Alignment of Nodal Registration Requirements with Current Registration Process [ERCOT].

Proposed Effective Date:  July 1, 2011.

ERCOT Impact Analysis:  No budgetary impact; no impacts to ERCOT staffing; no impact to ERCOT computer systems; no impacts to ERCOT business functions; no impacts to ERCOT grid operations and practices.

Revision Description:  This NPRR aligns the registration requirements in Section 16.1, Qualification, Registration, and Execution of Agreements, with the current registration process.

Procedural History:  NPRR318 was posted on 2/4/11.  On 3/24/11, PRS unanimously voted to recommend approval of NPRR318 as submitted.  On 4/21/11, PRS unanimously voted to endorse and forward the 3/24/11 PRS Report and Impact Analysis for NPRR318 to TAC.

  - NPRR326, Adjust the Calculation of the Real-Time Settlement Point Price for a Resource Node [ERCOT].

Proposed Effective Date:  Upon System Implementation – Priority High; Rank 12.9.

ERCOT Impact Analysis:  $15k - $20k; no impacts to ERCOT staffing; impacts to Market Management System (MMS); no impacts to ERCOT business functions; no impacts to ERCOT grid operations and practices.

Revision Description:  This NPRR adjusts the calculation of the Real-Time Settlement Point Price for a Resource Node.  The adjustment is to remove the Base Point weighting of the Real-Time Locational Marginal Prices (LMPs).

Procedural History:  NPRR326 was posted on 2/10/11.  On 2/16/11, the motion to grant Urgent status for NPRR326 failed via PRS email vote.  On 3/24/11, PRS voted to recommend approval of NPRR326 as submitted.  There were two abstentions from the IPM and Consumer Market Segments.  On 4/21/11, PRS voted to endorse and forward the 3/24/11 PRS Report, Impact Analysis and Cost Benefit Analysis as revised by PRS for NPRR326 to TAC with a recommended priority of High and rank of 12.9.  There were two abstentions from the Independent Generator and Consumer Market Segments.

  - NPRR330, Change in Frequency of Five Protocol Required Audits from Annual to Periodic [ERCOT].

Proposed Effective Date:  July 1, 2011.

ERCOT Impact Analysis:  No budgetary impact; no impacts to ERCOT staffing; no impact to ERCOT computer systems; no impacts to ERCOT business functions; no impacts to ERCOT grid operations and practices.

Revision Description:  This NPRR revises the frequency for the ERCOT Internal Audit Department to perform audits from an annual basis to a periodic basis.

Procedural History:  NPRR330 was posted on 2/24/11.  On 3/24/11, PRS voted to recommend approval of NPRR330 as revised by PRS.  There was one abstention from the Consumer Market Segment.  On 4/21/11, PRS unanimously voted to endorse and forward the 3/24/11 PRS Report as amended by the 4/5/11 ERCOT comments and Impact Analysis for NPRR330 to TAC.

  - NPRR350, Change to the Security Classification of the System Ancillary Service Capacity Monitor Dashboard [MIS User Group (MISUG)] – Urgent.

Proposed Effective Date:  Pending.

ERCOT Impact Analysis:  $5k - $10k; no impacts to ERCOT staffing; impacts to Current Day Reporting (CDR), MIS, and ERCOT.com; no impacts to ERCOT business functions; no impacts to ERCOT grid operations and practices.

Revision Description:  This NPRR proposes changing the posting category of items that make up the System Ancillary Service Capacity Monitor Dashboard from Market Information System (MIS) Secure Area to MIS Public Area.

Procedural History:  NPRR350 was posted on 4/11/11.  On 4/13/11, the motion to grant NPRR350 failed via PRS email vote.  On 4/21/11, PRS voted to grant NPRR350 Urgent status.  There was one opposing vote from the Independent Generator Market Segment and two abstentions from the Municipal and IPM Market Segments.  PRS then voted to recommend approval of NPRR350 as submitted and to forward NPRR350 to TAC.  There was one abstention from the Independent Generator Market Segment.   Credit review is pending.

  - NPRR352, Real-Time HSL Telemetry for WGRs [ERCOT] – Urgent.

Proposed Effective Date:  June 1, 2011.

ERCOT Impact Analysis:  No budgetary impact; no impacts to ERCOT staffing; no impact to ERCOT computer systems; no impacts to ERCOT business functions; no impacts to ERCOT grid operations and practices.

Revision Description:  This NPRR changes the process by which Qualified Scheduling Entities (QSEs) determine the HSLs to telemeter for Wind-powered Generation Resources (WGRs).  The requirement that QSEs set the HSL equal to output immediately following a release from curtailment is removed.  Instead QSEs will be expected to use their best judgment to determine the output capability of the WGR with the expectation that the value will consider the net real power of the WGR, turbine availability, weather conditions, and whether the WGR output is being affected by compliance with a Security-Constrained Economic Dispatch (SCED) instruction.

Procedural History:  NPRR352 was posted on 4/13/11.  On 4/15/11, the motion to grant NPRR352 failed via PRS email vote.  On 4/21/11, PRS unanimously voted to grant NPRR352 Urgent status.  PRS then voted to recommend approval of NPRR352 as submitted and to forward NPRR352 to TAC.  There was one abstention from the IPM Market Segment.  Credit review is pending.

SCRs Recommended for Approval

  - SCR764, Public Access to Select MIS Dashboards [MISUG] - Urgent.

Proposed Effective Date:  Upon System Implementation – Priority Critical; Rank 9.2.1.

ERCOT Impact Analysis:  $100k - $125k; no impacts to ERCOT staffing; impacts to Current Day Reports (CDR), MIS, ERCOT.com; no impacts to ERCOT business functions; no impacts to ERCOT grid operations and practices.

Revision Description:  This SCR proposes system changes to allow public access to a graphical view of non-confidential system conditions and pricing information for the following MIS Dashboards: Load Forecast vs. Actual, LMP Contour Map, SCED Up/Down, LMP Ticker with Selected Prices and Real-Time System Conditions.

Procedural History:  SCR764 was posted on 4/7/11.  On 4/8/11, WMS unanimously voted to grant SCR764 Urgent status; to recommend approval of SCR764 as submitted; and to forward SCR764 to PRS.  On 4/21/11, PRS unanimously voted to recommend a priority of Critical and a rank of 9.21 for SCR764.  PRS then unanimously voted to endorse and forward the 4/8/11 WMS Report for SCR764 as revised by PRS to TAC.  Credit review is not applicable.

Revision Requests Rejected and Failed Motions

None.

Revision Requests Withdrawn (no TAC action required)

None.

Status of Pending Revision Requests (For Information Purposes Only):

Revision Requests Scheduled for Impact Analysis Review and Priority Assignment (if applicable) at the May 19, 2011 PRS Meeting

  - NPRR299, Remove Requirement for ERCOT Board Approval of PUCT, IMM, and FERC Required Reports [ERCOT].

Proposed Effective Date:  Pending.

ERCOT Impact Analysis:  Initial project implementation - $30k - $35k;  Ongoing yearly cost $125k - $135k; additional one full time equivalent (FTE); impact MIS and internal ERCOT Application Programming Interface (API); implement business process changes to support posting requirements; no impacts to grid operations and practices.

Revision Description:  This NPRR modifies the Nodal Protocols to require ERCOT to post all public materials that are submitted to standards bodies and governing agencies on the ERCOT website.   This NPRR also removes the need for the ERCOT Board, Public Utility Commission of Texas (PUCT) Staff and Independent Market Monitor (IMM) to approve a schedule and format for reports.

Procedural History:  NPRR299 was posted on 11/30/10.  On 12/16/10, PRS unanimously voted to table NPRR299.  On 1/20/11, PRS voted to recommend approval of NPRR299 as amended by the 1/7/11 PSEG TX comments and as revised by PRS.  There was one opposing vote from the IOU Market Segment and two abstentions from the IOU and Municipal Market Segments.  On 2/17/11, PRS unanimously voted to table NPRR299 for one month.  On 3/24/11, PRS voted to table NPRR299.  There was one opposing vote from the IOU Market Segment.

  - NPRR313, Updating the Term Resource Plan to Current Operating Plan/Availability Plan (formerly “Updating the Term Resource Plan to Current Operating Plan”) [Luminant].

Proposed Effective Date:  Pending.

ERCOT Impact Analysis:  No budgetary impact; no impacts to ERCOT staffing; no impact to ERCOT computer systems; no impacts to ERCOT business functions; no impacts to ERCOT grid operations and practices.

Revision Description:  This NPRR replaces the term “Resource Plan” with the term “Current Operating Plan” or “Availability Plan” in those instances where the change in terminology was not previously made.

Procedural History:  NPRR313 was posted on 2/1/11.  On 3/24/11, PRS unanimously voted to recommend approval of NPRR313 as amended by the 3/21/11 Luminant Energy comments and as revised by PRS.  On 4/21/11, PRS unanimously voted to table NPRR313.

  - NPRR314, Requirement to Post Generation Resources Temporal Constraints [Luminant].

Proposed Effective Date:  Pending.

ERCOT Impact Analysis:  Pending.

Revision Description:  This NPRR adds language to specify the need for ERCOT to post to the MIS Certified Area the current time since a Generation Resource last went Off-Line (in hours) and the corresponding startup time ERCOT is using for of all Off-Line Generation Resources which may be considered in any Reliability Unit Commitment (RUC) process.  This NPRR also adds the requirement for ERCOT to develop a process that will allow the QSE or Resource Entity to correct or adjust the ERCOT time since a Generation Resource last ran to bring the ERCOT systems back in sync with the current condition of the Generation Resource.

Procedural History:  NPRR314 was posted on 2/1/11.  On 3/24/11, PRS unanimously voted to table NPRR314.  On 4/21/11, PRS unanimously voted to recommend approval of NPRR314 as amended by the 4/5/11 Luminant comments.

  - NPRR319, Required Documentation to Recover Fuel Costs for RUC Deployments [ERCOT].

Proposed Effective Date:  Pending.

ERCOT Impact Analysis:  No budgetary impact; no impacts to ERCOT staffing; no impact to ERCOT computer systems; no impacts to ERCOT business functions; no impacts to ERCOT grid operations and practices.

Revision Description:  This NPRR clarifies what type of documentation QSEs must submit to ERCOT as proof of natural gas purchases when requesting additional compensation for fuel costs incurred when providing RUC services.  The NPRR further clarifies which documents are deemed acceptable as proof of fuel purchases and directs QSEs to request ERCOT Board approval for documentation not covered by the Nodal Protocols.

Procedural History:  NPRR319 was posted on 2/7/11.  On 3/24/11, PRS unanimously voted to table NPRR319 for one month.  On 4/21/11, PRS unanimously voted to recommend approval of NPRR319 as amended by the 4/6/11 NRG Texas Power comments.  Credit review is pending.

  - NPRR321, Allow Change to Energy Offer Curve MW Amounts in the Adjustment Period for Qualifying Facilities [Calpine].

Proposed Effective Date:  Pending.

ERCOT Impact Analysis:  Pending.

Revision Description:  This NPRR would provide the ability for Qualifying Facilities (QFs) to change the amounts of power in their Energy Offer Curves in the Adjustment Period.

Procedural History:  NPRR321 was posted on 2/10/11.  On 3/24/11, PRS unanimously voted to table NPRR321.  On 4/21/11, PRS voted to recommend approval of NPRR321 as submitted.  There were three abstentions from the Independent Retail Electric Provider (IREP), IOU and Municipal Market Segments.  Credit review is pending.

  - NPRR324, Conductor/Transformer Transmission Facility Rating [ERCOT].

Proposed Effective Date:  Pending.

ERCOT Impact Analysis:  No budgetary impact; no impacts to ERCOT staffing; no impact to ERCOT computer systems; no impacts to ERCOT business functions; no impacts to ERCOT grid operations and practices.

Revision Description:  This NPRR adds the Conductor/Transformer Rating, normally used for Rate C in the Annual Planning Model, as a fourth Transmission Facility Rating and adds the description from the Operating Guides to the Rating terms definitions in the Nodal Protocols.

Procedural History:  NPRR324 was posted on 2/10/11.  On 3/24/11, PRS unanimously voted to refer NPRR324 to ROS.  On 4/21/11, PRS unanimously voted to recommend approval of NPRR324 as amended by the 4/12/11 ROS comments.  Credit review is pending.

  - NPRR328, Clarifies Duplicative or Vague Requirements Related to Reactive Resources (Formerly “Removes ERCOT Requirement For Reactive Resource Planning and the Associated Compliance Process”) [ERCOT].

Proposed Effective Date:  Pending.

ERCOT Impact Analysis:  No budgetary impact; no impacts to ERCOT staffing; no impact to ERCOT computer systems; no impacts to ERCOT business functions; no impacts to ERCOT grid operations and practices.

Revision Description:  This NPRR removes or clarifies duplicate or vague requirements related to reactive Resources.

Procedural History:  NPRR328 was posted on 2/23/11.  On 3/24/11, PRS unanimously voted to refer NPRR328 to ROS.  On 4/21/11, PRS unanimously voted to recommend approval of NPRR328 as amended by the 4/4/11 CenterPoint Energy comments and as revised by PRS.  Credit review is pending.

  - NPRR332, Revise QSGR Processes for COP Reporting of QSGR Assigned Off-Line Non-Spin and Application of Emergency Operations Settlement [ERCOT].

Proposed Effective Date:  Pending.

ERCOT Impact Analysis:  Less than $5k; no impacts to ERCOT staffing; no impact to ERCOT computer systems; ERCOT will update its Operations and Settlements business procedures to implement NPRR332; no impacts to ERCOT grid operations and practices.

Revision Description:  This NPRR clarifies the Current Operating Plan (COP) reporting requirements for a Quick Start Generation Resource (QSGR) that is providing Off-Line Non-Spin Service in an amount that is greater than the HSL minus LSL; and removes the requirement for a QSE to contact the ERCOT Operator to request a "manual override" when a QSGR it represents is first deployed by SCED from a zero Base Point to a Base Point that is less than the QSGR’s physical LSL. Emergency operations Settlement provisions for QSGR deployments by SCED will be managed internally by ERCOT.

Procedural History:  NPRR332 was posted on 2/25/11.  On 3/24/11, PRS unanimously voted to refer NPRR332 to WMS.  On 4/21/11, PRS voted to recommend approval of NPRR332 as amended by the 4/11/11 WMS comments.  There were four abstentions from the Consumer (2), Municipal, and Independent Generator Market Segments.  Credit review is pending.

  - NPRR333, Removal of Redundant Reporting Requirement Related to Equipment Ratings [ERCOT].

Proposed Effective Date:  Pending.

ERCOT Impact Analysis: No budgetary impact; no impacts to ERCOT staffing; no impact to ERCOT computer systems; no impacts to ERCOT business functions; no impacts to ERCOT grid operations and practices.

Revision Description:  This NPRR removes a redundant requirement for ERCOT to produce a report regarding equipment Ratings.

Procedural History:  NPRR333 was posted on 2/25/11.  On 3/24/11, PRS unanimously voted to table NPRR333 for one month.  On 4/21/11, PRS unanimously voted to recommend approval of NPRR333 as submitted.  Credit review is pending.

  - NPRR337, Correct Section Reference in Section 1.3.1.1 Pertaining To Protected Information of DC Ties [ERCOT].

Proposed Effective Date:  Pending.

ERCOT Impact Analysis:  No budgetary impact; no impacts to ERCOT staffing; no impact to ERCOT computer systems; no impacts to ERCOT business functions; no impacts to ERCOT grid operations and practices.

Revision Description:  This NPRR aligns the Nodal Protocols with the zonal Protocols by correcting the section reference in Section 1.3.1.1 to reflect the actual section that contains the Direct Current Tie (DC Tie) Schedule Information that is considered Protected Information.

Procedural History:  NPRR337 was posted on 3/10/11.  On 4/21/11, PRS unanimously voted to recommend approval of NPRR337 as submitted.  Credit review is pending.

  - NPRR338, Modifications to Support Revenue Neutrality [ERCOT].

Proposed Effective Date:  Pending.

ERCOT Impact Analysis:  $4k - $5k; no impacts to ERCOT staffing; impacts to S&B; no impacts to ERCOT business functions; no impacts to ERCOT grid operations and practices.

Revision Description:  This NPRR deducts the amount collected for the shortfall charges for Congestion Revenue Right (CRR) Owners from the amount received on all Real-Time Market (RTM) Invoices prior to prorating the payout to the RTM Invoice Recipients.  It also adds language to allow ERCOT to resettle the Day-Ahead Market (DAM) in the event that a DAM Settlement error, which does not otherwise meet the Protocol requirements for resettlement, will impact ERCOT’s ability to achieve revenue neutrality.

Procedural History:  NPRR338 was posted on 3/17/11.  On 4/21/11, PRS unanimously voted to recommend approval of NPRR338 as submitted.  Credit review is pending.

  - NPRR344, Define RMR Fuel Adder [ERCOT].

Proposed Effective Date:  Pending.

ERCOT Impact Analysis:  No budgetary impact; no impacts to ERCOT staffing; no impact to ERCOT computer systems; business process impacts to ERCOT Settlement and Billing group; no impacts to ERCOT grid operations and practices.

Revision Description:  This NPRR defines the term “fuel adder” as reported by Resource Entities when filing Reliability Must-Run (RMR) contracts.  The NPRR also clarifies that the fuel adder will be true-up to reflect actual fuel costs incurred.

Procedural History:  NPRR344 was posted on 4/1/11.  On 4/21/11, PRS unanimously voted to recommend approval of NPRR344 as submitted.  Credit review is pending.

  - NPRR346, Removal of Redundant Posting Requirement Related to Electrical Bus Changes [ERCOT].

Proposed Effective Date:  Pending.

ERCOT Impact Analysis:  Less than $2.5k; no impacts to ERCOT staffing; impacts to MIS; no impacts to ERCOT business functions; no impacts to ERCOT grid operations and practices.

Revision Description:  This NPRR removes a redundant requirement for ERCOT to produce a report regarding Electrical Bus changes.

Procedural History:  NPRR346 was posted on 4/5/11.  On 4/21/11, PRS unanimously voted to recommend approval of NPRR346 as revised by PRS.  Credit review is pending.

  - NPRR347, Single Daily Settlement (Formerly “Counter-Party Invoice and Single Daily Settlement Invoice”) [ERCOT].

Proposed Effective Date:  Pending.

ERCOT Impact Analysis (Preliminary):  $160k - $180k (Phase 1), $200k-215k (Phase 2); no impacts to ERCOT staffing; impacts to Market Participant Registration (REG), Settlements and Billing (S&B), Credit Management (CMM), MIS, Enterprise System (EIS), Enterprise Integration (EI), Dispute Analysis Tools (DIS), and Financial Transfer Tools (FT); impacts to Settlements business process; no impacts to ERCOT grid operations and practices.

Revision Description:  This NPRR combines the DAM and the Real-Time Market (RTM) Invoices into a single daily Settlement Invoice for these activities for each QSE and CRR Account Holder;  requires: (a) adaptation of  the language for partial payments and late fees; (b) adaptation of the language for the Default Uplift Invoice; (c) changes to related credit formulas; and (d) automation of the minimum collateral calculation given an increase in the frequency of the calculation; and proposes reducing the average daily transaction extrapolated multiplier from 40 days to 35 days based on the median reduction in exposure of approximately five days.

Procedural History:  NPRR347 was posted on 4/6/11.  On 4/21/11, PRS unanimously voted to recommend approval of NPRR347 as amended by the 4/18/11 SEWG comments and as revised by PRS.  Credit review is pending.

Revision Requests Deferred or Tabled

- NPRR190, Clarification of Resource Definitions and Resource Registration of Self-Serve Generators for Reliability Purposes [ERCOT].

Proposed Effective Date:  Pending.

ERCOT Impact Analysis:  Pending.

Revision Description: This NPRR adds language to acknowledge the existence of Generation Resources that have no or minimal injection onto the ERCOT System that qualify either as distributed generation or are registered with the PUCT according to P.U.C. Subst. R. 25.109, Registration of Power Generation Companies and Self-Generators, as a self-generator but yet are required to participate with ERCOT for reliability purposes.

Procedural History:  NPRR190 was posted on 7/24/09.  On 8/25/09, PRS unanimously voted to table NPRR190 for one month.  On 9/17/09, PRS unanimously voted to table NPRR190 for one month.  On 10/22/09, PRS unanimously voted to table NPRR190 for one month.  On 11/19/09, PRS unanimously voted to table NPRR190.  On 12/17/09, PRS unanimously voted to table NPRR190 indefinitely.  On 9/23/10, PRS unanimously voted to table NPRR190 for one month.  On 10/21/10, PRS unanimously voted to table NPRR190 for one month.  On 11/18/10, PRS unanimously voted to table NPRR190.  Credit review is pending.

  - NPRR300, Municipal Owned Utility Addition to Determination of Total Potential Exposure for a Counter-Party [City of Garland].

Proposed Effective Date:  Pending.

ERCOT Impact Analysis:  Pending.

Revision Description:  This NPRR adds Municipally Owned Utilities (MOUs) to the list of Entities exempt from the requirement to grant ERCOT a first priority security interest in order for Total Potential Exposure (TPE) of a Counter-Party to be based on the algebraic sum of the Counter-Party’s current and future credit exposures.

Procedural History:  NPRR300 was posted on 12/3/10.  On 1/20/11, PRS unanimously voted to table NPRR300.  Credit review is pending.

  - NPRR312, Clarification of QSE Requirements for Split Generation Resources [ERCOT] – Urgent.

Proposed Effective Date:  Pending.

ERCOT Impact Analysis:  No budgetary impact; no impacts to ERCOT staffing; no impact to ERCOT computer systems; no impacts to ERCOT business functions; no impacts to ERCOT grid operations and practices.

Revision Description:  This NPRR defines Master QSE, clarifies the designation and responsibilities of the Master QSE for a Generation Resource that has been split to function as two or more Split Generation Resources, and clarifies the responsibilities of the QSEs for such Split Generation Resources.  This NPRR also addresses Settlement and billing disputes related to the application of integrated Real-Time telemetry from a Generation Resource that has been split to function as two or more Split Generation Resources.

Procedural History:  NPRR312 was posted on 2/1/11.  On 2/3/11, the motion to grant NPRR312 Urgent status failed via PRS email vote.  On 2/17/11, PRS voted to grant NPRR312 Urgent status.  There was one abstention from the IPM Market Segment.  PRS then unanimously voted to table NPRR312 for one month.  On 3/24/11, PRS voted to table NPRR312 for one month.  There was one abstention from the Independent Generator Market Segment.  On 4/21/11, PRS voted to table NPRR312.  There was one opposing vote from the Consumer Market Segment and two abstentions from the IOU and Municipal Market Segments.  Credit review is pending.

  - NPRR315, Revision of Responsive Reserve Measure to Net Dependable Capability [Morgan Stanley] – Urgent.

Proposed Effective Date:  Pending.

ERCOT Impact Analysis:  Pending.

Revision Description:  This NPRR changes Responsive Reserve (RRS) Service 20% limit to check against Net Dependable Capability instead of HSL.

Procedural History:  NPRR315 was posted on 2/2/11.  On 2/4/11, the motion to grant NPRR315 Urgent status failed via PRS email vote.  On 2/17/11, PRS unanimously voted to grant NPRR315 Urgent status.  PRS then unanimously voted to table NPRR315.  Credit review is pending.

  - NPRR322, Real-Time PTP Option Modeling  [Luminant].

Proposed Effective Date:  Pending.

ERCOT Impact Analysis:  Pending.

Revision Description:  This NPRR modifies Point-to-Point (PTP) Options in the DAM that have been declared by a Non-Opt-In Entity (NOIE) before the DAM execution to be settled in Real-Time and are still held by that NOIE in Real-Time such that they are considered as PTP Obligations for purposes of the DAM model.  Settlement of Real-Time PTP Options remains unchanged.

Procedural History:  NPRR322 was posted on 2/10/11.  On 3/24/11, PRS unanimously voted to table NPRR322.  Credit review is pending.

  - NPRR327, State Estimator Data Redaction Methodology [ERCOT].

Proposed Effective Date:  Pending.

ERCOT Impact Analysis:  $120k - $130k; no impacts to ERCOT staffing; impacts to MIS and EIS; no impacts to ERCOT business functions; no impacts to ERCOT grid operations and practices.

Revision Description:  This NPRR inserts language to define a redaction methodology for the posting of State Estimator data.

Procedural History:  NPRR327 was posted on 2/22/11.  On 3/24/11, PRS unanimously voted to table NPRR327.  Credit review is pending.

  - NPRR334, Incorporate Resource Limit for the Amount of Regulation Service that may be Provided from a Generation Resource During any Operating Hour [ERCOT].

Proposed Effective Date:  Pending.

ERCOT Impact Analysis (Preliminary):  $35k - $45k; no impacts to ERCOT staffing; impacts to Energy Market Management System (EMMS); no impacts to ERCOT business functions; no impacts to ERCOT grid operations and practices.

Revision Description:  This NPRR adds language to incorporate a percentage requirement limiting the amount of Regulation Service that Generation Resources may provide; and to provide for an annual ERCOT review of the percentage requirement limiting the amount of Regulation Service that Generation Resources may provide.

Procedural History:  NPRR334 was posted on 3/25/11.  On 3/24/11, PRS unanimously voted to table NPRR334.  Credit review is pending.

  - NPRR336, Authorize ERCOT to Procure Additional RRS During Severe Cold Weather [TNMP].

Proposed Effective Date:  Pending.

ERCOT Impact Analysis:  Pending.

Revision Description:  This NPRR allows ERCOT to procure additional RRS during cold weather conditions.

Procedural History:  NPRR336 was posted on 3/9/11.  On 4/21/11, PRS voted to table NPRR336.  There was one opposing vote from the IREP Market Segment.  Credit review is pending.

  - NPRR340, Unannounced HSL Test for Duration-Limited Resources [AES] – Urgent.

Proposed Effective Date:  Pending.

ERCOT Impact Analysis:  Pending.

Revision Description:  This NPRR defines Duration-Limited Resource and amends the General Capacity Testing Requirements to reflect operational characteristics of this type of Resource.

Procedural History:  NPRR340 was posted on 3/21/11.  On 3/24/11, PRS voted to grant NPRR340 Urgent status.  There were three opposing votes from the Independent Generator, Consumer, and Municipal Market Segments and one abstention from the IPM Market Segment.  On 3/24/11, PRS voted to table NPRR340.  There was one opposing vote from the Independent Generator Market Segment and one abstention from the IOU Market Segment.  Credit review is pending.

  - NPRR345, EILS Availability Calculation Post-Depletion [Energy Curtailment Specialists].

Proposed Effective Date:  Pending.

ERCOT Impact Analysis:  Pending.

Revision Description:  This NPRR adds language to remove a deficiency in the calculation formula for Emergency Interruptible Load Service (EILS) availability factors.

Procedural History:  NPRR345 was posted on 4/5/11.  On 4/21/11, PRS unanimously voted to table NPRR345.  Credit review is pending.

  - NPRR348, Generation Resource Start-Up and Shut-Down process [ERCOT].

Proposed Effective Date:  Pending.

ERCOT Impact Analysis:  Pending.

Revision Description:  $80k - $85k; no impacts to ERCOT staffing; impacts to MMS, S&B, and Energy Management System (EMS); no impacts to ERCOT business functions; no impacts to ERCOT grid operations and practices.

Procedural History:  NPRR348 was posted on 4/6/11.  On 4/21/11, PRS unanimously voted to table NPRR348 for one month.  Credit review is pending.

  - NPRR349, Clarification of Ancillary Service Provider’s Responsibilities, Addition of Penalty Factor Charge for Failure to Provide, and Addition of Ancillary Service Capacity Compliance Performance Criteria [ERCOT] – Urgent.

Proposed Effective Date:  Pending.

ERCOT Impact Analysis:  $11k - $15k; no impacts to ERCOT staffing; impacts to S&B; no impacts to ERCOT business functions; no impacts to ERCOT grid operations and practices.

Revision Description:  This NPRR revises Section 4.4.7.4 to add the following description regarding the timing associated with a QSE’s obligation to deliver the physical Ancillary Service capacity that it has self-arranged or sold to ERCOT from its designated Resources during the Operating Hour.  The QSE’s obligation begins at the top of each Operating Hour and ends with the top of the next Operating Hour and is continuous throughout the Operating Hour.  This NPRR also introduces a penalty factor to increase charges to each QSE that fails to provide Ancillary Service capacity as described in Section 6.4.8.1.3, Replacement of Ancillary Service Due to Failure to Provide.

Procedural History:  NPRR349 was posted on 4/6/11.  On 4/21/11, PRS unanimously voted to table NPRR349.  Credit review is pending.

Revision Requests Pending Input from Another Subcommittee/Task Force

  - NPRR309, Providing STWPF to QSEs Contractually Affiliated with WGR [LCRA].

Proposed Effective Date:  Pending.

ERCOT Impact Analysis:  Pending.

Revision Description:  This NPRR would require ERCOT to provide the WGR forecast to any QSE contractually affiliated with that WGR.

Procedural History:  NPRR309 was posted on 1/14/11.  On 2/17/11, PRS voted to refer NPRR309 to WMS.  There was one opposing vote from the IOU Market Segment.  Credit review is pending.

New Revision Requests Scheduled for Consideration at the May 19, 2011 PRS Meeting

  - NPRR351, Calculate and Post Projected Non-Binding LMPs for the Next 15 Minutes [WMS].

Proposed Effective Date:  Pending.

ERCOT Impact Analysis:  Pending.

Revision Description:  This NPRR provides that for each SCED process, ERCOT shall calculate a rolling 15-minute projection of Resource High Dispatch Limits (HDLs) and Low Dispatch Limits (LDLs), total generation requirement, and the Locational Marginal Prices (LMPs) for each Resource Node, Hub, Load Zone and Electrical Bus.

Procedural History:  NPRR351 was posted on 4/13/11.  Credit review is pending.

  - NPRR354, Revisions to Non-Spin Performance Criteria Language and Provision for ICCP Telemetry of Non-Spin Deployment [WMS].

Proposed Effective Date:  Pending.

ERCOT Impact Analysis:  Pending.

Revision Description:  This NPRR clarifies the performance criteria for Non-Spinning Reserve (Non-Spin) Service deployments, adds language for provision of a Non-Spin deployment flag to QSEs via Inter-Control Center Communications Protocol (ICCP), and adds a requirement for Extensible Markup Language (XML) notification to all QSEs when Non-Spin is deployed.

Procedural History:  NPRR354 was posted on 4/15/11.  Credit review is pending.

  - NPRR355, Adjust the Calculation of the Real-Time Settlement Point Price for a Load Zone [ERCOT].

Proposed Effective Date:  Pending.

ERCOT Impact Analysis:  Less than $75k; no impacts to ERCOT staffing; impacts to MMS, Commercial Systems Integration (CSI), S&B, Current Day Reports (CDR), and EIS; no impacts to ERCOT business function; no impacts to ERCOT grid operations and practices.

Revision Description:  This NPRR removes the energy-weighting in the current calculation for the Real-Time Settlement Point Price (RTSPP) for a Load Zone.  It also adds a new RTSPP for a Load Zone that is energy-weighted (Real-Time Settlement Point Price Energy-Weighted (RTSPPEW)) and adjusts the appropriate formulas that use these prices.  This NPRR also corrects the Real-Time Price for the Energy Metered for each Resource meter at bus (RTRMPRb) in the event that the Energy at bus near Real-Time (EBNRT) is less than or equal to zero.

Procedural History:  NPRR355 was posted on 4/27/11.  Credit review is pending.