## Slide 1: Protocol Revision Subcommittee
Sandy Morris
May 5, 2011

## Slide 2
Summary of Revision Requests
8 NPRRs Recommended for Approval

## Slide 3: Items for a Vote
Unanimous Recommendations with No Impacts
  NPRR311, Correction of Wind Adjust Formula to Account for Daylight Savings Time
  NPRR317, Clarification of Entity Responsible for Hydro Responsive Testing
  NPRR318, Alignment of Nodal Registration Requirements with Current Registration Process
Notes: 3

## Slide 4: Items for a Vote
Non-unanimous Recommendations
NPRR264, Clarification of Nodal Protocol Requirements for Generators With Multiple Points of Interconnection
NPRR326, Adjust the Calculation of the Real-Time Settlement Point Price for a Resource Node
NPRR330, Change in Frequency of Five Protocol Required Audits from Annual to Periodic
NPRR350, Change to the Security Classification of the System Ancillary Service Capacity Monitor Dashboard – URGENT
NPRR352, Real-Time HSL Telemetry for WGRs - URGENT
Notes: 4

## Slide 5
NPRRs Recommended for Approval

## Slide 6: NPRR264, Clarification of Nodal Protocol Requirements for Generators With Multiple Points of Interconnection
Purpose (WMS) | This NPRR adds language to specify that Nodal Protocol requirements applicable to Generation Resources which are based upon the date of an executed Standard Generation Interconnection Agreement (SGIA) are applied to the date of the original SGIA for Resources with more than one point of interconnection.
PRS Vote | On 3/24/11, PRS voted to recommend approval of NPRR264 as amended by the 1/11/11 ERCOT comments and as revised by PRS. There was one abstention from the Investor Owned Utility (IOU) Market Segment. On 4/21/11, PRS unanimously voted to endorse and forward the 3/24/11 PRS Report and Impact Analysis for NPRR264 to TAC.
Effective Date/Priority | July 1, 2011
ERCOT Impact | No impacts
Notes: 6

## Slide 7: NPRR311, Correction of Wind Adjust Formula to Account for Daylight Savings Time
Purpose (ERCOT) | This NPRR corrects the formula for the reduction of wind excess generation to account for Daylight Savings Time (DST) adjustments in the Spring and Fall for Electric Service Identifiers (ESI ID)s with non-Interval Data Recorders (IDR)s.
PRS Vote | On 3/24/11, PRS unanimously voted to recommend approval of NPRR311 as submitted. On 4/21/11, PRS unanimously voted to endorse and forward the 3/24/11 PRS Report and Impact Analysis for NPRR311 to TAC.
Effective Date/Priority | Upon System Implementation
ERCOT Impact | No additional impacts to implement NPRR311 beyond what was captured in the Impact Analysis for NPRR208, Registration and Settlement of Distributed Generation (DG) Less Than One MW.
Notes: 7

## Slide 8: NPRR317, Clarification of Entity Responsible for Hydro Responsive Testing
Purpose (ERCOT) | This NPRR clarifies the Entity responsible for hydro responsive testing.
PRS Vote | On 3/24/11, PRS unanimously voted to recommend approval of NPRR317 as submitted. On 4/21/11, PRS unanimously voted to endorse and forward the 3/24/11 PRS Report and Impact Analysis for NPRR317 to TAC.
Effective Date/Priority | July 1, 2011
ERCOT Impact | No impacts
Notes: 8

## Slide 9: NPRR318, Alignment of Nodal Registration Requirements with Current Registration Process
Purpose (ERCOT) | This NPRR aligns the registration requirements in Section 16.1, Qualification, Registration, and Execution of Agreements, with the current registration process.
PRS Vote | On 3/24/11, PRS unanimously voted to recommend approval of NPRR318 as submitted. On 4/21/11, PRS unanimously voted to endorse and forward the 3/24/11 PRS Report and Impact Analysis for NPRR318 to TAC.
Effective Date/Priority | July 1, 2011
ERCOT Impact | No impacts
Notes: 9

## Slide 10: NPRR326, Adjust the Calculation of the Real-Time Settlement Point Price for a Resource Node
Purpose (ERCOT) | This NPRR adjusts the calculation of the Real-Time Settlement Point Price for a Resource Node. The adjustment is to remove the Base Point weighting of the Real-Time Locational Marginal Prices.
PRS Vote | On 3/24/11, PRS voted to recommend approval of NPRR326 as submitted. There were two abstentions from the IPM and Consumer Market Segments. On 4/21/11, PRS voted to endorse and forward the 3/24/11 PRS Report, Impact Analysis and Cost Benefit Analysis as revised by PRS for NPRR326 to TAC with a recommended priority of High and rank of 12.9. There were two abstentions from the Independent Generator and Consumer Market Segments.
Effective Date/Priority | Upon System Implementation – Priority High; Rank 12.9
ERCOT Impact | $15k - $20k (2011 Post Go-Live Funding); impacts to Market Management System (MMS).
Cost Benefit Analysis Highlights | Net (Cost) - Benefit of $92k; Cost Benefit Ratio of 6.1 More accurate dollar amounts for PTP Obligations and PTP Options settled in Real-Time. Improve the accuracy of the Real-Time Energy Imbalance at a Resource Node. Market benefit of mitigating DAM solution risk.
Notes: 10

## Slide 11: NPRR330, Change in Frequency of Five Protocol Required Audits from Annual to Periodic
Purpose (ERCOT) | This NPRR revises the frequency for the ERCOT Internal Audit Department to perform audits from an annual basis to a periodic basis.
PRS Vote | On 3/24/11, PRS voted to recommend approval of NPRR330 as revised by PRS. There was one abstention from the Consumer Market Segment. On 4/21/11, PRS unanimously voted to endorse and forward the 3/24/11 PRS Report as amended by the 4/5/11 ERCOT comments and Impact Analysis for NPRR330 to TAC.
Effective Date/Priority | July 1, 2011
ERCOT Impact | No impacts
Notes: 11

## Slide 12: NPRR350, Change to the Security Classification of the System Ancillary Service Capacity Monitor Dashboard - URGENT
Purpose (MIS User Group) | This NPRR proposes changing the posting category of items that make up the System Ancillary Service Capacity Monitor Dashboard from Market Information System (MIS) Secure Area to MIS Public Area.
PRS Vote | On 4/21/11, PRS voted to grant NPRR350 Urgent status. There was one opposing vote from the Independent Generator Market Segment and two abstentions from the Municipal and IPM Market Segments. PRS then voted to recommend approval of NPRR350 as submitted and to forward NPRR350 to TAC. There was one abstention from the Independent Generator Market Segment.
Effective Date/Priority | Upon System Implementation – Priority and Rank Pending
ERCOT Impact | $5k - $10k (2011 Post Go-Live Funding); impacts to Current Day Reporting (CDR), MIS, and ERCOT.com.
Cost Benefit Analysis Highlights | Increases transparency Provides enhanced public visibility into ERCOT system conditions Potential for reduction of Digital Certificate cost and administration Enables more level playing field between certificate and non-certificate holders Enables development of new products by third parties.
Notes: 12

## Slide 13: NPRR352, Real-Time HSL Telemetry for WGRs - URGENT
Purpose (ERCOT) | This NPRR changes the process by which Qualified Scheduling Entities (QSEs) determine the HSLs to telemeter for Wind-powered Generation Resources (WGRs). The requirement that QSEs set the HSL equal to output immediately following a release from curtailment is removed. Instead QSEs will be expected to use their best judgment to determine the output capability of the WGR with the expectation that the value will consider the net real power of the WGR, turbine availability, weather conditions, and whether the WGR output is being affected by compliance with a Security-Constrained Economic Dispatch (SCED) instruction.
PRS Vote | On 4/21/11, PRS unanimously voted to grant NPRR352 Urgent status. PRS then voted to recommend approval of NPRR352 as submitted and to forward NPRR352 to TAC. There was one abstention from the IPM Market Segment.
Effective Date/Priority | June 1, 2011
ERCOT Impact | No impacts
Notes: 13